Page 1 of 8
11/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  22
Plumbing
Approved as Modified
TAC Recommendation
Plumbing
TAC:
 1
Total Mods for  
Plumbing
in
Approved as Modified
SubCode:
Ü
SubCode:
Plumbing
2‑Definitions
David Porter
Comment
Summary
Proponent
202
A definition is needed for the term "service sink." It is only mentioned in Table 403.1 but is not defined as to its function or sink type. Can it be a laundry tub, a bar sink, a food prep sink, a kitchen sink, a lavatory, etc."
Mod #
 9983
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 2
Chapter

Section
Approved as Submitted
TAC Recommendation
Plumbing
TAC:
 15
Total Mods for  
Plumbing
in
Approved as Submitted
SubCode:
Ü
SubCode:
Fuel Gas
3‑General Regulations
Mod #
Proponent
Jonathan Sargeant
Section
Chapter
Summary
Comment

AS
AS/IC

310
Sections 310.1.1 through 310.1.1.5 were pre‑existing language from the Florida Building Code – Fuel Gas, Sixth Edition (2017). Sections 310.2 through 310.3 were added with the adoption of the Florida Building Code – Fuel Gas, Seventh Edition 
Commission Action
 9962
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 3

Page 2 of 8
11/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  22
Plumbing
Plumbing
TAC:
 15
Total Mods for  
Plumbing
in
Approved as Submitted
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

301.12
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 9992
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 3

3004‑Recommended Procedure for Safety Inspection of an Existing Application Installation
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

.6
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 9995
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix D

SubCode:
Ü
SubCode:
Plumbing
3‑General Regulations
Mod #
Proponent
Gary Kozan
Section
Chapter
Summary
Comment

AS
AS/IC

312.6
Restores the previous Florida amendment that simplifies the testing of outside building sewers
Commission Action
 9876
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 3

Page 3 of 8
11/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  22
Plumbing
Plumbing
TAC:
 15
Total Mods for  
Plumbing
in
Approved as Submitted
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

308.2
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10000
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 3

4‑Fixtures, Faucets and Fixture Fittings
Mod #
Proponent
Gary Kozan
Section
Chapter
Summary
Comment

AS
AS/IC

419.5
Updates to the correct standards for water‑temperature limiting devices
Commission Action
 9873
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

5‑Water Heaters
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

502.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10001
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 5

6‑Water Supply and Distribution

Page 4 of 8
11/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  22
Plumbing
Plumbing
TAC:
 15
Total Mods for  
Plumbing
in
Approved as Submitted
Mod #
Proponent
Danielle Jessup
Section
Chapter
Summary
Comment

AS
AS/IC

608.18
We respectively request that Section 608.18 of the Plumbing Code be removed as Plumbers do not have the authority to complete water well construction as stated under Chapter 373 Part III of the Florida Statues.
Commission Action
 10380
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 6

14‑Subsurface Landscape Irrigation Systems
Mod #
Proponent
Gary Kozan
Section
Chapter
Summary
Comment

AS
AS/IC

000
Even though the full of text of Chapter 14 has been previously reserved, this proposed TITLE CHANGE ONLY better identifies the intended content of this chapter, consistent with the ICC
Commission Action
 9874
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 14

SubCode:
Ü
SubCode:
Residential
24‑Fuel Gas
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

2404.8
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10027
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 24

25‑Plumbing Administration

Page 5 of 8
11/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  22
Plumbing
Plumbing
TAC:
 15
Total Mods for  
Plumbing
in
Approved as Submitted
Mod #
Proponent
Gary Kozan
Section
Chapter
Summary
Comment

AS
AS/IC

2503.4
Restores the previous Florida amendment that simplifies the testing of outside building sewers
Commission Action
 9877
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 25

28‑Water Heaters
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

2801.8
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10028
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 28

30‑Sanitary Drainage
Mod #
Proponent
Gary Kozan
Section
Chapter
Summary
Comment

AS
AS/IC

3009
Even though the full text of Section 3009 has been previously reserved, this proposed TITLE CHANGE ONLY better identifies the intended content of the section
Commission Action
 9875
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 30

31‑Vents

Page 6 of 8
11/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  22
Plumbing
Plumbing
TAC:
 15
Total Mods for  
Plumbing
in
Approved as Submitted
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

3103.1.1...3103.1.3
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10029
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 31

3304‑Recommended Procedure for Safety Inspection of An Existing Application Installation (Reserved)
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

.6
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10030
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix D

Denied
TAC Recommendation
Plumbing
TAC:
 5
Total Mods for  
Plumbing
in
Denied
SubCode:
Ü
SubCode:
Fuel Gas
4‑Gas Piping Installations
William Chapin
Comment
Summary
Proponent
403.6
PEX‑AL‑PEX has been used for gas distribution for over 15 years under numerous ISO, EU, and Australian standards. ASTM F1281 includes allowance for use with gases that are compatible with the pipe and fittings.
Mod #
 10447
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 4
Chapter

Section

Page 7 of 8
11/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  22
Plumbing
Plumbing
TAC:
 5
Total Mods for  
Plumbing
in
Denied
Mod #
Proponent
William Chapin
Section
Chapter
Summary
Comment

AS
AS/IC

404.3
PEX‑AL‑PEX has been used for gas distribution for over 15 years under numerous ISO, EU, and Australian standards. ASTM F1281 includes allowance for use with gases that are compatible with the pipe and fittings.
Commission Action
 10502
AM
AM/IC
D/IC
D
Denied
W
Chapter 4

Mod #
Proponent
William Chapin
Section
Chapter
Summary
Comment

AS
AS/IC

404.5
PEX‑AL‑PEX has been used for gas distribution for over 15 years under numerous ISO, EU, and Australian standards. ASTM F1281 includes allowance for use with gases that are compatible with the pipe and fittings.
Commission Action
 10506
AM
AM/IC
D/IC
D
Denied
W
Chapter 4

Mod #
Proponent
William Chapin
Section
Chapter
Summary
Comment

AS
AS/IC

404.17.1
PEX‑AL‑PEX has been used for gas distribution for over 15 years under numerous ISO, EU, and Australian standards. ASTM F1281 includes allowance for use with gases that are compatible with the pipe and fittings.
Commission Action
 10508
AM
AM/IC
D/IC
D
Denied
W
Chapter 4

Mod #
Proponent
William Chapin
Section
Chapter
Summary
Comment

AS
AS/IC

415.1
Defined hanger spacing for PEX‑AL‑PEX
Commission Action
 10511
AM
AM/IC
D/IC
D
Denied
W
Chapter 4

Pulled off Consent by Interested Entity
TAC Recommendation

Page 8 of 8
11/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  22
Plumbing
Plumbing
TAC:
 1
Total Mods for  
Plumbing
in
Pulled off Consent by Interested Entity
SubCode:
Ü
SubCode:
Plumbing
4‑Fixtures, Faucets and Fixture Fittings
John Woestman
Comment
Summary
Proponent
403.3.6
This proposal adds an exception which permits locking of egress doors of multiple occupant toilet ?rooms by authorized personnel. The proposed revisions are similar to existing requirements for ?door locking in the Florida Building Code, Building, Section 1010.1.4.4. ?
Mod #
 10062
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Pulled off Consent by Interested Entity
W
Chapter 4
Chapter

Pulled off consent by John Woestman for consideration of alternate language 
TAC's Final action:

TAC - Plumbing TAC - "AM"
Section
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
P
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria