Page 1 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Approved as Modified
TAC Recommendation
Structural
TAC:
 24
Total Mods for  
Structural
in
Approved as Modified
SubCode:
Ü
SubCode:
Building
2‑Definitions
Joseph Belcher
Comment
Summary
Proponent
202
Adds definitions for accessory structures and sun control structures to correlate with new provisions proposed for the design of sun control structures.
Mod #
 10388
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 2
Chapter

Section
14‑Exterior Walls
Fernando Pages
Comment
Summary
Proponent
1405.18
This addition brings in critical installation elements for polypropylene siding.
Mod #
 9900
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 14
Chapter

Section
Robert Koning
Comment
Summary
Proponent
1405.2
Adds text to convey the existing limitations of Table 1405.2
Mod #
 10280
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 14
Chapter

Section

Page 2 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 24
Total Mods for  
Structural
in
Approved as Modified
Jennifer Hatfield
Comment
Summary
Proponent
1405.4
New FMA/AAMA/WDMA standards are now available and this proposal adds these new standards to the current list of standards that flashing at exterior window and door openings can be installed in accordance with under this code section.
Mod #
 10391
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 14
Chapter

Section
16‑Structural Design
T Stafford
Comment
Summary
Proponent
1609
This proposal updates the code for correlation with the new tornado design requirements in ASCE 7‑16
Mod #
 10065
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 16
Chapter

Section
Amanda Hickman
Comment
Summary
Proponent
1609.1.2.1
Louvers
Mod #
 10081
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 16
Chapter

Section
17‑Structural Tests and Special Inspections
Joseph Belcher
Comment
Summary
Proponent
1703.6.2
The modification will require tests of materials to be submitted to the material supplier to the registered design professional of record and the material supplier.
Mod #
 10120
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 17
Chapter

Section

Page 3 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 24
Total Mods for  
Structural
in
Approved as Modified
20‑Aluminum
Joseph Belcher
Comment
Summary
Proponent
2002
The proposed modification adds design criteria for sun control structures.
Mod #
 10390
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 20
Chapter

Section
Joseph Belcher
Comment
Summary
Proponent
2003
The proposal adds design criteria for sun control structures.
Mod #
 10393
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 20
Chapter

Section
35‑Referenced Standards
Jennifer Hatfield
Comment
Summary
Proponent
35
Updates AAMA (FGIA) and ASTM Standards with appropriate names and editions.
Mod #
 10435
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 35
Chapter

Section
SubCode:
Ü
SubCode:
Residential
3‑Building Planning

Page 4 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 24
Total Mods for  
Structural
in
Approved as Modified
T Stafford
Comment
Summary
Proponent
301.2
This proposal updates the simplified component cladding loads in the Florida Building Code, Residential for correlation with the proposed update to ASCE 7‑22.
Mod #
 9971
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 3
Chapter

Section
T Stafford
Comment
Summary
Proponent
301.1...324.4.1.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in the State of Florida.
Mod #
 10017
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 3
Chapter

Section
Greg Johnson
Comment
Summary
Proponent
317
This proposal incorporates wood columns in the general “location” items of R317.1 to eliminate the separate confusing columns section.
Mod #
 10116
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 3
Chapter

Section
Joseph Belcher
Comment
Summary
Proponent
301
Provides design criteria for sun control structures.
Mod #
 10386
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 3
Chapter

Section
4‑Foundations

Page 5 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 24
Total Mods for  
Structural
in
Approved as Modified
T Stafford
Comment
Summary
Proponent
401.1...407.3
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in the State of Florida.
Mod #
 10018
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 4
Chapter

Section
7‑Wall Covering
Fernando Pages
Comment
Summary
Proponent
703.11.1
Update installation prescription for vinyl siding and insulated vinyl siding.
Mod #
 9842
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 7
Chapter

Section
Fernando Pages
Comment
Summary
Proponent
703.11.1
Clean up, fastener size, insulated vinyl siding.
Mod #
 9847
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 7
Chapter

Section
Fernando Pages
Comment
Summary
Proponent
703.3.4
Adds required clearance between grade and siding.
Mod #
 9848
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 7
Chapter

Section

Page 6 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 24
Total Mods for  
Structural
in
Approved as Modified
Fernando Pages
Comment
Summary
Proponent
703
Addresses prescriptive installation for fascia.
Mod #
 9851
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 7
Chapter

Section
Fernando Pages
Comment
Summary
Proponent
704.2.1
This code change proposal adds aluminum soffit requirements to the existing vinyl soffit subsection.
Mod #
 9878
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 7
Chapter

Section
Jennifer Hatfield
Comment
Summary
Proponent
703.4
New FMA/AAMA/WDMA standards are now available and this proposal adds these new standards to the current list of standards that flashing at exterior window and door openings can be installed in accordance with under this code section.
Mod #
 10229
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 7
Chapter

Section
3310‑Existing Buildings and Structures
Fernando Pages
Comment
Summary
Proponent
401.5
A short provision is added on the importance of a nailable substrate.
Mod #
 9879
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Appendix J
Chapter

Section
2712‑Reference Standards

Page 7 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 24
Total Mods for  
Structural
in
Approved as Modified
T Stafford
Comment
Summary
Proponent
46
This proposal updates ASCE 7 from the 2016 edition to the 2022 edition (ASCE 7‑22)
Mod #
 9958
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 46
Chapter

Section
Jennifer Hatfield
Comment
Summary
Proponent
46
Updates AAMA (FGIA) and ASTM Standards with appropriate names and editions.
Mod #
 10434
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 46
Chapter

Section
Approved as Submitted
TAC Recommendation
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
SubCode:
Ü
SubCode:
Building
2‑Definitions
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

202
This proposal updates the definition of Wind‑borne Debris Region for correlation with ASCE 7‑22 and FBCR Mod 9473 that was approved by the Commission during Phase I.
Commission Action
 9956
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 2

Page 8 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

202
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10036
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 2

Robert Koning
Comment
Summary
Proponent
202
Add: Decorative Cementitious Finish. A skim coat, as defined in ASTM C926, of Portland cement‑based plaster applied to concrete or masonry surfaces intended for cosmetic purposes.
Mod #
 10164
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Submitted
W
Chapter 2
Chapter

Section
12‑Interior Environment
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment

AS
AS/IC

1203
Remove exception not applicable to Florida.
Commission Action
 9904
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 12

Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment

AS
AS/IC

1203
Insulation not to block air movement.
Commission Action
 9985
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 12

14‑Exterior Walls

Page 9 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

1404.14
This modification adds standard installation practices that are not being followed in some cases but need to be followed for proper product performance.
Commission Action
 9899
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 14

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1405.6.2
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10040
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 14

Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

1403.3
Add components and cladding to the existing descriptive text provision
Commission Action
 10279
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 14

16‑Structural Design
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment

AS
AS/IC

1609
Make asphalt shingle reference a subsection.
Commission Action
 9895
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 16

Page 10 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1609.3
This proposal updates the design wind speed maps in the code for correlation with ASCE 7‑22.
Commission Action
 9959
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 16

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1602...1613
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10041
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 16

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1609.5.3
This proposal updates the determination of wind loads on rigid tile for correlation with the proposed update to ASCE 7‑22.
Commission Action
 10063
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 16

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1611
This modification updates the rain loads criteria for coordination with the proposed updated to ASCE 7‑22.
Commission Action
 10080
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 16

Page 11 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
Amanda Hickman
Section
Chapter
Summary
Comment

AS
AS/IC

1626.5
Louvers HVHZ
Commission Action
 10082
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 16

Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment

AS
AS/IC

1616
This modification will clarify the design wind speed for fences less than 6‑feet tall.
Commission Action
 10276
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 16

17‑Structural Tests and Special Inspections
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1702.1...1709.3
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10042
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 17

Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment

AS
AS/IC

1709.5.1
TAS 202 was inadvertently left out of the 2403 exceptions in the previous two code cycles, this proposal rectifies that by inserting it where it was left out.
Commission Action
 10402
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 17

Page 12 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Jennifer Hatfield
Comment
Summary
Proponent
1709.5.1
Provides for AAMA and WDMA standards to perform engineering analysis to when performing a comparative analysis procedure for window and door products.
Mod #
 10417
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Submitted
W
Chapter 17
Chapter

Section
18‑Soils and Foundations
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1803.2...1810.3.13
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10043
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 18

Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment

AS
AS/IC

1810
This modification is intended to clarify that grade beams are to be treated in a similar fashion to pile caps with respect to direct bearing and embedment of vertical foundation members
Commission Action
 10208
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 18

19‑Concrete
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1901.5...1905.1.8
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10044
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 19

Page 13 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
21‑Masonry
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

2106.1...2113.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10045
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 21

22‑Steel
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

2205.2...2211.1.1.2
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10047
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 22

Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment

AS
AS/IC

2214.2
This clarifies the relationship between the main body of Chapter 22 and the HVHZ provisions of Chapter 22.
Commission Action
 10129
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 22

Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment

AS
AS/IC

2214.3
Updates AISC references in HVHZ provisions of Chapter 22.
Commission Action
 10132
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 22

Page 14 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment

AS
AS/IC

2214.3
Updates and corrects titles of SJI documents in HVHZ portion of Chapter 22.
Commission Action
 10249
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 22

Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment

AS
AS/IC

2214.3
This proposal corrects the titles of the HSS Design Manuals.
Commission Action
 10421
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 22

23‑Wood
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

2303.4.1.1...2306.3
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10048
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 23

Mod #
Proponent
Borjen Yeh
Section
Chapter
Summary
Comment

AS
AS/IC

2314.4.6
Remove PS 56 and update the titles of PS 1 and PS 2.
Commission Action
 10108
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 23

Page 15 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Borjen Yeh
Comment
Summary
Proponent
2315.2
Clarify wood structural panels for use as floor sheathing in interior applications.
Mod #
 10260
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Submitted
W
Chapter 23
Chapter

Section
Borjen Yeh
Comment
Summary
Proponent
2314.4.6
Clarify the requirements for wood structural panels for use in HVHZ.
Mod #
 10261
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Submitted
W
Chapter 23
Chapter

Section
24‑Glass and Glazing
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

2404...2404.2
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10049
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 24

Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment

AS
AS/IC

2411
This modification will coordinate the test in the Florida Building Code with the correct reference code
Commission Action
 10277
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 24

Page 16 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment

AS
AS/IC

2406.4
Clarifies appropriate subsection references within this Section. Also provides consistency with the proposal for FBC‑R that refers you to similar subsection references.
Commission Action
 10400
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 24

Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment

AS
AS/IC

2405.2
Fixes correct reference and provides for language consistent with the IBC.
Commission Action
 10403
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 24

Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment

AS
AS/IC

2405.3
Reorganizing subsections and titles to provide clarity for the code user that follows the intent of where screens are or are not required.
Commission Action
 10404
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 24

25‑Gypsum Board,Gypsum Panel Products and Plaster
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

2505.1...2508.6
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10050
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 25

30‑Elevators and Conveying Systems

Page 17 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

3004.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10051
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 30

31‑Special Construction
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

3102.7
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10052
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 31

35‑Referenced Standards
Mod #
Proponent
Jennifer Molin
Section
Chapter
Summary
Comment

AS
AS/IC

2214.3
Change the year to two standards mentioned in the Reference section.
Commission Action
 9988
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 35

Mod #
Proponent
Borjen Yeh
Section
Chapter
Summary
Comment

AS
AS/IC

0
Update the references in the code.
Commission Action
 10107
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 35

Page 18 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment

AS
AS/IC

35
Updates AISC reference documents.
Commission Action
 10131
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 35

Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment

AS
AS/IC

35
Corrects and updates DDM04 listing.
Commission Action
 10133
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 35

Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment

AS
AS/IC

35
Adopts the latest edition of the RCSC Specification.
Commission Action
 10135
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 35

Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment

AS
AS/IC

35
Updates the SJI Documents referenced in the HVHZ sections of Chapter 22.
Commission Action
 10416
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 35

Page 19 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment

AS
AS/IC

35
This proposal corrects the entries associated with the STI documents adopted in the HVHZ portion of Chapter 22.
Commission Action
 10420
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 35

Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment

AS
AS/IC

35
The proposal updates AISI standards to match those adopted in the 2021 IBC. This is consistent with changes approved in Mod#9124 (ADM47‑19).
Commission Action
 10454
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 35

2708‑Signs
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

105.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10054
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix H

2709‑Patio Covers
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

105.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10055
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix I

Page 20 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
2710‑Grading
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

104.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10056
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix J

2712‑Earthquake Recording Instrumentation
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

101
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10057
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix L

SubCode:
Ü
SubCode:
Existing Building
2‑Definitions
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

202
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10002
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 2

3‑Provisions for All Compliance Methods

Page 21 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

301.3...301.5
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10003
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 3

4‑Repairs
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

406.2.2...406.3.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10004
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Mod #
Proponent
Michael Silvers (FRSA)
Section
Chapter
Summary
Comment

AS
AS/IC

401
Returns code language included in the 2017 FBC that was apparently unintentionally deleted during the reorganization of Chapters 4, 5 & 6 during IBC modifications. These changes were later adopted into the 2020 FBC.
Commission Action
 10084
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

5‑Prescriptive Compliance Method
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

502.4...506.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10005
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 5

Page 22 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
7‑Alterations ‑ Level 1
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

707.3.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10006
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 7

8‑Alterations ‑ Level 2
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

807.4...807.6
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10007
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 8

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

907.4.2...907.4.6
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10008
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 8

10‑Change of Occupancy
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1007.2...1007.3.2
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10009
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 10

Page 23 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
11‑Additions
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1103.3...1103.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10010
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 11

13‑Relocated or Moved Buildings
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1302.4...1302.5
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10011
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 13

2901‑Guidelines for the Seismic Retrofit of Existing Buildings
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1.0
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10012
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix A

SubCode:
Ü
SubCode:
Residential
2‑Definitions

Page 24 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

202
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10013
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 2

3‑Building Planning
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

301.2
This proposal updates the design wind speed map in the code for correlation with ASCE 7‑22.
Commission Action
 9960
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 3

5‑Floors
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

502.11.4...507
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10019
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 5

Mod #
Proponent
Borjen Yeh
Section
Chapter
Summary
Comment

AS
AS/IC

507.8.1.2
Update the band joists specified in the code to include engineered wood rim boards that have already been recognized in R502.1.7.
Commission Action
 10104
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 5

Page 25 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
6‑Wall Construction
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

606.2.8.2...610.8
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10020
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 6

Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment

AS
AS/IC

609.3.1
Provides for an AAMA standard now available and used to perform engineering analysis when performing a comparative analysis procedure for window and door products.
Commission Action
 10426
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 6

7‑Wall Covering
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

702.7
Updated table for Vapor Retarder Options
Commission Action
 9841
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 7

Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

703.3.3
Clean‑Up Fastener Size and Penetration for vinyl siding and insulated vinyl siding.
Commission Action
 9846
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 7

Page 26 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

703
An edit to correct a defined term in the code.
Commission Action
 9947
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 7

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

702.3.6...703.8.4.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10021
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 7

8‑Roof‑Ceiling Construction
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

802.10.1...803.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10022
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 8

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

803.2.3.1
This proposal revises the roof sheathing attachment for clarity.
Commission Action
 10450
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 8

10‑Chimneys and Fireplaces

Page 27 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

1001.3...1003.4.1.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10023
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 10

3308‑Patio Covers
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

105.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10031
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix H

3310‑Existing Buildings and Structures
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

401.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10032
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix J

Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment

AS
AS/IC

102.4
Provides for alignment with IRC language that is not intended to change current requirements. Rather, the proposal is based on clean‑up, consistency and clarity supported by industry and the ICC Building Code Action Committee addressing 
Commission Action
 10428
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix J

Page 28 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
3318‑Light Straw‑Clay Construction
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

101.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10033
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix R

3319‑Strawbale Construction
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

102...106.13
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10034
AM
AM/IC
D/IC
D
Approved as Submitted
W
Appendix S

2712‑Reference Standards
Mod #
Proponent
Borjen Yeh
Section
Chapter
Summary
Comment

AS
AS/IC

0
Update references frequently used for the engineered wood products.
Commission Action
 10106
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 46

SubCode:
Ü
SubCode:
Test Protocols
TAS1‑100(A)

Page 29 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 83
Total Mods for  
Structural
in
Approved as Submitted
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment

AS
AS/IC

7
Calibration of wind stream velocity and alignment of calibration frequency.
Commission Action
 9855
AM
AM/IC
D/IC
D
Approved as Submitted
W
TAS

Denied
TAC Recommendation
Structural
TAC:
 26
Total Mods for  
Structural
in
Denied
SubCode:
Ü
SubCode:
Building
2‑Definitions
Robert Koning
Comment
Summary
Proponent
202
Add: Definition of Exterior Wall Covering Assembly System Methods
Mod #
 10172
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 2
Chapter

Section
Robert Koning
Comment
Summary
Proponent
202
Add Definition Of Veranda and synonyms of same so professionals can differentiate between a roofing deck for slope, covering and other roofing system requirements.
Mod #
 10272
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 2
Chapter

Section
14‑Exterior Walls

Page 30 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 26
Total Mods for  
Structural
in
Denied
Fernando Pages
Comment
Summary
Proponent
1404.14
This change compliments FS134 which was been adopted through the consent agenda, with the introduction of ASTM D7793, and insulated vinyl siding into the Florida Building Code.
Mod #
 9881
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 14
Chapter

Section
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

1404.14
This is a cleanup change.
Commission Action
 9898
AM
AM/IC
D/IC
D
Denied
W
Chapter 14

Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

1402.1
Add definitions of Exterior Wall Covering Assembly Methods and Decorative Cement Finish
Commission Action
 10275
AM
AM/IC
D/IC
D
Denied
W
Chapter 14

18‑Soils and Foundations
Jeanne Clarke
Comment
Summary
Proponent
1809.4
This modification is intended to clarify the point at which the depth of the footing is to be measured.
Mod #
 10139
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 18
Chapter

Section
22‑Steel

Page 31 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 26
Total Mods for  
Structural
in
Denied
Bonnie Manley
Comment
Summary
Proponent
2201.1
This clarifies the relationship between the main body of Chapter 22 and the HVHZ provisions of Chapter 22.
Mod #
 10128
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 22
Chapter

Section
25‑Gypsum Board,Gypsum Panel Products and Plaster
Robert Koning
Comment
Summary
Proponent
2502.1
Add definitions of Exterior Wall Covering Assembly Methods and Decorative Cement Finish
Mod #
 10278
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 25
Chapter

Section
Robert Koning
Comment
Summary
Proponent
2510.6.2
New Section 2510.6.2 This adds the needed exceptions to this newly created provision in order to perform in Florida's high wind region and provides needed exceptions for other wall covering systems.
Mod #
 10281
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 25
Chapter

Section
Robert Koning
Comment
Summary
Proponent
2510.3
Text exceptions state the already existing requirement for wind loading requirements in high wind regions and state the exceptions for Florida's time tested Face Sealed Systems
Mod #
 10282
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 25
Chapter

Section

Page 32 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 26
Total Mods for  
Structural
in
Denied
Robert Koning
Comment
Summary
Proponent
2510.3.1
Adds new paragraph for laboratory tested and code approved attachment tables available without charge to the public
Mod #
 10283
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 25
Chapter

Section
Robert Koning
Comment
Summary
Proponent
2510.3.2
Adds new paragraph for laboratory tested and code approved application manual available to the public free of charge
Mod #
 10284
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 25
Chapter

Section
Robert Koning
Comment
Summary
Proponent
2512.1
Adds needed exception for other code allowed installations and systems
Mod #
 10285
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 25
Chapter

Section
Robert Koning
Comment
Summary
Proponent
2510.6.2
Add Exceptions
Mod #
 10301
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 25
Chapter

Section
SubCode:
Ü
SubCode:
Residential
2‑Definitions

Page 33 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 26
Total Mods for  
Structural
in
Denied
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

202
Exterior soffit: new definition
Commission Action
 9840
AM
AM/IC
D/IC
D
Denied
W
Chapter 2

3‑Building Planning
Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

301.2.1.1
Adds an Exception for metal and wire lath attachment by way of a referenced code approved tabulated data document complied in easily referenced publication. All data per ASTM E330 tested by accredited laboratory ‑ publication free
Commission Action
 10287
AM
AM/IC
D/IC
D
Denied
W
Chapter 3

7‑Wall Covering
Robert Koning
Comment
Summary
Proponent
701.1
Adds required wind limitation per R302.1.1
Mod #
 10288
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 7
Chapter

Section
Robert Koning
Comment
Summary
Proponent
703.7
Adds required exceptions for wind limitations regarding prescriptive provisions in referenced standards and publications and allows for other approved application processes
Mod #
 10289
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 7
Chapter

Section

Page 34 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 26
Total Mods for  
Structural
in
Denied
Robert Koning
Comment
Summary
Proponent
703.7.1
Adds required exceptions for wind limitations regarding prescriptive provisions in referenced standards and publications and allows other approved application processes
Mod #
 10290
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 7
Chapter

Section
Robert Koning
Comment
Summary
Proponent
703.4
Needed provisions for flashing locations
Mod #
 10292
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 7
Chapter

Section
Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

703.7.6
Adds approved publication free of charge
Commission Action
 10294
AM
AM/IC
D/IC
D
Denied
W
Chapter 7

Robert Koning
Comment
Summary
Proponent
703.7.2
Adds required exceptions
Mod #
 10297
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 7
Chapter

Section

Page 35 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 26
Total Mods for  
Structural
in
Denied
Robert Koning
Comment
Summary
Proponent
703.7.3
Adds required exception
Mod #
 10298
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 7
Chapter

Section
Robert Koning
Comment
Summary
Proponent
703.1.2.2
Adds new paragraph
Mod #
 10299
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 7
Chapter

Section
Fernando Pages
Comment
Summary
Proponent
703.1.2
Separates walls and soffits for clarity.
Mod #
 10392
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 7
Chapter

Section
2712‑Reference Standards
Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

46
Adds referenced material
Commission Action
 10300
AM
AM/IC
D/IC
D
Denied
W
Chapter 46

Page 36 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Pulled off Consent by Staff
TAC Recommendation
Structural
TAC:
 2
Total Mods for  
Structural
in
Pulled off Consent by Staff
SubCode:
Ü
SubCode:
Building
23‑Wood
Greg Johnson
Comment
Summary
Proponent
2304.10
This modification provides two options for demonstrating compliance with thee requirement for the protection of connections in Types IV‑A, IV‑B and IV‑C construction.
Mod #
 10248
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Pulled off Consent by Staff
W
Chapter 23
Chapter

Pulled off consent by Joe Belcher 
TAC's Final action - More than one TAC
Primary TAC - Structural TAC - "AS"
Secondary TAC - Fire TAC - "D"
Section
35‑Referenced Standards
Greg Johnson
Comment
Summary
Proponent
35
Identifies referenced standards related to new Type IV construction classifications
Mod #
 10353
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Pulled off Consent by Staff
W
Chapter 35
Chapter

Pulled off consent by Joe Belcher 
TAC's Final action - More than one TAC
Primary TAC - Structural TAC - "AS"
Secondary TAC - Fire TAC - "D"
Section
Pulled off Consent by Interested Entity
TAC Recommendation
Structural
TAC:
 3
Total Mods for  
Structural
in
Pulled off Consent by Interested Entity
SubCode:
Ü
SubCode:
Building
14‑Exterior Walls

Page 37 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 3
Total Mods for  
Structural
in
Pulled off Consent by Interested Entity
T Stafford
Comment
Summary
Proponent
1410
A new stand‑alone section is proposed for soffits with new language addressing common soffit materials, a prescriptive option for wood structural soffits, and fascia installation.
Mod #
 10090
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Pulled off Consent by Interested Entity
W
Chapter 14
Chapter

Pulled off consent by Eric Stafford for consideration of alternate language
TAC's Final action:

TAC - Structural TAC - "AM"
Section
SubCode:
Ü
SubCode:
Residential
2‑Definitions
Joseph Belcher
Comment
Summary
Proponent
202
The modification provides a definition for sun control structures.
Mod #
 10384
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Pulled off Consent by Interested Entity
W
Chapter 2
Chapter

Pulled off consent by Joe Belcher for consideration of alternate language 
TAC's Final action:

TAC - Structural TAC - "AM"
Section
7‑Wall Covering
Fernando Pages
Comment
Summary
Proponent
703.14.1.1
Clarifies installation of polypropylene siding.
Mod #
 9849
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Pulled off Consent by Interested Entity
W
Chapter 7
Chapter

Pulled off consent by Fernando Pages Ruiz for consideration of alternate language 

TAC's action -
Structural TAC - "D"
Section
Withdrawn
TAC Recommendation

Page 38 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 6
Total Mods for  
Structural
in
Withdrawn
SubCode:
Ü
SubCode:
Building
16‑Structural Design
T Stafford
Comment
Summary
Proponent
1606
This proposal revises the code requirements for dead loads for better coordiantion with updates to ASCE 7.
Mod #
 10064
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Withdrawn
W
Chapter 16
Chapter

Section
35‑Referenced Standards
Robert Koning
Comment
Summary
Proponent
35
Adds Referenced Publication
Mod #
 10286
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Withdrawn
W
Chapter 35
Chapter

Section
SubCode:
Ü
SubCode:
Residential
2‑Definitions
Robert Koning
Comment
Summary
Proponent
202
Add: Definition of Exterior Wall Covering Assembly System Methods
Mod #
 10270
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Withdrawn
W
Chapter 2
Chapter

Section

Page 39 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Structural
TAC:
 6
Total Mods for  
Structural
in
Withdrawn
Robert Koning
Comment
Summary
Proponent
202
Add Definition Of Veranda and synonyms of same so professionals can differentiate between a roofing deck for slope, covering and other roofing system requirements.
Mod #
 10274
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Withdrawn
W
Chapter 2
Chapter

Section
7‑Wall Covering
Fernando Pages
Comment
Summary
Proponent
703.14
Correction of Polypropelene Testing Requirement
Mod #
 9850
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Withdrawn
W
Chapter 7
Chapter

Section
Robert Koning
Comment
Summary
Proponent
703.7.1.1
Adds new provision for approved application publication. Free to public
Mod #
 10291
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Withdrawn
W
Chapter 7
Chapter

Section
Search Criteria

Page 40 of 40
11/29/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  144
Structural
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
S
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived: