|  |
| --- |
| **MECHANICAL****TAC ACTION/Votes****Local Technical amendments****to the****2023 8th Edition Florida Building Code** |
|  |  |  |  |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | SUMMARY OF TECHNICAL AMENDMENT | TAC ACTION/VOTE |
|  |  |  |  |
| Broward CountyPg 1 | FBCMechanical307.2.1/Exception | Local Amendment regarding condensate disposal. | Locke Motion to Deny2nd CochelleVote: 8 Yes – 0 No |
|  |  |  |  |
| Broward CountyPg. 2 | FBC Mechanical908.3.1 | Local Amendment regarding location of cooling tower loccations. | Locke Motion to Deny2nd CochelleVote: 8 Yes – 0 No |
|  |  |  |  |
| Broward CountyPg. 3 | FBCMechanical 908.8/Exception | Local Amendment regarding existing cooling tower exemptions and new cooling tower and evaporative condenser shall be operated with conductivity controllers and make up and blowdown meters and shall achieve a min of 8 cycles. | Locke Motion to Deny2nd CochelleVote: 8 Yes – 0 No |
|  |  |  |  |
| Pinellas County Construction Industry Licensing Board(PCCILB)Pg 5 | FBCMechanicalM1411.3 | Local Amendment regarding insulation of condensate drain lines. | Locke Motion to Deny2nd CochelleVote: 8 Yes – 0 No |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |