|  |
| --- |
| **STRUCTURAL****TAC ACTION/Votes****Local Technical amendments****to the****2023 8th Edition Florida Building Code** |
|  |  |  |  |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | SUMMARY OF TECHNICAL AMENDMENT | TAC ACTION/VOTE |
|  |  |  |  |
| PINELLAS County Construction Industry Licensing Board(PCCILB)Pg. 2 | FBC-Building1609.3 | Local Amendments regarding Ultimate Design Wind Speeds for the jurisdiction by Risk Category. | Guerasio Motion to Deny 2nd Gascon Vote: 11 Yes – 0 No  |
|  |  |  |  |
| City of Ft. PiercePg. 3 | FBCBuilding1609.3 | Local Amendments regarding Ultimate Design Wind Speeds for the jurisdiction by Risk Category. | Guerasio Motion to Deny 2nd Gascon Vote: 11 Yes – 0 No |
|  |  |  |  |
| Dixie CountyPg. 4 | FBC Building1609.3 | Local Amendments regarding Ultimate Design Wind Speeds for the jurisdiction by Risk Category. | Guerasio Motion to Deny 2nd Gascon Vote: 11 Yes – 0 No |
|  |  |  |  |
| City of OcoeePg. 4 | FBCBuilding1401.1 | Local Amendment requiring exterior first floor walls of non-residential structures, must be constructed of masonry block, concrete, or metal and no other material shall be approved. | Guerasio Motion to Deny 2nd Gascon Vote: 11 Yes – 0 No |
|  |  |  |  |
| PINELLAS County Construction Industry Licensing Board(PCCILB)Pg. 5 | FBCBuilding 201 | Local Amendments definition for ‘Substantial Improvement’ | Guerasio Motion to Deny 2nd Gascon Vote: 11 Yes – 0 No |
|  |  |  |  |