|  |  |  |  |
| --- | --- | --- | --- |
| **SWIMMING POOL**  **TAC ACTION/Votes**  **Local Technical amendments**  **to the**  **2023 8th Edition Florida Building Code** | | | |
|  |  |  |  |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | SUMMARY OF TECHNICAL AMENDMENT | TAC ACTION/VOTE |
|  |  |  |  |
| Broward County  Pg. 1 | FBC-  Building  454.1.4  454.1.4.1  454.2.16 | Local Amendments regarding GFI requirements, total luminaire wattage and Luminaire Maximum Voltage | Batts Motion to Deny  2nd Ball  Vote: 11 Yes – 0 No |
|  |  |  |  |
| Broward County  Pg. 3 | FBC  Residential  4501.16 | Maximum Voltage Limits and wiring for luminaires in pools. | Batts Motion to Deny  2nd Ball  Vote: 11 Yes – 0 No |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |