|  |
| --- |
| **SWIMMING POOL****TAC ACTION/Votes****Local Technical amendments****to the****2023 8th Edition Florida Building Code** |
|  |  |  |  |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | SUMMARY OF TECHNICAL AMENDMENT | TAC ACTION/VOTE |
|  |  |  |  |
| Broward CountyPg. 1 | FBC-Building454.1.4 454.1.4.1454.2.16 | Local Amendments regarding GFI requirements, total luminaire wattage and Luminaire Maximum Voltage | Batts Motion to Deny 2nd BallVote: 11 Yes – 0 No  |
|  |  |  |  |
| Broward CountyPg. 3 | FBCResidential4501.16 | Maximum Voltage Limits and wiring for luminaires in pools. | Batts Motion to Deny 2nd BallVote: 11 Yes – 0 No |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |