Supplement to the 8th Edition (2023) Florida Building Code, Residential

Note 1:  Throughout the document, change International Building Code to Florida Building Code, Building; change the International Energy Conservation Code to the Florida Building Code, Energy Conservation; change the International Existing Building Code to Florida Building Code, Existing Building; change the International Fire code to Florida Fire Prevention Code; change International Fuel Gas Code to Florida Building Code, Fuel Gas; change the International Mechanical Code to Florida Building Code, Mechanical; change the International Plumbing Code to Florida Building Code, Plumbing; change the International Residential Code to Florida Building Code, Residential.

Chapter 1 SCOPE AND ADMINISTRATION

Revise Section R101.2 (Exception 1) as follows:

Exceptions:

1. Live/work units located in townhouses and complying with the requirements of Section 508.5 of the Florida Building Code, Building shall be permitted to be constructed in accordance with the Florida Building Code, Residential. Fire suppression required by Section 419.5 508.5.7 of the Florida Building Code, Building where constructed under the Florida Building Code, Residential shall conform to Section P2904

F-FBC-R – Ch.1 – Errata #1

Chapter 2 DEFINITIONS

EXTERIOR SOFFIT: A material or assembly of materials installed on the underside of exterior building projections, including roof overhangs, attached carports, porch ceilings, and the underside of floor systems of elevated structures using pilings or column construction.

(Sept 2 – S11893 AM/A2 – 2nd comment period)

[RB] Backed vinyl siding is a cladding product in which foam plastic backing is factory-applied as an integral component. Where the foam plastic functions as insulation, the product shall be considered Insulated Vinyl Siding.

(Sept 2 – S11869 AM/A2 – 2nd comment period)

TYPE X. A type of gypsum panel product with special core additives to increase the fire resistance as specified by the applicable standards specified in Section R702.3 and Part IX. (see the definition of 'Gypsum panel product')

(F10943) (G5-22 Part II AS)

###### Delete and substitute as follows:

[MP] HEAT PUMP. An appliance having heating or heating and cooling capability and that uses refrigerants to extract heat from air, liquid or other sources.

##### [MP] HEAT PUMP.

A refrigeration system or factory-made appliance that utilizes refrigerant to transfer heat into a space or substance.

(M11236) (M4-21 Part II AS)

[MP] REFRIGERANT. A substance used to produce refrigeration by its expansion or evaporation.

##### [MP] REFRIGERANT.

The fluid used for heat transfer in a refrigeration system that undergoes a change of state to absorb heat.

(M11270) (M8-21 Part III AM)

##### [MP]REFRIDGERATING REFRIGERATION SYSTEM

.

A combination of interconnected parts forming a closed circuit in which refrigerant is enclosed and is circulated for the purpose of extracting, then rejecting, heat. A direct refrigerating system is one in which the evaporator or condenser of the refrigerating system is in direct contact with the air or other substances to be cooled or heated. An indirect refrigerating system is one in which a secondary coolant cooled or heated by the refrigerating system is circulated to the air or other substance to be cooled or heated.

(M11290) (M10-21 Part II AS)

##### [RB] LISTED.

[RB] LISTED. Equipment, materials, products or services included in a list published by an organization acceptable to the code official and concerned with evaluation of products or services that maintains periodic inspection of production of listed equipment or materials or periodic evaluation of services and whose listing states either that the equipment, material, product or service meets identified standards or has been tested and found suitable for a specified purpose. Terms that are used to identify listed equipment, products, or materials include “listed”, “certified”, “classified” or other terms as determined appropriate by the listing organization. For the definition applicable in Chapter 11, see Section N1101.6.

(S11339) (ADM1-22 Part II AS)

RAINSCREEN SYSTEM. An assembly applied to the exterior side of an exterior wall which consists of, at minimum, an outer layer, an inner layer, and a cavity between them sufficient for the passive removal of liquid water and water vapor.

(S11388) (RB28-22 AS)

##### [RB] EXTERIOR WALL.

An above-grade wall that defines the exterior boundaries of a building. Includes between-floor spandrels, peripheral edges of floors, roof and basement knee walls, dormer walls, gable end walls, gable end roof trusses, walls enclosing a mansard roof and basement walls with an average below-grade wall area that is less than 50 percent of the total opaque and nonopaque area of that enclosing side. For the definition applicable in Chapter 11, see Section N1101.6.

(S11384) (RB22-22 AS)

[RB] FIRE-RETARDANT-TREATED WOOD. Wood products that, when impregnated with chemicals by a pressure process or other means during manufacture, exhibit reduced surface burning characteristics and resist propagation of fire.

Other means during manufacture. A process where the wood raw material is treated with a fire-retardant formulation while undergoing creation as a finished product.

Pressure process. A process for treating wood using an initial vacuum followed by the introduction of pressure above atmospheric.

(F11385) (RB23-22 AS)

[RB] PAN FLASHING. Corrosion-resistant flashing at the base of an opening that is integrated into the building exterior wall to direct water to the water-resistive barrier surface or to the exterior and is premanufactured, fabricated, formed or applied at the job site.

(S11386) (RB26-22 AS)

PHOTOVOLTAIC (PV) PANEL SYSTEM, GROUND-MOUNTED. An independent photovoltaic (PV) panel system without useable space underneath, installed directly on the ground.

(S11387) (RB27-22 AS)

PHOTOVOLTAIC (PV) SUPPORT STRUCTURE, ELEVATED. An independent photovoltaic (PV) panel support structure designed with useable space underneath with minimum clear height of 7 feet 6 inches (2286 mm), intended for secondary use such as providing shade or parking of motor vehicles.

(S11481) (RB150-22 AMPC1)

[RB] GYPSUM BOARD. The generic name for a family of sheet productsA type of gypsum panel product consisting of a noncombustible core primarily of gypsum with paper surfacing. Gypsum wallboard, gypsum sheathing, gypsum base for gypsum veneer plaster, exterior gypsum soffit board, predecorated gypsum board and water-resistant gypsum backing board complying with the standards listed in Section R702.3 and Part IX of this code are types of gypsum board.

[RB] GYPSUM PANEL PRODUCT. The general name for a family of sheet products consisting essentially of gypsumcomplying with the standards specified in Section R702.3 and Part IX of this code.

[RB] GYPSUM SHEATHING. Gypsum panel products specifically manufactured with enhanced water resistance for use as a substrate for exterior surface materials.

[RB] GYPSUM WALLBOARD. A gypsum board used primarily as interior surfacing for building structures.

(S11344) (G1-22 Part II AS)

SUBSTANTIAL DAMAGE. Damage of any origin sustained by a structure whereby the cost of restoring the structure to its before-damaged condition would equal or exceed 50 percent of the market value of the structure before the damage occurred. SUBSTANTIAL IMPROVEMENT. Any repair, reconstruction, rehabilitation, alteration, addition or other improvement of a building or structure, the cost of which equals or exceeds 50 percent of the market value of the structure before the improvement or repair is started. If the structure has sustained substantial damage, any repairs are considered substantial improvement regardless of the actual repair work performed. The term does not, however, include either: 1. Any project for improvement of a building required to correct existing health, sanitary or safety code violations identified by the building official and that is the minimum necessary to assure safe living conditions. 2. Any alteration of a historic structure provided that the alteration will not preclude the structure’s continued designation as a historic structure.

(Step 2 – SP11950 AS)

SLEEPING LOFT. A space designated for sleeping on an intermediate level or levels between the floor and ceiling of a story, open on one or more sides to the room in which the space is located, and in accordance with Section R326.

(F11483) (RB153-22 AMPC1,2,3)

RESPONSIVE VAPOR RETARDER. A vapor retarder material complying with a vapor retarder class of Class I or Class II but which also has a vapor permeance of 1 perm or greater in accordance with ASTM E96, water method (Procedure B).

(S11532) (RB209-22AM)

AIR, MAKEUP . Any combination of outdoor and transfer air intended to replace exhaust air and exfiltration.

##### AIR, OUTDOOR .

Ambient air that enters a building through a ventilation system, through intentional openings for natural ventilation, or by infiltration.

AIR, TRANSFER . Air moved from one indoor space to another.

(M11620) (RM26-21 AMPC1)

Revise definition for “Wind-Borne Debris Region” as follows:

WINDBORNE DEBRIS REGION. Areas within hurricane-prone regions located in accordance with one of the following:

1.	Within 1 mile (1.61 km) of the mean high water line where an Exposure D condition exists upwind at the waterline and the ultimate design wind speed, Vult, is 130 mph (58 m/s) or greater.

2.	In areas where the ultimate design wind speed, Vult, is 140 mph (63.6 m/s) or greater; or Hawaii.

WINDBORNE DEBRIS REGION. Areas within hurricane-prone regions located in accordance with one of the following:

1.	Within 1 mile (1.61 km) of the coastal mean high water line where the ultimate design wind speed, Vult, is 130 mph (58 m/s) or greater.

2.	In areas where the ultimate design wind speed, Vult, is 140 mph (63.6 m/s) or greater; or Hawaii.

Supplement 2 – Annual Amendment

MANUFACTURER'S INSTALLATION INSTRUCTIONS. Printed Published instructions included with for equipment as part of the conditions of their listing and labeling.

(Step 2 – S11733 AS)

WIND SPEED, Vult. Ultimate design wind speeds as determined in accordance with Figure R301.2(4).  Ultimate design wind speeds, Vult, are equivalent to Basic Wind Speeds determined in accordance with Section 26.5.1 of ASCE 7.

WIND SPEED, Vasd. Nominal design wind speeds.

(Step 2 – S11990 AS)

Add new definition as follows:

SECTION R202

DEFINITIONS

STORM SHELTER. A building, structure or portions thereof, constructed in accordance with ICC 500, for protection from tornadoes, hurricanes, and other severe windstorms.

(Step 2 – S12160 AS)

Chapter 3 Building Planning

R301.1 Application.

Buildings and structures, and parts thereof, shall be constructed to safely support all loads, including dead loads, live loads, roof loads, flood loads and wind loads as prescribed by this code. The construction of buildings and structures in accordance with the provisions of this code shall result in a system that provides a complete load path that meets the requirements for the transfer of loads from their point of origin through the load-resisting elements to the foundation. Buildings and structures constructed as prescribed by this code are deemed to comply with the requirements of this section.

Exception: Buildings and structures located within the High Velocity Hurricane Zone shall comply with Sections R302 to R328,R330 inclusive and the provisions of Chapter 44, Sections R301.2.5 and R406. In addition, buildings and structures located in flood hazard areas established in Table R301.2(1) shall comply with Sections R301.2.4, R301.2.5 and R322.

(Step 2 – S12043 AS)

TABLE R301.2(1) CLIMATIC AND GEOGRAPHIC DESIGN CRITERIA

g. The applicable governing body shall, by local floodplain management ordinance, adopt the applicable Flood Insurance Study and Flood Insurance Rate Maps and any other flood hazard study and map when explicitly specified by the governing body. specify (a) the date of the jurisdiction’s entry into the National Flood Insurance Program (date of adoption of the first code or ordinance for management of flood hazard areas), (b) the date(s) of the Flood Insurance Study and (c) the panel numbers and dates of the currently effective FIRMs and FBFMs or other flood hazard map adopted by the authority having jurisdiction, as amended.

(Step 2 – SP11974 AS)

Revise R301.1.1 to read as follows:

R301.1.1 Alternative provisions. As an alternative to the requirements in Section R301.1, the following standards are permitted subject to the limitations of this code and the limitations therein. Where engineered design is used in conjunction with these standards, the design shall comply with the Florida Building Code, Building.

1. AF&PA Wood Frame Construction Manual (AWC WFCM).

2. AISI Standard for Cold-Formed Steel Framing— Prescriptive Method for One- and Two-Family Dwellings (AISI S230).

3. ICC Standard on the Design and Construction of Log Structures (ICC 400).

Revise Section R301.2.1.1.2 to read as follows:

R301.2.1.1.2 Alternative design method for screen enclosure.

(1) The purpose of this section is to provide an alternate method for designing aluminum screen enclosures as defined by the Florida Building Code, permitting the loads of the structural frame to be based on portions of the screen in the screen walls removed, retracted, moved to the open position, or cut. The use of framing materials other than aluminum is allowed in accordance with

Section 104.11 of the Florida Building Code, Building. The method applies only to walls and roofs with 100-percent screen.

(c) Design in accordance with the Florida Building Code, Building, Section 1605.21shall be permitted.

S-FBC-R – Ch. 3 – Errata #1

R301.1.1 Alternative Provisions

As an alternative to the requirements in Section R301.1, the following standards are permitted subject to the limitations of this code and the limitations therein. Where engineered design is used in conjunction with these standards, the design shall comply with the Florida Building Code, Building.

1.      AWC AF&PA Wood Frame Construction Manual (AWC WFCM).

2.      AISI Standard for Cold-Formed Steel Framing— Prescriptive Method for One- and Two-Family Dwellings (AISI S230).

3.      ICC Standard on the Design and Construction of Log Structures (ICC 400).

(Step 2 – S11793 AS)

R301.2.1.2 Protection of openings. Exterior glazed openings in buildings located in windborne debris regions shall be protected from windborne debris. Glazed opening protection for windborne debris shall meet the requirements of the Large Missile Test of ASTM E1996 and ASTM E1886 as modified in Section 301.2.1.2.1, TAS 201, 202 and 203, or AAMA 506, as applicable. Garage door glazed opening protection for windborne debris shall meet the requirements of an approved impact-resisting standard or ANSI/DASMA 115.

1. Openings in sunrooms, balconies or enclosed porches constructed under existing roofs or decks are not required to be protected provided the spaces are separated from the building interior by a wall and all openings in the separating wall are protected in accordance with this section. Such space shall be permitted to be designed as either partially enclosed or enclosed structures.

2. Storage sheds that are not designed for human habitation and that have a floor area of 720 square feet (67 m2) or less are not required to comply with the mandatory wind-borne debris impact standard of this code.

3. Buildings located more than 1 mile from the coastal mean high water line where the ultimate design wind speed, Vult, is less than 140 mph (63.6 m/s)  are permitted to be designed as partially enclosed in accordance with ASCE 7 in lieu of protecting exterior glazed openings from wind-borne debris.

Exception: ( no change)

(Step 2 – S12128 AM/A1 -2nd comment period)

TABLE R301.2(2) COMPONENT AND CLADDING LOADS FOR A BUILDING WITH A MEAN ROOF HEIGHT OF 30 FEET LOCATED IN EXPOSURE B (ASD) (psf)a, b, c, d, e, f, g

Revise the component and cladding load for “Gable Roof > 27 to 45 degrees” – Zone 3 – Effective Wind Area 20 – Wind speed 140 (POS) to read “17.7” instead of “0.0.”

Supplement 4 – Errata

R301.2.1.2.1 Application of ASTM E1996. The text of Section 2.2 of ASTM E1996 shall be substituted as follows:

2.2 ASCE Standard:

ASCE 7-10 American Society of Civil Engineers Minimum Design Loads for Buildings and Other Structures

The text of Section 6.2.2 of ASTM E1996 shall be substituted as follows:

    - Unless otherwise specified, select the wind zone based on the ultimate design wind speed,Vult, as follows:

      - Wind Zone 1–130 mph ≤ ultimate design wind speed,Vult < 140 mph.

      - Wind Zone 2–140 mph ≤ ultimate design wind speed,Vult < 150 mph at greater than 1 mile (1.6 km) from the coastline. The coastline shall be measured from the mean high-water mark.

      - Wind Zone 3–150 mph (67 m/s) ≤ ultimate design wind speed,Vult ≤ 170 mph (76 m/s), or 140 mph (54 m/s) ≤ ultimate design wind speed, Vult ≤ 170 mph (76 m/s) and within 1 mile (1.6 km) of the coastline. The coastline shall be measured from the mean high-water mark.

Wind Zone 4–ultimate design wind speed,Vult > 170

(S11178) (S119-22 Part II AS)

TABLE R301.2(3) HEIGHT AND EXPOSURE ADJUSTMENT COEFFICIENTS FOR TABLE R301.2(2)

(Step 2 – S12219 AS)

R301.2.1.1.1.4 Electrical Receptacles. Notwithstanding the NEC, receptacles shall not be required in Category I or Category II Sunrooms.

(Step 2 – E12183 AS)

(NOTE: The following table has been split into two for ease of readability. In the actual code it will be one table.)

| TABLE R301.2(4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NOMINAL (ASD) GARAGE DOOR WIND LOADS FOR A BUILDING WITH A MEAN ROOF HEIGHT OF 30 FEET LOCATED IN EXPOSURE B (PSF)1, 2, 3, 4, 5, 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Door Size |  | ULTIMATE DESIGN WIND SPEED (Vult) DETERMINED IN ACCORDANCE WITH SECTION R301.2.1 (MPH – 3 SECOND GUST) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Width (ft) | Height (ft) | 100 MPH |  |  | 110 MPH |  | 120 MPH |  | 130 MPH |  | 140 MPH |  | 150 MPH |  |  |
| 9 | 7 | +10.0 9.3 | –10.9 –10.6 |  | +11.4 11.3 | – 12.9 – 12.8 | +13.7 13.5 | – 15.5 – 15.2 | +16.1 15.8 | – 18.2 – 17.9 | +18.5 18.3 | – 20.9 – 20.7 | +21.3 21.0 | – 24.1 – 23.8 |  |
| 16 | 7 | +10.0 9.0 | –10.3 –10.0 |  | +10.9 10.8 | – 12.2 – 12.1 | +13.1 12.9 | – 14.6 – 14.4 | +15.5 15.1 | – 17.2 – 16.9 | +17.7 17.5 | – 19.7 – 19.6 | +20.4 20.1 | – 22.7 – 22.5 |  |
|  |  | 78 MPH |  |  | 85 MPH |  | 93 MPH |  | 101 MPH |  | 108 MPH |  | 116 MPH |  |  |
| Nominal Design Wind Speed (Vasd) converted from Vult per Section R301.2.1.3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Door Size |  |  | ULTIMATE DESIGN WIND SPEED (Vult) DETERMINED IN ACCORDANCE WITH SECTION R301.2.1 (MPH – 3 SECOND GUST |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Width (ft) |  | Height (ft) | 160 MPH |  |  | 170 MPH |  | 180 MPH |  | 190 MPH |  | 200 MPH |  |  |  |  |
| 9 |  | 7 | +24.3 23.9 | – 27.5 – 27.0 |  | +27.6 27.0 | – 31.2 – 30.5 | +30.6 30.3 | – 34.6 – 34.2 | +34.2 33.7 | – 38.6 – 38.1 | +38.0 37.4 | – 43.0 – 42.3 |  |  |  |
| 16 |  | 7 | +23.3 22.9 | – 26.0 – 25.5 |  | +26.4 25.9 | – 29.4 – 28.8 | +29.3 29.0 | – 32.6 – 32.3 | +32.7 32.3 | – 36.5 – 36.0 | +36.4 35.8 | – 40.6 – 39.9 |  |  |  |
|  |  |  | 124 MPH |  |  | 132 MPH |  | 139 MPH |  | 147 MPH |  | 155 MPH |  |  |  |  |
|  |  |  | Nominal Design Wind Speed (Vasd) converted from Vult per Section R301.2.1.3 |  |  |  |  |  |  |  |  |  |  |  |  |  |

For SI: 1 foot = 304.8 mm, 1 mile per hour = 1.609 km/h, 1 psf = 47.88 N/m2.Pa.

1. For door sizes or wind speeds between those given above the load may be interpolated, otherwise For larger door sizes use the load associated with the lower closest door size.

2. Table values shall be adjusted for height and exposure by multiplying by the adjustment coefficient in Table R301.2(3). Minimum positive wind load shall be 10 psf and minimum negative wind load shall be 10 psf.

32. Plus and minus signs Positive and negative values signify pressures acting toward and away from the building surfaces exterior surface of the door.

43. Negative pressures assume door has 2 feet of width in overlaps building’s end zone by 2 feet. For overlaps less than 2 feet, the values in this table shall be used.

54. Table values include the 0.6 load reduction factor. Tabulated values are calculated in accordance with ASCE 7 using the 0.6 factor for ASD and an elevation factor of 1.0. Table values shall be adjusted for height and exposure by multiplying by the adjustment coefficient in Table R301.2(3). Lower elevation factors shall be permitted to be used in accordance with ASCE 7 Table 26.9-1. In all cases the resulting positive and negative design wind pressures shall not be less than 10 psf.

5. Topographic factor, Kzt, is taken as 1. Determine design wind pressure in accordance with ASCE 7 where the topographic conditions of ASCE 7 Section 26.8 apply.

6. Design wind pressure shall be determined in accordance with ASCE 7 in the following cases:

a.	Buildings designed as open, partially open, or partially enclosed.

b.	Door areas (width x height) less than 63 ft2.

c.	Doors overlapping the building’s end zone more than 2 feet.

d.	Building mean roof height greater than 60 feet.

e.	Building types and conditions not within the scope (Section 30.1) of ASCE 7 Chapter 30.

(Step 2 – S12213 AS)

R301.2.4 Floodplain construction. Buildings and structures constructed in whole or in part in flood hazard areas (including A or V Zones) as established in Table R301.2, and substantial improvement and repair of substantial damage of buildings and structures located in whole or in part in flood hazard areas, shall be designed and constructed in accordance with Section R322. Buildings and structures that are located in more than one flood hazard area, including A Zones, Coastal A Zones, and V Zones, shall comply with the provisions associated with the most restrictive flood hazard area. Buildings and structures located in whole or in part in identified floodways shall be designed and constructed in accordance with ASCE 24.

(S11398) (RB42-22 AS)

R301.7 Deflection. The allowable deflection of any structural member under the live load listed in Sections R301.5 and R301.6 or wind loads determined by Section R301.2.1 shall not exceed the values in Table R301.7.

Revise as follows:

TABLE R301.7 ALLOWABLE DEFLECTION OF STRUCTURAL MEMBERSb, c

Portions of Table not shown remain unchanged.

| STRUCTURAL MEMBER | ALLOWABLE DEFLECTION |
| --- | --- |
| All other structural members excluding guards and handrails. | L/240 |

Note: L = span length, H = span height.

(S11399) (RB44-22 AS)

Portions of Table not shown remain unchanged.

Table R302.1 Exterior Walls

EXTERIOR WALL ELEMENT; MINIMUM FIRE-RESISTANCE RATING; MINIMUM FIRE SEPARATION DISTANCE. Walls; Fire-resistance rated; 1 hour—tested in accordance with ASTM E119 or UL 263 with exposure from the outside or calculated per Florida Building Code, Building; 0 feet. Not fire-resistance rated; 0 hours; 3 feeta. Projections; Not allowed; N/A; < 2 feet. Fire-resistance rated; 1 hour on the underside, or heavy timber, or fire-retardant-treated woodb, c, or noncombustible fiber-cementb, c; 2 feeta. Not fire-resistance rated; 0 hours; 3 feet. Openings in walls; Not allowed; N/A; < 3 feet. Unlimited; 0 hours; 3 feeta. Penetrations; All; Comply with Section R302.4; < 3 feet. None required. (Step 2 – F12356 AS) Revise as follows: R302.2.2 Parapets for townhouses. Parapets constructed in accordance with Section R302.2.3 shall be constructed for townhouses as an extension of exterior walls or common walls in accordance with the following: 1. Where roof surfaces adjacent to the wall or walls are at the same elevation, the parapet shall extend not less than 30 inches (762 mm) above the roof surfaces. 2. Where roof surfaces adjacent to the wall or walls are at different elevations and the higher roof is not more than 30 inches (762 mm) above the lower roof, the parapet shall extend not less than 30 inches (762 mm) above the lower roof surface. Exception: A parapet is not required in the preceding two cases where the roof assembly roof covering complies with a minimum Class C classification rating as tested in accordance with ASTM E108 or UL 790 and the roofing decking or sheathing is of noncombustible materials or approved fire-retardant-treated wood for a distance of 4 feet (1219 mm) on each side of the wall or walls, or one layer of 5/8-inch (15.9 mm) Type X gypsum board is installed directly beneath the roof decking or sheathing, supported by not less than nominal 2-inch (51 mm) ledgers attached to the sides of the roof framing members, for a distance of not less than 4 feet (1219 mm) on each side of the wall or walls and any openings or penetrations in the roof are not within 4 feet (1219 mm) of the common walls. 3. A parapet is not required where roof surfaces adjacent to the wall or walls are at different elevations and the higher roof is more than 30 inches (762 mm) above the lower roof. The common wall construction from the lower roof to the underside of the higher roof deck shall have not less than a 1-hour fire-resistance rating. The wall shall be rated for exposure from both sides.

(Step 2 – R11791 AS)

R302.2.4 Parapets for townhouses. Parapets constructed in accordance with Section R302.2.3 shall be constructed for town houses as an extension of exterior walls or common walls separating townhouse units in accordance with the following:

1 – 2 No change

3. A parapet is not required where roof surfaces adjacent to the wall or walls are at different elevations and the higher roof is more than 30 inches (762 mm) above the lower roof. The common wall construction from the lower roof to the underside of the higher roof deck shall have not less than a 1-hour fire-resistance rating. The wall shall be rated for exposure from both sides. Openings shall not be permitted in the wall.

(F11407) (RB54-22 AS)

Revise Section R302.3 to read as follows:

R302.3 Two-family dwellings. Dwelling units in two-family dwellings shall be separated from each other by wall and floor assemblies having not less than a 1-hour fire-resistance rating where tested in accordance with ASTM E119, UL 263 or Section 703.3 703.2.2 of the Florida Building Code, Building. Fire-resistance-rated floor/ceiling and wall assemblies shall extend to and be tight against the exterior wall, and wall assemblies shall extend to the underside of the roof sheathing.

No change to the remaining text.

F-FBC-R – Ch.3 – Errata #3

R302.3 Two-family dwellings. Dwelling units in two-family dwellings shall be separated from each other by wall and floor assemblies having not less than a 1-hour fire-resistance rating where tested in accordance with ASTM E119, UL 263 or Section 703.3 of the Florida Building Code, Building. Fire-resistance-rated floor/ceiling and wall assemblies shall extend to and be tight against the exterior wall, and wall assemblies shall extend from the foundation to the underside of the roof sheathing. Exceptions: 1. A fire-resistance rating of 1/2 hour shall be permitted in buildings equipped throughout with an automatic sprinkler system installed in accordance with NFPA 13, NFPA 13R, NFPA 13D, or Section P2904. 2. Wall assemblies need not extend through attic spaces where the ceiling is protected by not less than 5/8-inch (15.9 mm) Type X gypsum board, an attic draft stop constructed as specified in Section R302.12.1 is provided above and along the wall assembly separating the dwellings and the structural framing supporting the ceiling is protected by not less than 1/2-inch (12.7 mm) gypsum board or equivalent. 3. Screen enclosure walls of insect screening with a maximum of 25-percent solid flexible finishes.

(Step 2 – F12231 AS)

R302.3.2 Shared accessory rooms. Shared accessory rooms shall be separated from each individual dwelling unit in accordance with Table R302.3.2. Openings between the shared accessory room and dwelling unit shall comply with Section R302.3.2.1. Attachment of gypsum board shall comply with Table R702.3.5.

##### TABLE R302.3.2 DWELLING SHARED ACCESSORY ROOM SEPARATION

| SEPARATION | MATERIAL |
| --- | --- |
| From the dwelling units and attics | Not less than 1/2-inch gypsum board or equivalent applied to the accessory room side wall |
| From habitable rooms above or below the common shared accessory room | Not less than 5/8-inch Type X gypsum board or equivalent |
| Structures supporting floor/ceiling and wall assemblies used for separation required by this section | Not less than 1/2-inch gypsum board or equivalent |
| Common accessory rooms located less than 3 feet from a dwelling unit on the same lot | Not less than 1/2-inch gypsum board or equivalent applied to the interior side of exterior walls that are within this area |

For SI: 1 inch=25.4 m, 1 foot=304.8 mm

R302.3.2.1 Opening protection. Openings from a shared accessory room or area directly into a room used for sleeping purposes shall not be permitted. Other openings between the shared accessory room or area and dwelling units shall be equipped with solid wood doors not less than 1 3/8 inches in thickness, solid or honeycomb core steel doors not less than 1 3/8 inches thick, or a fire door assembly with a 20-minute fire-protection rating, equipped with a self-closing or automatic-closing device.

R302.3.2.2 Duct penetration. Ducts penetrating the walls or ceilings separating the dwelling from the shared accessory room shall be constructed of a minimum No. 26 gage (0.48 mm) sheet steel or other approved material and shall not have openings into the shared accessory room.

R302.3.2.3 Other penetrations. Penetrations through the walls, ceiling, and floor level separation required in Section R302.3.2 shall be protected as required by Section R302.11, Item 4.

(F11411) (RB64-22 AMPC1,2)

##### TABLE R302.6 DWELLING-GARAGE SEPARATION

| SEPARATION | MATERIAL |
| --- | --- |
| From the residence and attics | Not less than 1/2-inch gypsum board or equivalent applied to the garage side |
| From portions of the dwelling unit above the garage | Not less than 5/8-inch Type X gypsum board or equivalent |
| Structure(s) supporting floor/ceiling assemblies used for separation required by this section | Not less than 1/2-inch gypsum board or equivalent |
| Garages located less than 3 feet from a dwelling unit on the same lot | Not less than 1/2-inch gypsum board or equivalent applied to the interior side of exterior walls that are within this area |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm.

(F11412) (RB71-22 AM)

R302.10.4 Exposed attic insulation. Exposed insulation materials installed on attic floors shall have a critical radiant flux of not less than 0.12 watt per square centimeter when tested in accordance with ASTM E970. R302.10.5 Testing. Tests for critical radiant flux shall be made in accordance with ASTM E970.

(Step 2 - F12232 AS)

R802.1.5 R302.15 Fire-retardant-treated wood. Fire-retardant-treated wood (FRTW) is any wood product that, when impregnated with chemicals by a pressure process or other means during manufacture, shall have, when tested in accordance with ASTM E84 or UL 723, a listed flame spread index of 25 or less. In addition, the ASTM E84 or UL 723 test shall be continued for an additional 20-minute period and the flame front shall not progress more than 10.5 feet (3200 mm) beyond the center line of the burners at any time during the test.

R802.1.5.1 R302.15.1 Pressure process. For wood products impregnated with chemicals by a pressure process, the process shall be performed in closed vessels under pressures not less than 50 pounds per square inch gauge (psig) (344.7 kPa).

R802.1.5.2 R302.15.2 Other means during manufacture. For wood products impregnated with chemicals by other means during manufacture, the treatment shall be an integral part of the manufacturing process of the wood product. The treatment shall provide permanent protection to all surfaces of the wood product. The use of paints, coating, stains or other surface treatments is not an approved method of protection as required by this section.

R802.1.5.3 R302.15.3 Testing. For fire-retardant-treated wood products, the front and back faces of the wood product shall be tested in accordance with and produce the results required in Section R302.15 R802.1.5.

R802.1.5.3.1 R302.15.3.1 Fire testing of wood structural panels. Wood structural panels shall be tested with a ripped or cut longitudinal gap of 1/8 inch (3.2 mm).

R802.1.5.4 R302.15.4 Labeling. Fire-retardant-treated lumber and wood structural panel shall be labeled. The label shall contain:

- The identification mark of an approved agency in accordance with Section 1703.5 of the International Building Code.

- Identification of the treating manufacturer.

- The name of the fire-retardant treatment.

- The species of wood treated.

- Flame spread index and smoke-developed index.

- Method of drying after treatment.

- Conformance to applicable standards in accordance with SectionsR302.15.5 through R302.15.10 R802.1.5.5 through R802.1.5.10.

- For FRTW exposed to weather, or a damp or wet location, the words “No increase in the listed classification when subjected to the Standard Rain Test” (ASTM D2898).

R802.1.5.5 R302.15.5 Strength adjustments. Design values for untreated lumber and wood structural panels as specified in Section R802.1 shall be adjusted for fire-retardant-treated wood. Adjustments to design values shall be based on an approved method of investigation that takes into consideration the effects of the anticipated temperature and humidity to which the fire-retardant-treated wood will be subjected, the type of treatment and redrying procedures.

R802.1.5.6 R302.15.6 Wood structural panels. The effect of treatment and the method of redrying after treatment, and exposure to high temperatures and high humidities on the flexure properties of fire-retardant-treated softwood plywood shall be determined in accordance with ASTM D5516. The test data developed by ASTM D5516 shall be used to develop adjustment factors, maximum loads and spans, or both for untreated plywood design values in accordance with ASTM D6305. Each manufacturer shall publish the allowable maximum loads and spans for service as floor and roof sheathing for their treatment.

R802.1.5.7 R302.15.7 Lumber. For each species of wood treated, the effect of the treatment and the method of redrying after treatment and exposure to high temperatures and high humidities on the allowable design properties of fire-retardant-treated lumber shall be determined

in accordance with ASTM D5664. The test data developed by ASTM D5664 shall be used to develop modification factors for use at or near room temperature and at elevated temperatures and humidity in accordance with ASTM D6841. Each manufacturer shall publish the modification factors for service at temperatures of not less than 80°F (27°C) and for roof framing. The roof framing modification factors shall take into consideration the climatological location.

R802.1.5.8 R302.15.8 Exposure to weather. Where fire-retardant-treated wood is exposed to weather or damp or wet locations, it shall be identified as “Exterior” to indicate there is not an increase in the listed flame spread index as defined in SectionR302.15 R802.1.5 when subjected to ASTM D2898.

R802.1.5.9 R302.15.9 Interior applications. Interior fire-retardant-treated wood shall have a moisture content of not over 28 percent when tested in accordance with ASTM D3201 procedures at 92-percent relative humidity. Interior fire-retardant-treated wood shall be tested in accordance with Section R302.15.6 or R302.15.7 R802.1.5.6 or R802.1.5.7. Interior fire-retardant-treated wood designated as Type A shall be tested in accordance with the provisions of this section.

R802.1.5.10 R302.15.10 Moisture content. Fire-retardant-treated wood shall be dried to a moisture content of 19 percent or less for lumber and 15 percent or less for wood structural panels before use. For wood kiln dried after treatment (KDAT) the kiln temperatures shall not exceed those used in kiln drying the lumber and plywood submitted for the tests described in Section R802.1.5.6 R302.15.6 for plywood and R302.15.7 R802.1.5.7 for lumber.

(S11559) (RB241-22 AS)

R303.1 Habitable rooms. Habitable space rooms shall be provided natural light and natural ventilation in accordance with Sections R303.1.1 through R303.1.3. have an aggregate glazing area of not less than 8 percent of the floor area of such rooms. Naturalventilation shall be through windows, skylights, doors, louvers or other approved openings to the outdoor air. Such openings shall be provided with ready access or shall otherwise be readily controllable by the building occupants. The openable area to the outdoors shall be not less than 4 percent of the floor area being ventilated.

###### Exceptions:

- For habitable rooms other than kitchens, the glazed areas need not be openable where the opening is not required by Section R310 and a whole-house mechanical ventilation system or a mechanical ventilation system capable of producing 0.35 air changes per hour in the habitable rooms is installed in accordance with Section M1507.

- For kitchens, the glazed areas need not be openable where the opening is not required by Section R310 and a local exhaust system is installed in accordance with Section M1507.

- The glazed areas need not be installed in rooms where Exception 1 is satisfied and artificial light is provided that is capable of producing an average illumination of 6 footcandles (65 lux) over the area of the room at a height of 30 inches (762 mm) above the floor level.

- Use of sunroom and patio covers, as defined in Section R202, shall be permitted for natural ventilation if in excess of 40 percent of the exterior sunroom walls are open, or are enclosed only by insect screening.

###### Add new text as follows:

R303.1.1 Natural light. Habitable rooms shall have an aggregate area of glazed openings not less than 8 percent of the floor area of such rooms. Required glazed openings shall face directly onto a street, alley or public way, or a yard or court located on the same lot as the building.

Exceptions:

- Required glazed openings shall be permitted to face into a roofed porch, deck or patio adjacent to a street, alley, public way,

yard or court, where there the longer side of the roofed area is not less than 65 percent unobstructed and the ceiling height is not less than 7 feet (2134 mm).

- Required glazed openings shall be permitted to face into a sunroom adjacent to a street, alley, public way, yard or court.

- Glazed openings are not required where artificial light is provided that is capable of producing an average illumination of 6 footcandles (65 lux) over the area of the room at a height of 30 inches (762 mm) above the floor level.

- Eave projections shall not be considered as obstructing the clear open space of a yard or court.

R303.1.2 Natural ventilation. Habitable rooms shall have an aggregate area openable to the outdoors not less than 4 percent of the floor area of such rooms. Openings shall be through windows, skylights, doors, louvers or other approved openings to the outdoor air. Such openings shall be provided with ready access or shall otherwise be readily controllable by the building occupants.

Exceptions:

- Natural ventilation shall not be required in habitable rooms other than kitchens where a whole-house mechanical ventilation system or a mechanical ventilation system capable of producing 0.35 air changes per hour in the habitable rooms is installed in accordance with Section M1507.

- Natural ventilation shall not be required in kitchens where a local exhaust system is installed in accordance with Section M1505.

- Required ventilation openings shall be permitted to open into a thermally isolated sunroom or roofed porch, deck, or patio where not less than 40 percent of the roofed area perimeter is open to the outdoor air.

- Required ventilation openings shall be permitted to open into a thermally isolated sunroom provided there is an openable area between the adjoining room and the sunroom of not less than one-tenth of the floor area of the interior room and not less than 20 square feet (2 m2). The minimum openable area of the sunroom to outdoor air shall be based on the total floor area of the adjoining room and the sunroom.

###### Revise as follows:

R303.2 R303.1.3 Adjoining rooms. For the purpose of determining light and ventilation requirements, rooms shall be considered to be a portion of an adjoining room where not less than one-half of the area of the common wall is open and unobstructed and provides an opening of not less than one-tenth of the floor area of the interior room and not less than 25 square feet (2.3 m2).

Exception: Openings required for light or ventilation shall be permitted to open into a sunroom with thermal isolation or a patio cover, provided that there is an openable area between the adjoining room and the sunroom or patio cover of not less than one-tenth of the floor area of the interior room and not less than 20 square feet (2 m2). The minimum openable area to the outdoors shall be based on the total floor area being ventilated.

###### Delete without substitution:

R303.9 Required glazed openings. Required glazed openings shall open directly onto a street or public alley, or ayard or court located on the same lot as the building.

###### Exceptions:

- Required glazed openings that face into a roofed porch where the porch abuts a street, yard or court and the longer side of the porch is not less than 65 percent unobstructed and the ceiling height is not less than 7 feet (2134 mm).

- Eave projections shall not be considered as obstructing the clear open space of a yard or court.

- Required glazed openings that face into the area under a deck, balcony, bay or floor cantilever where a clear vertical space not less than 36 inches (914 mm) in height is provided.

R303.9.1 Sunroom additions. Required glazed openings shall be permitted to open into sunroom additions or patio covers that abut a street, yard or court if in excess of 40 percent of the exterior sunroom walls are open, or are enclosed only by insect screening, and the ceiling height of the sunroom is not less than 7 feet (2134 mm).

(F11415) (RB76-22 AM)

R308.4.6 Glazing adjacent to stairs and ramps. Glazing where the bottom exposed edge of the glazing is less than 36 inches (914 mm) above the plane of the adjacent walking surface of flights stairs stairways, landings between flights of stairs and ramps shall be considered to be a hazardous location.

###### Exceptions:

  - Where glazing is adjacent to a walking surface and a horizontal rail is installed at 34 to 38 inches (864 to 965 mm) above the walking surface. The rail shall be capable of withstanding a horizontal load of 50 pounds per linear foot (730 N/m) without contacting the glass and have a cross-sectional height of not less than 11/2 inches (38 mm).

  - Glazing 36 inches (914 mm) or more measured horizontally from the walking surface.

(F11417) (RB84-22AM)

R308.6.5 Screens not required. Screens shall not be required where laminated glass complying with Item 1 of Section R308.6.2 is used as single glazing or the inboard pane in multiple glazing. Screens shall not be required where fully tempered glass is used as single glazing or the inboard pane in multiple glazing and either of the following conditions is met:

- The glass area is 16 square feet (1.49 m2) or less; the highest point of glass is not more than 12 feet (3658 mm) above a walking surface; the nominal glass thickness is not more than 3/16 inch (4.8 mm); and for multiple glazing only the other pane or panes are fully tempered, laminated or wired glass.

- The glass area is greater than 16 square feet (1.49 m2); the glass is sloped 30 degrees (0.52 rad) or less from vertical; and the highest point of glass is not more than 10 feet (3048 mm) above a walking surface.

(F11418) (RB85-22 AS)

R309.4 Automatic garage door openers. Automatic garage door openers, if provided, shall be listed and labeled in accordance with UL 325, and shall be installed in accordance with the manufacturer’s installation instructions.

(F11419) (RB86-22 AM)

  - Automotive Lifts.

Where provided, automotive lifts shall be listed and labeled in accordance with ANSI/ALI ALCTV and Sections 309.6.1.

    - Installation.

Automotive lifts shall be installed in accordance with ANSI/ALI ALCTV, the listing, and the lift manufacturer's installation instructions. Automotive lifts shall not be installed within the habitable space of a dwelling unit.

###### Add new standard(s) as follows:

ALI ALCTV-2017. Standard for Automotive Lifts-Safety Requirements for Construction, Testing and Validation (ANSI)

(F11421) (RB87-22 AMPC1)

R309.7 Electric vehicle charging systems. Where provided, electric vehicle charging systems shall be installed in accordance with NFPA 70. Electric vehicle charging system equipment shall be listed and labeled in accordance with UL 2202. Electric vehicle supply equipment shall be listed and labeled in accordance with UL 2594.

(F11422) (RB88-22 AS)

# SECTION R310

EMERGENCY ESCAPE AND RESCUE OPENINGS

R310.1 Emergency escape and rescue opening required. Basements, habitable attics, the room to which a sleeping loft is open, and every sleeping room shall have not less than one operable emergency escape and rescue opening. Where basements contain one or more sleeping rooms, an emergency escape and rescue opening shall be required in each sleeping room. Emergency escape and rescue openings shall open directly into a public way, or to a yard or court having a minimum width of 36 inches (914 mm) that opens to apublic way.

###### Exceptions:

  - Storm shelters and basements used only to house mechanical equipment not exceeding a total floor area of 200 square feet (18.58 m2).

  - Where the dwelling unit or townhouse unit is equipped with an automatic sprinkler system installed in accordance with Section P2904, sleeping rooms in basements shall not be required to have emergency escape and rescue openings provided that the basement has one of the following:

    - One means of egress complying with Section R311 and one emergency escape and rescue opening.

    - Two means of egress complying with Section R311.

  - A yard shall not be required to open directly into a public way where the yard opens to an unobstructed path from the yard to the public way. Such path shall have a width of not less than 36 inches (914 mm).

(F11483) (RB153-22 AMPC1,2,3)

R310.3 Emergency escape and rescue doors.

Where a door is provided as the required emergency escape and rescue opening, it shall be permitted to be a side-hinged, swinging door, pivoted door, balanced door, or a slider sliding door. Where the opening is below the adjacent grade, it shall be provided with an area well.

R311.2 Egress door types.

Not less than one egress door shall be provided for each dwelling unit. The egress door shall be of the side-hinged swinging door, pivoted door or balanced door types, and shall provide a clear width of not less than 32 inches (813 mm) where measured between the face of the door and the stop, with the door open 90 degrees (1.57 rad). The clear height of the door opening shall be not less than 78 inches (1981 mm) in height measured from the top of the threshold to the bottom of the stop. Other doors shall not be required to comply with these minimum dimensions. Egress doors shall be readily openable from inside the dwelling without the use of a key or special knowledge or effort.

Exception: Buildings that are 400 square feet or less and that are intended for use in conjunction with one- and two- family residences are not subject to the door height and width requirements of this code.

(Step 2 – F11932 AS)

R311.3 Floors and landings at exterior doors. There shall be a landing or floor on each side of each exterior door. The width of each landing shall be not less than the door served. Every landing shall have a dimension of not less than 36 inches (914 mm) measured in the direction of travel. The slope at exterior landings shall not exceed 1/4 unit vertical in 12 units horizontal (2 percent). Exception: 1. Exterior balconies less than 60 square feet (5.6 m2) and only accessed from a door are permitted to have a landing less than 36 inches (914 mm) measured in the direction of travel. 2. Exterior doors from Category I and II sunrooms opening onto grass or soil.at the same elevation as the slab 3. Exterior doors from screen enclosures opening onto grass or soil at the same elevation as the slab.

(Step 2 – F12188 AS)

R311.7.5.3 Nosings. Nosings at treads, landings and floors of stairways shall have a radius of curvature at the nosing not greater than 9/16 inch (14 mm) or a bevel not greater than 1/2 inch (12.7 mm). A nosing projection not less than 3/4 inch (19 mm) and not more than 11/4 inches (32 mm) shall be provided on stairways. The greatest nosing projection shall not exceed the smallest nosing projection by more than 3/8 inch (9.5 mm) within a stairway flight and the landing at the top of the flight.

Exception: A nosing projection is not required where the tread depth is not less than 11 inches (279 mm).

(F11367) (RB105-22 AS)

R311.4 Vertical egress. Egress from basements and habitable levels including habitable attics and basements that are not provided with an egress door in accordance with Section R311.2 shall be by a ramp in accordance with Section R311.8 or a stairway in accordance with Section R311.7.

(F11435) (RB101-22 AS)

R311.7.5.3 Nosings. Nosings at treads Treads, landings and floors of stairways shall have a radius of curvature at the nosing not greater than 9/16 inch (14 mm) or a bevel not greater than1/2 inch (12.7 mm). A nosing projection not less than 3/4 inch (19 mm) and not more than 11/4 inches (32 mm) shall be provided on stairways. The greatest nosing projection shall not exceed the smallest nosing projection by more than 3/8 inch (9.5 mm) within a stairway.

###### Exception Exceptions:

- A nosing projection is not required where the tread depth is not less than 11 inches (279 mm).

- Where risers are open, the maximum nosing projection shall be permitted to exceed 1 1/4 inches (32 mm).

(F11436) (RB103-22 AS)/ (F11452) (RB106-22 AS)

R311.7.6 Landings for stairways. There shall be a floor or landing at the top and bottom of each flight of stairs stairway. The width perpendicular to the direction of travel shall be not less than the width of the flight served. For landings of shapes other than square or rectangular, the depth at the walk line and the total area shall be not less than that of a quarter circle with a radius equal to the required landing width. Where the stairway has a straight run, the depth in the direction of travel shall be not less than 36 inches (914 mm).

Exceptions.

- The top landing of an interior stairway, including those in an enclosed garage, shall be permitted to be on the other side of a door located at the top of the stairway A floor or landing is not required at the top of an interior flight of stairs, including stairs in an enclosed garage, provided that a the door does not swing over the stairs.

- Exterior stairways to grade with three or fewer risers serving a deck, porch or patio shall have a minimum bottom landing width of 36 inches, provided the stairway is not the required access to grade serving the required egress door.

- See Section R311.3 for exterior doors where a step down is provided.

(F11453) (RB107-22 AS)/ (F11454) (RB108-22 AS)

R314.1 General. Smoke alarms shall comply with NFPA 72, and Section R314 and the manufacturer’s installation instructions.

R314.1.1 Listings. Smoke alarms shall be listed in accordance with UL 217. Combination smoke and carbon monoxide alarms shall be listed in accordance with UL 217 and UL 2034.

###### Revise as follows:

R314.3.1 Installation near cooking appliances. Smoke alarms shall not be installed a minimum of 10 ft. (3.0 m) horizontally from a permanently installed cooking appliance. in the following locations unless this would prevent placement of a smoke alarm in a location required by Section R314.3.

- Ionization smoke alarms shall not be installed less than 20 feet (6096 mm) horizontally from a permanently installed cooking

appliance.

- Ionization smoke alarms with an alarm-silencing switch shall not be installed less than 10 feet (3048 mm) horizontally from a permanently installed cooking appliance.

- Photoelectric smoke alarms shall not be installed less than 6 feet (1828 mm) horizontally from a permanently installed cooking

appliance.

- Smoke alarms listed and marked “helps reduce cooking nuisance alarms” shall not be installed less than 6 feet (1828 mm) horizontally from a permanently installed cooking appliance.

Exception: Smoke alarms shall be permitted to be installed a minimum of 6 ft. (1.8 m) horizontally from a permanently installed cooking appliance where necessary to comply with Section R314.3.

(F11460) (RB121-22 AS)

R314.1.1 Listings. Smoke alarms shall be listed and labeled in accordance with UL 217. Combination smoke and carbon monoxide alarms shall be listed and labeled in accordance with UL 217 and UL 2034.

###### Add new text as follows:

R314.1.2 Installation. Smoke alarms and combination smoke and carbon monoxide alarms shall be installed in accordance with their listing and the manufacturer’s instructions.

(F11461) (RB122-22 AMPC1)

# SECTION 314 SMOKE ALARMS

R314.3 Location. Smoke alarms shall be installed in the following locations:

- In each sleeping room.

- Outside each separate sleeping area in the immediate vicinity of the bedrooms and sleeping lofts.

- On each additional story of the dwelling, including basements and habitable attics and not including crawl spaces and uninhabitable attics. In dwellings or dwelling units with split levels and without an intervening door between the adjacent levels, a smoke alarm installed on the upper level shall suffice for the adjacent lower level provided that the lower level is less than one full story below the upper level.

- Not less than 3 feet (914 mm) horizontally from the door or opening of a bathroom that contains a bathtub or shower unless this would prevent placement of a smoke alarm required by this section.

- In the hallway and in the room open to the hallway indwelling units where the ceiling height of a room open to a hallway serving bedrooms exceeds that of the hallway by 24 inches (610 mm) or more.

- Within the room to which a sleeping loft is open, in the immediate vicinity of the sleeping loft

(F11483) (RB153-22 AMPC1,2,3)/ (F11483) (RB153-22 AMPC1,2,3)

R314.3 Location. Smoke alarms shall be installed in the following locations: - In each sleeping room. - Outside each separate sleeping area in the immediate vicinity of the bedrooms. - On each additional story of the dwelling, including basements and habitable attics and not including crawl spaces and uninhabitable attics. In dwellings or dwelling units with split levels and without an intervening door between the adjacent levels, a smoke alarm installed on the upper level shall suffice for the adjacent lower level provided that the lower level is less than one full story below the upper level. - Smoke alarms shall be installed not less than 3 feet (914 mm) horizontally from the door or opening of a bathroom that contains a bathtub or shower unless this would prevent placement of a smoke alarm required by Section R314.3. - In an attached garage. A heat detector, listed and interconnected to the smoke alarms, shall be installed in locations with dwelling units and attached garages where smoke alarms cannot be installed based on their listings.

(Step 2 – F12190 AM/A1 – 2nd comment period)

R315.1.1 Carbon monoxide alarm. The requirements of Section R315.1 shall be satisfied by providing for one of the following alarm installations:

1. A hard-wired carbon monoxide alarm.

2. A battery-powered carbon monoxide alarm. Alarms that are solely battery powered shall have a nonreplaceable, nonremovable battery that is capable of powering the alarm for a minimum of 10 years.

3. A hard-wired combination carbon monoxide and smoke alarm.

4. A battery-powered combination carbon monoxide and smoke alarm.

(Step 2 – F11741 AM/A1 – 2nd comment period)

# SECTION R316 FOAM PLASTIC

R316.1 General. The provisions of this section shall govern the materials, design, application, construction and installation of foam plastic materials.

###### Add new text as follows:

R316.1.1 Spray-applied foam plastic. Single- and multiple-component spray-applied foam plastic insulation shall comply with the provisions of Section R316 and ICC 1100.

R316.1.2 Insulating sheathing. Foam plastic materials used as insulating sheathing shall comply with the provisions of Section R316 and the material standards in Table R316.1.2.

##### TABLE R316.1.2 MATERIAL STANDARDS FOR FOAM PLASTIC INSULATING SHEATHING

| Expanded Polystyrene (EPS) | ASTM C578 |
| --- | --- |
| Extruded Polystyrene (XPS) | ASTM C578 |
| Polyisocyanurate | ASTM C1289 |

R316.8 Wind resistance. Foam plastic insulation complying with ASTM C578 and ASTM C1289 and used as exterior wall sheathing on framed wall assemblies shall comply with SBCA FS 100 for wind pressure resistance unless installed directly over or under a sheathing material that is separately capable of resisting the wind load or otherwise exempted from the scope of SBCA FS 100.

(F11467) (RB131-22 AS)

R317.3 Fasteners and connectors in contact with preservative-treated and fire-retardant-treated wood. Fasteners, including nuts and washers, and connectors in contact with preservative-treated wood and fire-retardant-treated wood shall be in accordance with this section. The coating weights for zinc-coated fasteners shall be in accordance with ASTM A153. The coating weight for zinc-coated nails shall be in accordance with ASTM A153 Class D (1 oz / ft²) or ASTM A641 Class 3S (1 oz / ft²). Stainless steel driven fasteners shall be in accordance with the material requirements of ASTM F1667.

(F11468) (RB133-22 AS)

R322.1 General. Buildings and structures constructed in whole or in part in flood hazard areas, including A or V Zones and Coastal A Zones, as established in Table R301.2, and substantial improvement and repair of substantial damage of buildings and structures located in whole or in part in flood hazard areas, shall be designed and constructed in accordance with the provisions contained in this section. Buildings and structures that are located in more than one flood hazard area, including A Zones, Coastal A Zones, and V Zones, shall comply with the provisions associated with the most restrictive flood hazard area. Buildings and structures located in whole or in part in identified floodways shall be designed and constructed in accordance with ASCE 24.

(S11398) (RB42-22 AS)

R322.1.6 Protection of mechanical, plumbing and electrical systems. Electrical systems, equipment and components; heating, ventilating, air conditioning; plumbing appliances and plumbing fixtures; duct systems; and other service equipment shall be located at or above the elevation required in Section R322.2 or R322.3. Replacement of exterior equipment and exterior appliances damaged by flood shall meet the requirements of this section. If replaced as part of a substantial improvement, electrical systems, equipment and components; heating, ventilating, air conditioning and plumbing appliances and plumbing fixtures; duct systems; and other service equipment shall meet the requirements of this section. Systems, fixtures, and equipment and components shall not be mounted on or penetrate through walls intended to break away under flood loads. Exception: Locating electrical systems, equipment and components; heating, ventilating, air conditioning; plumbing appliances and plumbing fixtures; duct systems; and other service equipment is permitted below the elevation required in Section R322.2 or R322.3 provided that they are designed and installed to prevent water from entering or accumulating within the components and to resist hydrostatic and hydrodynamic loads and stresses, including the effects of buoyancy, during the occurrence of flooding to the required elevation in accordance with ASCE 24. Equipment for pools, spas and water features shall be permitted below the elevation required in Section R322.2 or R322.3 provided it is elevated to the extent practical, is anchored to prevent flotation and resist flood forces, and is supplied by branch circuits that have ground-fault circuit-interrupter protection. Electrical wiring systems are permitted to be located below the required elevation provided that they conform to the provisions of the electrical part of this code for wet locations.

(Step 2 – SP11984 AS/ 2nd comment period)

R322.1.6 Protection of mechanical, plumbing and electrical systems. Electrical systems, equipment and components; heating, ventilating, air conditioning; plumbing appliances and plumbing fixtures; duct systems; and other service equipment shall be located at or above the elevation required in Section R322.2 or R322.3. Replacement of exterior equipment and exterior appliances damaged by flood shall meet the requirements of this section. If replaced as part of a substantial improvement, electrical systems, equipment and components; heating, ventilating, air conditioning and plumbing appliances and plumbing fixtures; duct systems; and other service equipment shall meet the requirements of this section. Systems, fixtures, and equipment and components shall not be mounted on or penetrate through walls intended to break away under flood loads.

Exceptions:

1.  Unless part of substantial improvement or repair of substantial damage, replacement of exterior equipment and exterior appliances that are damaged by flood shall be elevated to or above the same height above grade as the first floor of the building, or 4 ft above grade, whichever is higher.

2. Locating electrical systems, equipment and components; heating, ventilating, air conditioning; plumbing appliances and plumbing fixtures; duct systems; and other service equipment is permitted below the elevation required in Section R322.2 or R322.3 provided that they are designed and installed to prevent water from entering or accumulating within the components and to resist hydrostatic and hydrodynamic loads and stresses, including the effects of buoyancy, during the occurrence of flooding to the required elevation in accordance with ASCE 24. Equipment for pools, spas and water features shall be permitted below the elevation required in Section R322.2 or R322.3 provided it is elevated to the extent practical and is anchored to prevent floatation and resist flood forces and is supplied by branch circuits that have ground-fault circuit interrupter protection.  Electrical wiring systems are permitted to be located below the required elevation provided that they conform to the provisions of the electrical part of this code for wet locations.

(Step 2 – SP12018 AM/ A2 - 2nd comment period)

R322.1.10 As-built elevation documentation. A licensed professional surveyor and mapper or registered design professional shall prepare and seal the FEMA Elevation Certificate or equivalent to document the as-built documentation of the elevations specified in Section R322.2 or R322.3.

(Step 2 – SP11963 AM/ A1 2nd comment period)

R322.3.5 Walls below required elevation. Walls and partitions are permitted below the elevation required in Section R322.3.2, provided that such walls and partitions are not part of the structural support of the building or structure and:

- Electrical, mechanical and plumbing system components are not to be mounted on or penetrate through walls that are designed to break away under flood loads; and

- Are constructed with insect screening or open lattice; or

- Are designed to break away or collapse without causing collapse, displacement or other structural damage to the elevated portion of the building or supporting foundation system. Such walls, framing and connections shall have a resistance of not less than 10 (479 Pa) and not more than 20 pounds per square foot (958 Pa) as determined using allowable stress design, or a resistance to an ultimate load of not less than 17 (814 Pa) and not more than 33 pounds per square foot (1580 Pa); or

- Where wind loading values of this code exceed 20 pounds per square foot (958 Pa), as determined using allowable stress design or an ultimate load of 33 pounds per square foot (1580 Pa), the construction documents shall include documentation prepared and sealed by a registered design professional that:

  - The walls and partitions below the required elevation have been designed to collapse from a water load less than that which would occur during the base flood.

  - The elevated portion of the building and supporting foundation system have been designed to withstand the effects of wind and flood loads acting simultaneously on structural and nonstructural building components. Water-loading values used shall be those associated with the design flood. Wind-loading values shall be those required by this code.

- Walls intended to break away under flood loads as specified in Item 3 or 4 have flood openings that meet the criteria in Section R322.2.2, Item 2.

No change to the remaining text.

(F11475) (RB142-22 AS)

Revise as follows:

R323.1 General. This section applies to the design, construction and installation of storm shelters where constructed as either separate detached buildings or where constructed as safe rooms or spaces within buildings for the purpose of providing refuge protection from storms that produce high winds, such as tornadoes, and hurricanes and other severe windstorms. In addition to other applicable requirements in this code, storm shelters shall be constructed in accordance with ICC/NSSA-500.

R323.2 Construction. Storm shelters shall be constructed in accordance with this code and ICC 500.

(Step 2 – S12160 AS)

R324.3.1 Equipment listings. Photovoltaic panels and modules shall be listed and labeled in accordance with UL 1703. Inverters shall be listed and labeled in accordance with UL 1741. Systems connected to the utility grid shall use inverters listed for utility interaction. Mounting systems listed and labeled in accordance with UL 2703 shall be installed in accordance with the manufacturer’s installation instructions and their listings.  BIPV roof coverings and BIPV roof assemblies shall be listed and labeled in accordance with UL 7103.

(F11477) (RB145-22 AS)

R324.5 Building-integrated photovoltaic systems. Building-integrated photovoltaic (BIPV) systems that serve as roof coverings shall be designed and installed in accordance with Section R905 Sections R324.5.1 through R324.5.2.

R324.5.1 Photovoltaic shingles BIPVroofing systems. Photovoltaic shingles BIPV roofing systems shall comply with Section R905.16. BIPV roof panels shall comply with Section R905.17.

R324.5.2R324.5.1.1 Fire classification. Building-integrated photovoltaic systems shall have a fire classification in accordance with Section R902.1.

R324.5.3 BIPV roof panels. BIPV roof panels shall comply with Section R905.17.

###### Add new text as follows:

R324.5.2 BIPV Exterior wall coverings and fenestration. BIPV exterior wall coverings and fenestration shall comply with Section R705.

(F11478) (RB146-22 AS)

R324.7 Ground-mounted photovoltaic (PV) panel systems. Ground-mounted photovoltaic (PV) panel systems shall be designed and installed in accordance with Section R301.

(S11387) (RB27-22 AS)

###### Add new text as follows:

R324.7 Elevated photovoltaic (PV) support structures. Elevated PV support structures used as an accessory structure shall comply with either Section R324.7.1 or R324.7.2. Elevated PV support structures shall be considered a roof for the purposes of establishing the number of stories and fire separation distances.

R324.7.1 PV panels installed over open-grid framing or non-combustible deck. Elevated PV support structures with PV panels installed over open-grid framing or over a noncombustible deck shall have PV panels tested, listed, and labeled with a fire type rating in accordance with UL 1703 or with both UL 61730-1 and UL 61730-2. Photovoltaic panels marked “not fire rated” shall not be installed on elevated PV support structures.

324.7.2 PV panels installed over a roof assembly. Elevated PV support structures with a PV panel system installed over a roof assembly shall have a fire classification in accordance with Section R902.4.

(S11481) (RB150-22 AMPC1)

# SECTION R325 MEZZANINES

###### Revise as follows:

R325.1 General. Mezzanines shall comply with Section R325.

Exception: Sleeping lofts in dwelling units and sleeping units shall be permitted to comply with Section R331, subject to the limitations in Section R331.2.

(F11483) (RB153-22 AMPC1,2,3)

R328.4 Locations. ESS shall be installed only in the following locations:

- Detached garages and detached accessory structures.

- Attached garages separated from the dwelling unit living space in accordance with Section R302.6.

- Outdoors or on the exterior side of exterior walls located not less than 3 feet (914 mm) from doors and windows directly entering the dwelling unit.

- Enclosed utility closets, basements, storage or utility spaces within dwelling units with finished or noncombustible walls and ceilings. Walls and ceilings of unfinished wood-framed construction shall be provided with not less than 5/8-inch (15.9 mm) Type X gypsum wallboard. Openings into the dwelling shall be equipped with solid wood doors not less than 1-3/8 inches (35 mm) in thickness, solid or honeycomb- core steel doors not less than 1-3/8 inches (35 mm) thick, or door with a 20-minute fire protection rating. Doors shall be self-latching and equipped with a self-closing or automatic-closing device. Penetrations through the required gypsum wallboard  into the dwelling shall be protected as required by Section R302.11, Item 4.

ESS shall not be installed in sleeping rooms, or closets or spaces opening directly into sleeping rooms.

(F11485) (RB157-22 AM)

Revise title for Section R328 as follows:

SECTION R328 -

STATIONARY STORAGE BATTERY SYSTEMS ENERGY STORAGE SYSTEMS

F-FBC-R – Ch.3 – Errata #2

R328.8 Protection from impact. ESS installed in a location subject to vehicle damage shall be protectedby approved barriers in accordance with Section R328.8.1 or R328.8.2.

###### Add new text as follows:

R328.8.1 Garages. Where an ESS is installed in the normal driving path of vehicle travel within a garage, impact protection complying with Section R328.8.3 shall be provided. The normal driving path is a space between the garage vehicle opening and the interior face of the back wall to a height of 48 inches (1219 mm) above the finished floor. The width of the normal driving path shall be equal to the width of the garage door opening. Impact protection shall also be provided for an ESS installed at either of the following locations (see Figure R328.8.1):

- On the interior face of the back wall and located within 36 inches (914 mm) to the left or to the right of the normal driving path.

- On the interior face of a side wall and located within 24 inches (610 mm) from the back wall and 36 inches (914 mm) of the normal driving path.

Exception: Where the clear height of the vehicle garage opening is 7 feet 6 inch (2286 mm) or less, ESS installed not less than 36 inches (914 mm) above finished floor are not subject to vehicle impact protection requirements.

##### FIGURE R328.8.1 ESS VEHICLE IMPACT PROTECTION

R328.8.2 Other locations subject to vehicle impact. Where an ESS is installed in a location other than as defined in Section R328.8.1, and is subject to vehicle damage, impact protection shall be provided in accordance with Section R328.8.3.

R328.8.3 Impact protection options. ESS protection shall comply with one of the following:

- Bollards constructed in accordance with one of the following:

  - Minimum 48 inches (1219 mm) in length by 3 inches (76 mm) in diameter schedule 80 steel pipe embedded in a concrete pier not less than 12 inches (304 mm) deep and 6 inches (152 mm) in diameter, with at least 36 inches (914 mm) of pipe exposed, filled with concrete, and spaced at a maximum interval of 5 feet (1524 mm). Each bollard shall be located not less than 6 inches (152 mm) from an ESS.

  - Minimum 36 inches (914 mm) in height by 3 inches (76 mm) in diameter schedule 80 steel pipe fully welded to a minimum 8 inches (203 mm) by ¼ inch (6.4 mm) thick steel plate and bolted to a concrete floor by means of 4-1/2 inch (114 mm) concrete anchors with 3 inch (76 mm) minimum embedment. Spacing shall be not greater than 60 inches (1524 mm), and each bollard shall be located not less than 6 inches (152 mm) from the ESS.

  - Pre-manufactured steel pipe bollards filled with concrete and anchored in accordance with the manufacturer’s installation instructions, with spacing not greater than 60 inches (1524 mm). Each bollard shall be located not less than 6 inches (152 mm) from the ESS.

- Wheel barriers constructed in accordance with one of the following:

  - Four inches (102 mm) in height by 5 inches (127 mm) in width by 70 inches (1778 mm) in length wheel barrier made of concrete or polymer, anchored to the concrete floor not less than every 36 inches (914 mm) and located not less than 54 inches (1372 mm) from the ESS. Minimum 3– ½ inch (90 mm) diameter concrete anchors with 3 inch (76 mm) embedment per barrier shall be used. Spacing between barriers shall be no greater than 36 inches (914 mm).

  - Pre-manufactured wheel barriers shall be anchored in accordance with the manufacturer’s installation instructions.

- Approved method designed to resist a 2000 pounds per square foot (8899 Newtons) impact in the direction of travel at 24 inches (608 mm) above grade.

(F11487) (RB161-22 AS)

Add new text as follows:

# SECTION R331 SLEEPING LOFTS

R331.1 Sleeping lofts. Where provided in dwelling units or sleeping units, sleeping lofts shall comply with this code as modified by Sections R331.2 through R331.5. Sleeping lofts constructed in compliance with this section shall be considered a portion of the story below. Such sleeping lofts shall not contribute to the number of stories as regulated by this code.

Exception: Sleeping lofts need not comply with Section R331 where they meet any of the following conditions:

- The sleeping loft has a maximum depth of less than 3 feet (914 mm).

- The sleeping loft has a floor area of less than 35 square feet (3.3 m ).

- The sleeping loft is not provided with a permanent means of egress.

R331.2 Sleeping loft limitations. Sleeping lofts shall comply with the following conditions:

- The sleeping loft floor area shall be less than 70 square feet (6.5 m ).

- The sleeping loft ceiling height shall not exceed 7 feet (2134 mm) for more than one-half of the sleeping loft floor area.

R331.3 Sleeping loft ceiling height. The clear height below the sleeping loft floor construction shall not be less than 7 feet (2134 mm). The ceiling height above the finished floor of the sleeping loft shall not be less than 3 feet (914 mm). Spaces adjacent to the sleeping loft with a sloped ceiling measuring less than 3 feet (914 mm) from the finished floor to the finished ceiling shall not contribute to the sleeping loft floor area.

R3331.4 Sleeping loft area. The aggregate area of all sleeping lofts and mezzanines within a room shall comply with Section R325.3.

Exception: The area of a single sleeping loft located within a dwelling unit or sleeping unit equipped with an automatic sprinkler system in accordance with Section P2904 shall not be greater than two-thirds of the area of the room in which it is located, provided that no other sleeping lofts or mezzanines are open to the room in which the sleeping loft is located.

R331.5 Permanent egress for sleeping lofts. A permanent means of egress shall be provided for sleeping lofts. The means of egress shall comply with Section 311 as modified by Sections R331.5.1 through R331.5.3.

R331.5.1 Ceiling height at sleeping loft means of egress. A minimum ceiling height of 3 feet (914 mm) shall be provided for the entire width of the means of egress from the sleeping loft.

R331.5.2 Stairways. Stairways providing egress from sleeping lofts shall be permitted to comply with Sections R331.5.2.1 through R331.5.2.3.

R331.5.2.1 Width. Stairways providing egress from a sleeping loft shall not be less than 17 inches (432 mm) in clear width at or above the handrail. The width below the handrail shall be not less than 20 inches (508 mm).

R331.5.2.2 Treads and risers. Risers for stairs providing egress from a sleeping loft shall be not less than 7 inches (178 mm) and not more than 12 inches (305 mm) in height. Tread depth and riser height shall be calculated in accordance with one of the following formulas:

- The tread depth shall be 20 inches (508 mm) minus four-thirds of the riser height.

- The riser height shall be 15 inches (381 mm) minus three-fourths of the tread depth.

R331.5.2.3 Landings. Landings at stairways providing egress from sleeping lofts shall comply with Section R311.7.6, except that the depth of landings in the direction of travel shall be not less than 24 inches (508 mm).

R331.5.3 Ladders. Ladders complying with Sections R331.5.3.1 and R331.5.3.2 shall be permitted as a means of egress from sleeping lofts.

R331.5.3.1 Size and capacity. Ladders providing egress from sleeping lofts shall have a rung width of not less than 12 inches (305 mm), and 10-inch (254 mm) to 14-inch (356 mm) spacing between rungs. Ladders shall be capable of supporting a 300-pound (136 kg) load on any rung. Rung spacing shall be uniform within 3/8 inch (9.5 mm).

R331.5.3.2 Incline. Ladders shall be inclined at 70 to 80 degrees from horizontal.

(F11483) (RB153-22 AMPC1,2,3)

R332 CORROSION RESISTANCE - SALTWATER ENVIRONMENTS

R332.1 Fasteners and connectors exposed to saltwater environments. Fasteners and connectors in areas within 3,000 ft (914 m) of a saltwater coastline shall comply with Section R332.1.1 and R332.1.2.

Exception: Fasteners and connectors fully embedded in concrete or mortar.

R332.1.1 Screws, bolts and nails. Screws, bolts and nails shall be corrosion resistant by composition (stainless steel or nonferrous metal) or by coating or galvanization as specified in this section and Table R332.1.

R332.1.1.1 Stainless steel. Where required by Table R332.1, fasteners shall be manufactured from ASTM A240  Type 304, Type 305 or Type 316 stainless steel.

R332.1.1.2 Galvanized. Where required by Table R332.1, fasteners shall be in accordance with the following:

1. For fasteners with diameters greater than 3/8 inch (9.5 mm), the minimum corrosion resistance shall comply with or be equivalent to ASTM A153, Class C.

2. For fasteners with diameters 3/8 inch (9.5 mm) and less, the minimum corrosion resistance shall comply with or be equivalent to one of the following methods:

2.1. ASTM A153, Class D.

2.2. ASTM A641, Class 3S.

2.3. Corrosion resistance exhibiting not more than 5 percent red rust after 1,000 hours of exposure in accordance with ASTM B117.

2.4. Corrosion resistance exhibiting not more the 5 percent red rust after 280 hours of exposure for nails, 1000 hours of exposure for roof tile fasteners or 360 hours of exposure for other carbon steel fasteners in accordance with ASTM G85, Annex 5.

R332.1.1.3 Compatibility. Fasteners used with connectors or other metal plates shall have a corrosion-resistant coating or composition that is compatible with the corrosion-resistant coating or composition of the connectors to prevent corrosion from galvanic action between dissimilar materials.

R332.1.2 Connectors and metal plates. Connectors and metal plates shall be corrosion resistant by composition (stainless steel or nonferrous metal) or by coating or galvanization as specified in this section and Table R332.1.

R332.1.2.1 Stainless steel. Where required by Table R332.1, connectors and metal plates shall be manufactured from ASTM A240 Type 316 stainless steel.

R332.1.2.2 Enhanced galvanizing. Where required by Table R332.1, connectors and metal plates shall be in accordance with one of the following:

1. Hot-dipped galvanized prior to fabrication to meet ASTM A653, Coating Designation G185.

2. Hot-dipped galvanized after fabrication to meet ASTM A123 providing a minimum average coating weight of 2.0 oz./ft2 (total both sides).

3. Provided with a protective coating as specified by TPI 1.

R332.1.2.3 Standard Galvanizing.  Where required by Table R332.1, connectors and metal plates shall be in accordance with one of the following:

1.  Hot-dipped galvanized prior to fabrication to meet ASTM A653, Coating Designation G90.

2.  Hot-dipped galvanized after fabrication to meet ASTM A123 providing a minimum average coating weight of 2.0 oz./ft2 (total both sides).

3.  Provided with a protective coating as specified by TPI 1.

TABLE R332.1

CORROSION RESISTANCE OF FASTENERS AND CONNECTORS

| Exposure Descriptiona |  | Building Location |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Less than or equal to 300 feet from coastal shoreline |  |  |  | Greater than 300 feet and up to 3000 feet from coastal shoreline |  |  |
|  |  | Screws, bolts, lag screws (including nuts and washers), nails and glulam rivets | Connectors and Metal Plates |  |  | Screws, bolts, lag screws (including nuts and washers), nails and glulam rivets | Connectors and Metal Plates |  |
| Exterior-Partially Sheltered and Exterior-Open Exposed |  | Stainless Steel in accordance with Section R332.1.1.1 | Stainless Steel in accordance with Section R332.1.2.1 |  |  | Galvanized in accordance with Section R332.1.1.2 | Enhanced Galvanized in accordance with Section R332.1.2.2 |  |
| Unconditioned Interior-Vented Enclosed |  | Galvanized in accordance with Section R332.1.1.2 | Enhanced Galvanized in accordance with Section R332.1.2.2 |  |  | Galvanized in accordance with Section R332.1.1.2 | Enhanced Galvanized in accordance with Section R332.1.2.2 |  |
| Unconditioned Interior-Unvented Enclosed | Galvanized in accordance with Section R332.1.1.2 |  |  | Standard Galvanized in accordance with Section R332.1.2.3 | Galvanized in accordance with Section R332.1.1.2 |  |  | Standard Galvanized in accordance with Section R332.1.2.3 |

Exposure Descriptions:

Exterior-Partially Sheltered locations are areas where fasteners and connectors are exposed to salt air, but not exposed to fresh rainwater to remove accumulated salt. Exterior-Open Exposed locations are areas where fasteners and connectors are exposed to salt air, but also exposed to rainwater to allow rinsing of the accumulated salt, and also more likely to dry after rain.

Unconditioned Interior-Vented Enclosed locations are those where fasteners and connectors inside a part of the building that also has vents to the outside environment that would allow salt air to enter.

Unconditioned Interior-Unvented Enclosed locations are those that are inside the building, but not in the conditioned space.

(Step 2 – S12163 AS)/ (Step 2 – S12163 AM/A1 plus original – 2nd comment period)

Chapter 4 Foundations

TABLE R404.1.1(1) PLAIN MASONRY FOUNDATION WALLSf

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHTc (feet) | PLAIN MASONRYa MINIMUM NOMINAL WALL THICKNESS (inches) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classes and lateral soil loadb (psf per foot below grade) |  |  |
|  |  | GW, GP, SW and SP soils 30 | GM, GC, SM, SM-SC and ML soils 45 | SC, MH, ML-CL and inorganic CL soils 60 |
| 5 | 4 | 6 solidd or 8 | 6 solidd or 8 | 6 solidd or 8 |
|  | 5 | 6 solidd or 8 | 8 | 10 |
| 6 | 4 | 6 solidd or 8 | 6 solidd or 8 | 6 solidd or 8 |
|  | 5 | 6 solidd or 8 | 8 | 10 |
|  | 6 | 8 | 10 | 12 |
| 7 | 4 | 6 solidd or 8 | 8 | 8 |
|  | 5 | 6 solidd or 8 | 10 | 10 |
|  | 6 | 10 | 12 | 10 solidd |
|  | 7 | 12 | 10 solidd | 12 solidd |
| 8 | 4 | 6 solidd or 8 | 6 solidd or 8 | 8 |
|  | 5 | 6 solidd or 8 | 10 | 12 |
|  | 6 | 10 | 12 | 12 solidd |
|  | 7 | 12 | 12 solidd | Note e |
|  | 8 | 10 groutd | 12 groutd | Note e |
| 9 | 4 | 6 groutd or 8 solidd or 12 | 6 groutd or 8 solidd | 8 groutd or 10 solidd |
|  | 5 | 6 groutd or 10 solidd | 8 groutd or 12 solidd | 8 groutd |
|  | 6 | 8 groutd or 12 solidd | 10 groutd | 10 groutd |
|  | 7 | 10 groutd | 10 groutd | 12 grout |
|  | 8 | 10 groutd | 12 grout | Note e |
|  | 9 | 12 grout | Note e | Note e |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm.

No change to the footnotes

(S11494) (RB168-22 AS)

###### Revise as follows:

R404.1.2.1 Masonry foundation walls. Concrete masonry and clay masonry foundation walls shall be constructed as set forth in Table R404.1.1(1) R404.1.2.1(1), R404.1.1(2)R404.1.2.1(2), R404.1.1(3) R404.1.2.1(3) or R404.1.1(4) R404.1.2.1(4) and shall also comply with

applicable provisions of Section R606. Rubble stone masonry foundation walls shall be constructed in accordance with Sections R404.1.8 and R606.4.2.

###### TABLE R404.1.1(1) R404.1.2.1(1) PLAIN MASONRY FOUNDATION WALLSf

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHTc (feet) | PLAIN MASONRYa MINIMUM NOMINAL WALL THICKNESS (inches) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classesb |  |  |
|  |  | GW, GP, SW and SP | GM, GC, SM, SM-SC and ML | SC, MH, ML-CL and inorganic CL |
| 5 | 4 | 6 solidd or 8 | 6 solidd or 8 | 6 solidd or 8 |
|  | 5 | 6 solidd or 8 | 8 | 10 |
| 6 | 4 | 6 solidd or 8 | 6 solidd or 8 | 6 solidd or 8 |
|  | 5 | 6 solidd or 8 | 8 | 10 |
|  | 6 | 8 | 10 | 12 |
| 7 | 4 | 6 solidd or 8 | 8 | 8 |
|  | 5 | 6 solidd or 8 | 10 | 10 |
|  | 6 | 10 | 12 | 10 solidd |
|  | 7 | 12 | 10 solidd | 12 solidd |
| 8 | 4 | 6 solidd or 8 | 6 solidd or 8 | 8 |
|  | 5 | 6 solidd or 8 | 10 | 12 |
|  | 6 | 10 | 12 | 12 solidd |
|  | 7 | 12 | 12 solidd | Note e |
|  | 8 | 10 groutd | 12 groutd | Note e |
| 9 | 4 | 6 groutd or 8 solidd or 12 | 6 groutd or 8 solidd | 8 groutd or 10 solidd |
|  | 5 | 6 groutd or 10 solidd | 8 groutd or 12 solidd | 8 groutd |
|  | 6 | 8 groutd or 12 solidd | 10 groutd | 10 groutd |
|  | 7 | 10 groutd | 10 groutd | 12 grout |
|  | 8 | 10 groutd | 12 grout | Note e |
|  | 9 | 12 grout | Note e | Note e |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm.

a – d no change

e.  Wall construction shall be in accordance with Table

R404.1.1(2) R404.1.2.1(2), R404.1.1(3)R404.1.2.1(3) or R404.1.1(4)R404.1.2.1(4), or a design shall be provided.

- The use of this table shall be prohibited for soil classifications not shown.

###### TABLE R404.1.1(2) R404.1.2.1(2) 8-INCH MASONRY FOUNDATION WALLS WITH REINFORCING WHERE d ≥ 5 INCHESa, c, f

| MAXIMUM UNSUPPORTED WALL HEIGHT | HEIGHT OF UNBALANCED BACKFILLe | MINIMUM VERTICAL REINFORCEMENT AND SPACING (INCHES)b, c |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classes and lateral soil loadd (psf per foot below grade) |  |  |
|  |  | GW, GP, SW and SP soils 30 | GM, GC, SM, SM-SC and ML soils 45 | SC, ML-CL and inorganic CL soils 60 |
| 6 feet 8 inches | 4 feet (or less) | #4 at 48 | #4 at 48 | #4 at 48 |
|  | 5 feet | #4 at 48 | #4 at 48 | #4 at 48 |
|  | 6 feet 8 inches | #4 at 48 | #5 at 48 | #6 at 48 |
| 7 feet 4 inches | 4 feet (or less) | #4 at 48 | #4 at 48 | #4 at 48 |
|  | 5 feet | #4 at 48 | #4 at 48 | #4 at 48 |
|  | 6 feet | #4 at 48 | #5 at 48 | #5 at 48 |
|  | 7 feet 4 inches | #5 at 48 | #6 at 48 | #6 at 40 |
| 8 feet | 4 feet (or less) | #4 at 48 | #4 at 48 | #4 at 48 |
|  | 5 feet | #4 at 48 | #4 at 48 | #4 at 48 |
|  | 6 feet | #4 at 48 | #5 at 48 | #5 at 48 |
|  | 7 feet | #5 at 48 | #6 at 48 | #6 at 40 |
|  | 8 feet | #5 at 48 | #6 at 48 | #6 at 32 |
| 8 feet 8 inches | 4 feet (or less) | #4 at 48 | #4 at 48 | #4 at 48 |
|  | 5 feet | #4 at 48 | #4 at 48 | #5 at 48 |
|  | 6 feet | #4 at 48 | #5 at 48 | #6 at 48 |
|  | 7 feet | #5 at 48 | #6 at 48 | #6 at 40 |
|  | 8 feet 8 inches | #6 at 48 | #6 at 32 | #6 at 24 |
| 9 feet 4 inches | 4 feet (or less) | #4 at 48 | #4 at 48 | #4 at 48 |
|  | 5 feet | #4 at 48 | #4 at 48 | #5 at 48 |
|  | 6 feet | #4 at 48 | #5 at 48 | #6 at 48 |
|  | 7 feet | #5 at 48 | #6 at 48 | #6 at 40 |
|  | 8 feet | #6 at 48 | #6 at 40 | #6 at 24 |
|  | 9 feet 4 inches | #6 at 40 | #6 at 24 | #6 at 16 |
| 10 feet | 4 feet (or less) | #4 at 48 | #4 at 48 | #4 at 48 |
|  | 5 feet | #4 at 48 | #4 at 48 | #5 at 48 |
|  | 6 feet | #4 at 48 | #5 at 48 | #6 at 48 |
|  | 7 feet | #5 at 48 | #6 at 48 | #6 at 32 |
|  | 8 feet | #6 at 48 | #6 at 32 | #6 at 24 |
|  | 9 feet | #6 at 40 | #6 at 24 | #6 at 16 |
|  | 10 feet | #6 at 32 | #6 at 16 | #6 at 16 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square foot per foot = 0.157 kPa/mm.

Footnotes – no change

###### TABLE R404.1.1(3)R404.1.2.1(3) 10-INCH MASONRY FOUNDATION WALLS WITH REINFORCING WHERE d ≥ 6.75 INCHESa, c, f

| MAXIMUM UNSUPPORTED WALL HEIGHT | HEIGHT OF UNBALANCED BACKFILLe | MINIMUM VERTICAL REINFORCEMENT AND SPACING (INCHES)b, c |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classes and later soil loadd (psf per foot below grade) |  |  |
|  |  | GW, GP, SW and SP soils 30 | GM, GC, SM, SM-SC and ML soils 45 | SC, ML-CL and inorganic CL soils 60 |
| 6 feet 8 inches | 4 feet (or less) | #4 at 56 | #4 at 56 | #4 at 56 |
|  | 5 feet | #4 at 56 | #4 at 56 | #4 at 56 |
|  | 6 feet 8 inches | #4 at 56 | #5 at 56 | #5 at 56 |
| 7 feet 4 inches | 4 feet (or less) | #4 at 56 | #4 at 56 | #4 at 56 |
|  | 5 feet | #4 at 56 | #4 at 56 | #4 at 56 |
|  | 6 feet | #4 at 56 | #4 at 56 | #5 at 56 |
|  | 7 feet 4 inches | #4 at 56 | #5 at 56 | #6 at 56 |
| 8 feet | 4 feet (or less) | #4 at 56 | #4 at 56 | #4 at 56 |
|  | 5 feet | #4 at 56 | #4 at 56 | #4 at 56 |
|  | 6 feet | #4 at 56 | #4 at 56 | #5 at 56 |
|  | 7 feet | #4 at 56 | #5 at 56 | #6 at 56 |
|  | 8 feet | #5 at 56 | #6 at 56 | #6 at 48 |
| 8 feet 8 inches | 4 feet (or less) | #4 at 56 | #4 at 56 | #4 at 56 |
|  | 5 feet | #4 at 56 | #4 at 56 | #4 at 56 |
|  | 6 feet | #4 at 56 | #4 at 56 | #5 at 56 |
|  | 7 feet | #4 at 56 | #5 at 56 | #6 at 56 |
|  | 8 feet 8 inches | #5 at 56 | #6 at 48 | #6 at 32 |
| 9 feet 4 inches | 4 feet (or less) | #4 at 56 | #4 at 56 | #4 at 56 |
|  | 5 feet | #4 at 56 | #4 at 56 | #4 at 56 |
|  | 6 feet | #4 at 56 | #5 at 56 | #5 at 56 |
|  | 7 feet | #4 at 56 | #5 at 56 | #6 at 56 |
|  | 8 feet | #5 at 56 | #6 at 56 | #6 at 40 |
|  | 9 feet 4 inches | #6 at 56 | #6 at 40 | #6 at 24 |
| 10 feet | 4 feet (or less) | #4 at 56 | #4 at 56 | #4 at 56 |
|  | 5 feet | #4 at 56 | #4 at 56 | #4 at 56 |
|  | 6 feet | #4 at 56 | #5 at 56 | #5 at 56 |
|  | 7 feet | #5 at 56 | #6 at 56 | #6 at 48 |
|  | 8 feet | #5 at 56 | #6 at 48 | #6 at 40 |
|  | 9 feet | #6 at 56 | #6 at 40 | #6 at 24 |
|  | 10 feet | #6 at 48 | #6 at 32 | #6 at 24 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square foot per foot = 0.157 kPa/mm.

###### Footnotes – no change

###### TABLE R404.1.1(4)R404.1.2.1(4) 12-INCH MASONRY FOUNDATION WALLS WITH REINFORCING WHERE d ≥ 8.75 INCHESa, c, f

| MAXIMUM UNSUPPORTED WALL HEIGHT | HEIGHT OF UNBALANCED BACKFILLe | MINIMUM VERTICAL REINFORCEMENT AND SPACING (INCHES)b, c |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classes and lateral soil loadd (psf per foot below grade) |  |  |
|  |  | GW, GP, SW and SP soils 30 | GM, GC, SM, SM-SC and ML soils 45 | SC, ML-CL and inorganic CL soils 60 |
| 6 feet 8 inches | 4 feet (or less) | #4 at 72 | #4 at 72 | #4 at 72 |
|  | 5 feet | #4 at 72 | #4 at 72 | #4 at 72 |
|  | 6 feet 8 inches | #4 at 72 | #4 at 72 | #5 at 72 |
| 7 feet 4 inches | 4 feet (or less) | #4 at 72 | #4 at 72 | #4 at 72 |
|  | 5 feet | #4 at 72 | #4 at 72 | #4 at 72 |
|  | 6 feet | #4 at 72 | #4 at 72 | #5 at 72 |
|  | 7 feet 4 inches | #4 at 72 | #5 at 72 | #6 at 72 |
| 8 feet | 4 feet (or less) | #4 at 72 | #4 at 72 | #4 at 72 |
|  | 5 feet | #4 at 72 | #4 at 72 | #4 at 72 |
|  | 6 feet | #4 at 72 | #4 at 72 | #5 at 72 |
|  | 7 feet | #4 at 72 | #5 at 72 | #6 at 72 |
|  | 8 feet | #5 at 72 | #6 at 72 | #6 at 64 |
| 8 feet 8 inches | 4 feet (or less) | #4 at 72 | #4 at 72 | #4 at 72 |
|  | 5 feet | #4 at 72 | #4 at 72 | #4 at 72 |
|  | 6 feet | #4 at 72 | #4 at 72 | #5 at 72 |
|  | 7 feet | #4 at 72 | #5 at 72 | #6 at 72 |
|  | 8 feet 8 inches | #5 at 72 | #7 at 72 | #6 at 48 |
| 9 feet 4 inches | 4 feet (or less) | #4 at 72 | #4 at 72 | #4 at 72 |
|  | 5 feet | #4 at 72 | #4 at 72 | #4 at 72 |
|  | 6 feet | #4 at 72 | #5 at 72 | #5 at 72 |
|  | 7 feet | #4 at 72 | #5 at 72 | #6 at 72 |
|  | 8 feet | #5 at 72 | #6 at 72 | #6 at 56 |
|  | 9 feet 4 inches | #6 at 72 | #6 at 48 | #6 at 40 |
| 10 feet | 4 feet (or less) | #4 at 72 | #4 at 72 | #4 at 72 |
|  | 5 feet | #4 at 72 | #4 at 72 | #4 at 72 |
|  | 6 feet | #4 at 72 | #5 at 72 | #5 at 72 |
|  | 7 feet | #4 at 72 | #6 at 72 | #6 at 72 |
|  | 8 feet | #5 at 72 | #6 at 72 | #6 at 48 |
|  | 9 feet | #6 at 72 | #6 at 56 | #6 at 40 |
|  | 10 feet | #6 at 64 | #6 at 40 | #6 at 32 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square foot per foot = 0.157 kPa/mm.

Footnotes – no change

R404.1.3.2 Reinforcement for foundation walls. Concrete foundation walls shall be laterally supported at the top and bottom. Horizontal reinforcement shall be provided in accordance with Table R404.1.2(1) R404.1.3.2(1). Vertical reinforcement shall be provided in accordance with Table R404.1.2(2)R404.1.3.2 (2), R404.1.2(3)R404.1.3.2 (3), R404.1.2(4) R404.1.3.2(4), R404.1.2(5) R404.1.3.2(5), R404.1.2(6)

R404.1.3.2(6), R404.1.2(7) R404.1.3.2(7) or R404.1.2(8) R404.1.3.2(8). Vertical reinforcement for flat basement walls retaining 4 feet (1219 mm) or more of unbalanced backfill is permitted to be determined in accordance with Table R404.1.2(9) R404.1.3.2(9). For basement walls supporting above-grade concrete walls, vertical reinforcement shall be the greater of that required by Tables R404.1.2(2) R404.1.3.2(2)

through R404.1.2(8) R404.1.3.2(8) or by Section R608.6 for the above-grade wall.

###### TABLE R404.1.2(1) R404.1.3.2(1) MINIMUM HORIZONTAL REINFORCEMENT FOR CONCRETE BASEMENT WALLSa, b

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | LOCATION OF HORIZONTAL REINFORCEMENT |
| --- | --- |
| ≤ 8 | One No. 4 bar within 12 inches of the top of the wall story and one No. 4 bar near mid-height of the wall story. |
| > 8 | One No. 4 bar within 12 inches of the top of the wall story and one No. 4 bar near third points in the wall story. |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square inch = 6.895 kPa.

- Horizontal reinforcement requirements are for reinforcing bars with a minimum yield strength of 40,000 psi and concrete with a minimum concrete compressive strength of 2,500 psi.

- See Section R404.1.3.2 for minimum reinforcement required for foundation walls supporting above-grade concrete walls.

##### TABLE R404.1.2(2) R404.1.3.2(2) MINIMUM VERTICAL REINFORCEMENT FOR 6-INCH NOMINAL FLAT CONCRETE BASEMENT

WALLSb, c, d, e, g, h, i, j, k

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHTf (feet) | MINIMUM VERTICAL REINFORCEMENT-BAR SIZE AND SPACING (inches) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classesa and design lateral soil (psf per foot of depth) |  |  |
|  |  | GW, GP, SW, SP 30 | GM, GC, SM, SM-SC and ML 45 | SC, ML-CL and inorganic CL 60 |
| 8 | 4 | NR | NR | NR |
|  | 5 | NR | 6 @ 39 | 6 @ 48 |
|  | 6 | 5 @ 39 | 6 @ 48 | 6 @ 35 |
|  | 7 | 6 @ 48 | 6 @ 34 | 6 @ 25 |
|  | 8 | 6 @ 39 | 6 @ 25 | 6 @ 18 |
| 9 | 4 | NR | NR | NR |
|  | 5 | NR | 5 @ 37 | 6 @ 48 |
|  | 6 | 5 @ 36 | 6 @ 44 | 6 @ 32 |
|  | 7 | 6 @ 47 | 6 @ 30 | 6 @ 22 |
|  | 8 | 6 @ 34 | 6 @ 22 | 6 @ 16 |
|  | 9 | 6 @ 27 | 6 @ 17 | DR |
| 10 | 4 | NR | NR | NR |
|  | 5 | NR | 5 @ 35 | 6 @ 48 |
|  | 6 | 6 @ 48 | 6 @ 41 | 6 @ 30 |
|  | 7 | 6 @ 43 | 6 @ 28 | 6 @ 20 |
|  | 8 | 6 @ 31 | 6 @ 20 | DR |
|  | 9 | 6 @ 24 | 6 @ 15 | DR |
|  | 10 | 6 @ 19 | DR | DR |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square foot per foot = 0.1571 kPa2/m, 1 pound per square inch = 6.895 kPa. NR = Not Required.

DR = Design Required.

- – b no change

- Vertical reinforcement with a yield strength of less than 60,000 psi and bars of a different size than specified in the table are permitted in accordance with Section R404.1.3.3.7.6 and Table R404.1.2(9) R404.1.3.2(9).

- – k no change

###### TABLE R404.1.2(3) R404.1.3.2(3) MINIMUM VERTICAL REINFORCEMENT FOR 8-INCH (203 mm) NOMINAL FLAT CONCRETE BASEMENT WALLSb, c, d, e, f, h, i, j

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHTg (feet) | MINIMUM VERTICAL REINFORCEMENT-BAR SIZE AND SPACING (inches) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classesa and design lateral soil (psf per foot of depth) |  |  |
|  |  | GW, GP, SW, SP 30 | GM, GC, SM, SM-SC and ML 45 | SC, ML-CL and inorganic CL 60 |
| 8 | 4 | NR | NR | NR |
|  | 5 | NR | NR | NR |
|  | 6 | NR | NR | 6 @ 37 |
|  | 7 | NR | 6 @ 36 | 6 @ 35 |
|  | 8 | 6 @ 41 | 6 @ 35 | 6 @ 26 |
| 9 | 4 | NR | NR | NR |
|  | 5 | NR | NR | NR |
|  | 6 | NR | NR | 6 @ 35 |
|  | 7 | NR | 6 @ 35 | 6 @ 32 |
|  | 8 | 6 @ 36 | 6 @ 32 | 6 @ 23 |
|  | 9 | 6 @ 35 | 6 @ 25 | 6 @ 18 |
| 10 | 4 | NR | NR | NR |
|  | 5 | NR | NR | NR |
|  | 6 | NR | NR | 6 @ 35 |
|  | 7 | NR | 6 @ 35 | 6 @ 29 |
|  | 8 | 6 @ 35 | 6 @ 29 | 6 @ 21 |
|  | 9 | 6 @ 34 | 6 @ 22 | 6 @ 16 |
|  | 10 | 6 @ 27 | 6 @ 17 | 6 @ 13 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square foot per foot = 0.1571 kPa2/m, 1 pound per square inch = 6.895 kPa. NR = Not Required.

a – b no change

- Vertical reinforcement with a yield strength of less than 60,000 psi and bars of a different size than specified in the table are permitted in accordance with Section R404.1.3.3.7.6 and Table R404.1.2(9) R404.1.3.2(9).

No change to the remaining footnotes

##### TABLE R404.1.2(4) R404.1.3.2(4) MINIMUM VERTICAL REINFORCEMENT FOR 10-INCH NOMINAL FLAT CONCRETE BASEMENT

WALLSb, c, d, e, f, h, i, j

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHTg (feet) | MINIMUM VERTICAL REINFORCEMENT-BAR SIZE AND SPACING (inches) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classesa and design lateral soil (psf per foot of depth) |  |  |
|  |  | GW, GP, SW, SP 30 | GM, GC, SM, SM-SC and ML 45 | SC, ML-CL and inorganic CL 60 |
| 8 | 4 | NR | NR | NR |
|  | 5 | NR | NR | NR |
|  | 6 | NR | NR | NR |
|  | 7 | NR | NR | NR |
|  | 8 | 6 @ 48 | 6 @ 35 | 6 @ 28 |
| 9 | 4 | NR | NR | NR |
|  | 5 | NR | NR | NR |
|  | 6 | NR | NR | NR |
|  | 7 | NR | NR | 6 @ 31 |
|  | 8 | NR | 6 @ 31 | 6 @ 28 |
|  | 9 | 6 @ 37 | 6 @ 28 | 6 @ 24 |
| 10 | 4 | NR | NR | NR |
|  | 5 | NR | NR | NR |
|  | 6 | NR | NR | NR |
|  | 7 | NR | NR | 6 @ 28 |
|  | 8 | NR | 6 @ 28 | 6 @ 28 |
|  | 9 | 6 @ 33 | 6 @ 28 | 6 @ 21 |
|  | 10 | 6 @ 28 | 6 @ 23 | 6 @ 17 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square foot per foot = 0.1571 kPa2/m, 1 pound per square inch = 6.895 kPa. NR = Not Required.

a – b no change

- Vertical reinforcement with a yield strength of less than 60,000 psi and bars of a different size than specified in the table are permitted in accordance with Section R404.1.3.3.7.6 and Table R404.1.2(9) R404.1.3.2(9).

No change to the remaining footnotes.

###### TABLE R404.1.2(5) R404.1.3.2(5) MINIMUM VERTICAL WALL REINFORCEMENT FOR 6-INCH WAFFLE-GRID BASEMENT WALLSb,

c, d, e, g, h, i, j

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHTf (feet) | MINIMUM VERTICAL REINFORCEMENT-BAR SIZE AND SPACING (inches) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classesa and design lateral soil (psf per foot of depth) |  |  |
|  |  | GW, GP, SW, SP 30 | GM, GC, SM, SM-SC and ML 45 | SC, ML-CL and inorganic CL 60 |
| 8 | 4 | 4 @ 48 | 4 @ 46 | 6 @ 39 |
|  | 5 | 4 @ 45 | 5 @ 46 | 6 @ 47 |
|  | 6 | 5 @ 45 | 6 @ 40 | DR |
|  | 7 | 6 @ 44 | DR | DR |

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHT (feet) | MINIMUM VERTICAL REINFORCEMENT-BAR SIZE AND SPACING (inches) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classes and design lateral soil (psf per foot of depth) |  |  |
|  |  | GW, GP, SW, SP 30 | GM, GC, SM, SM-SC and ML 45 | SC, ML-CL and inorganic CL 60 |
|  | 8 | 6 @ 32 | DR | DR |
| 9 | 4 | 4 @ 48 | 4 @ 46 | 4 @ 37 |
|  | 5 | 4 @ 42 | 5 @ 43 | 6 @ 44 |
|  | 6 | 5 @ 41 | 6 @ 37 | DR |
|  | 7 | 6 @ 39 | DR | DR |
|  | > 8 | DRi | DR | DR |
| 10 | 4 | 4 @ 48 | 4 @ 46 | 4 @ 35 |
|  | 5 | 4 @ 40 | 5 @ 40 | 6 @ 41 |
|  | 6 | 5 @ 38 | 6 @ 34 | DR |
|  | 7 | 6 @ 36 | DR | DR |
|  | > 8 | DR | DR | DR |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square foot per foot = 0.1571 kPa2/m, 1 pound per square inch = 6.895 kPa. DR = Design Required.

a – b no change

c.Maximum spacings shown are the values calculated for the specified bar size. Where the bar used is Grade 60 and the size specified in the table, the actual spacing in the wall shall not exceed a whole-number multiple of 12 inches (12, 24, 36 and 48) that is less than or equal to the tabulated spacing. Vertical reinforcement with a yield strength of less than 60,000 psi and bars of a different size than specified in the table are permitted in accordance with Section R404.1.3.3.7.6 and Table

R404.1.2(9) R404.1.3.2(9).

No change to the remaining footnotes

###### TABLE R404.1.2(6) R404.1.3.2(6) MINIMUM VERTICAL REINFORCEMENT FOR 8-INCH WAFFLE-GRID BASEMENT WALLSb, c, d, e, f,

h, i, j, k

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHTg (feet) | MINIMUM VERTICAL REINFORCEMENT-BAR SIZE AND SPACING (inches) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classesa and design lateral soil (psf per foot of depth) |  |  |
|  |  | GW, GP, SW, SP 30 | GM, GC, SM, SM-SC and ML 45 | SC, ML-CL and inorganic CL 60 |
| 8 | 4 | NR | NR | NR |
|  | 5 | NR | 5 @ 48 | 5 @ 46 |
|  | 6 | 5 @ 48 | 5 @ 43 | 6 @ 45 |
|  | 7 | 5 @ 46 | 6 @ 43 | 6 @ 31 |
|  | 8 | 6 @ 48 | 6 @ 32 | 6 @ 23 |
| 9 | 4 | NR | NR | NR |
|  | 5 | NR | 5 @ 47 | 5 @ 46 |
|  | 6 | 5 @ 46 | 5 @ 39 | 6 @ 41 |
|  | 7 | 5 @ 42 | 6 @ 38 | 6 @ 28 |
|  | 8 | 6 @ 44 | 6 @ 28 | 6 @ 20 |
|  | 9 | 6 @ 34 | 6 @ 21 | DR |
| 10 | 4 | NR | NR | NR |

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHT (feet) | MINIMUM VERTICAL REINFORCEMENT-BAR SIZE AND SPACING (inches) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classes and design lateral soil (psf per foot of depth) |  |  |
|  |  | GW, GP, SW, SP 30 | GM, GC, SM, SM-SC and ML 45 | SC, ML-CL and inorganic CL 60 |
|  | 5 | NR | 5 @ 46 | 5 @ 44 |
|  | 6 | 5 @ 46 | 5 @ 37 | 6 @ 38 |
|  | 7 | 5 @ 38 | 6 @ 35 | 6 @ 25 |
|  | 8 | 6 @ 39 | 6 @ 25 | DR |
|  | 9 | 6 @ 30 | DR | DR |
|  | 10 | 6 @ 24 | DR | DR |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square foot per foot = 0.1571 kPa2/m, 1 pound per square inch = 6.895 kPa. NR = Not Required.

DR = Design Required.

a – b no change

c.Maximum spacings shown are the values calculated for the specified bar size. Where the bar used is Grade 60 (420 MPa) and the size specified in the table, the actual spacing in the wall shall not exceed a whole-number multiple of 12 inches (12, 24, 36 and 48) that is less than or equal to the tabulated spacing. Vertical reinforcement with a yield strength of less than 60,000 psi and bars of a different size than specified in the table are permitted in accordance with Section R404.1.3.3.7.6 and Table R404.1.2(9) R404.1.3.2(9).

No change to remaining footnotes

###### TABLE R404.1.2(7) R404.1.3.2(7) MINIMUM VERTICAL REINFORCEMENT FOR 6-INCH (152 mm) SCREEN-GRID BASEMENT

WALLSb, c, d, e, g, h, i, j

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHTf (feet) | MINIMUM VERTICAL REINFORCEMENT-BAR SIZE AND SPACING (inches) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classesa and design lateral soil (psf per foot of depth) |  |  |
|  |  | GW, GP, SW, SP 30 | GM, GC, SM, SM-SC and ML 45 | SC, ML-CL and inorganic CL 60 |
| 8 | 4 | 4 @ 48 | 4 @ 48 | 5 @ 43 |
|  | 5 | 4 @ 48 | 5 @ 48 | 5 @ 37 |
|  | 6 | 5 @ 48 | 6 @ 45 | 6 @ 32 |
|  | 7 | 6 @ 48 | DR | DR |
|  | 8 | 6 @ 36 | DR | DR |
| 9 | 4 | 4 @ 48 | 4 @ 48 | 4 @ 41 |
|  | 5 | 4 @ 48 | 5 @ 48 | 6 @ 48 |
|  | 6 | 5 @ 45 | 6 @ 41 | DR |
|  | 7 | 6 @ 43 | DR | DR |
|  | > 8 | DR | DR | DR |
| 10 | 4 | 4 @ 48 | 4 @ 48 | 4 @ 39 |
|  | 5 | 4 @ 44 | 5 @ 44 | 6 @ 46 |
|  | 6 | 5 @ 42 | 6 @ 38 | DR |

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHT (feet) | MINIMUM VERTICAL REINFORCEMENT-BAR SIZE AND SPACING (inches) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Soil classes and design lateral soil (psf per foot of depth) |  |  |
|  |  | GW, GP, SW, SP 30 | GM, GC, SM, SM-SC and ML 45 | SC, ML-CL and inorganic CL 60 |
|  | 7 | 6 @ 40 | DR | DR |
|  | > 8 | DR | DR | DR |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square foot per foot = 0.1571 kPa2/m, 1 pound per square inch = 6.895 kPa. DR = Design Required.

a – b no change

c.Maximum spacings shown are the values calculated for the specified bar size. Where the bar used is Grade 60 and the size specified in the table, the actual spacing in the wall shall not exceed a whole-number multiple of 12 inches (12, 24, 36 and 48) that is less than or equal to the tabulated spacing. Vertical reinforcement with a yield strength of less than 60,000 psi and bars of a different size than specified in the table are permitted in accordance with Section R404.1.3.3.7.6 and Table R404.1.2(9)R404.1.3.2(9).

No change to remaining footnotes

##### TABLE R404.1.2(8) R404.1.3.2(8) MINIMUM VERTICAL REINFORCEMENT FOR 6-, 8-, 10- AND 12-INCH NOMINAL FLAT BASEMENT

WALLSb, c, d, e, f, h, i, k, n, o

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHTg (feet) | MINIMUM VERTICAL REINFORCEMENT-BAR SIZE AND SPACING (inches) |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Soil classesa and design lateral soil (psf per foot of depth) |  |  |  |  |  |  |  |  |  |  |  |
|  |  | GW, GP, SW, SP 30 |  |  |  | GM, GC, SM, SM-SC and ML 45 |  |  |  | SC, ML-CL and inorganic CL 60 |  |  |  |
|  |  | Minimum nominal wall thickness (inches) |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 6 | 8 | 10 | 12 | 6 | 8 | 10 | 12 | 6 | 8 | 10 | 12 |
| 5 | 4 | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR |
|  | 5 | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR |
| 6 | 4 | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR |
|  | 5 | NR | NR | NR | NR | NR | NRl | NR | NR | 4 @ 35 | NRl | NR | NR |
|  | 6 | NR | NR | NR | NR | 5 @ 48 | NR | NR | NR | 5 @ 36 | NR | NR | NR |
| 7 | 4 | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR |
|  | 5 | NR | NR | NR | NR | NR | NR | NR | NR | 5 @ 47 | NR | NR | NR |
|  | 6 | NR | NR | NR | NR | 5 @ 42 | NR | NR | NR | 6 @ 43 | 5 @ 48 | NRl | NR |
|  | 7 | 5 @ 46 | NR | NR | NR | 6 @ 42 | 5 @ 46 | NRl | NR | 6 @ 34 | 6 @ 48 | NR | NR |
| 8 | 4 | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR |
|  | 5 | NR | NR | NR | NR | 4 @ 38 | NRl | NR | NR | 5 @ 43 | NR | NR | NR |
|  | 6 | 4 @ 37 | NRl | NR | NR | 5 @ 37 | NR | NR | NR | 6 @ 37 | 5 @ 43 | NRl | NR |
|  | 7 | 5 @ 40 | NR | NR | NR | 6 @ 37 | 5 @ 41 | NRl | NR | 6 @ 34 | 6 @ 43 | NR | NR |
|  | 8 | 6 @ 43 | 5 @ 47 | NRl | NR | 6 @ 34 | 6 @ 43 | NR | NR | 6 @ 27 | 6 @ 32 | 6 @ 44 | NR |
| 9 | 4 | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR |
|  | 5 | NR | NR | NR | NR | 4 @ 35 | NRl | NR | NR | 5 @ 40 | NR | NR | NR |
|  | 6 | 4 @ 34 | NRl | NR | NR | 6 @ 48 | NR | NR | NR | 6 @ 36 | 6 @ 39 | NRl | NR |
|  | 7 | 5 @ 36 | NR | NR | NR | 6 @ 34 | 5 @ 37 | NR | NR | 6 @ 33 | 6 @ 38 | 5 @ 37 | NRl |
|  | 8 | 6 @ 38 | 5 @ 41 | NRl | NR | 6 @ 33 | 6 @ 38 | 5 @ 37 | NRl | 6 @ 24 | 6 @ 29 | 6 @ 39 | 4 @ 48m |

| MAXIMUM UNSUPPORTED WALL HEIGHT (feet) | MAXIMUM UNBALANCED BACKFILL HEIGHT (feet) | MINIMUM VERTICAL REINFORCEMENT-BAR SIZE AND SPACING (inches) |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Soil classes and design lateral soil (psf per foot of depth) |  |  |  |  |  |  |  |  |  |  |  |
|  |  | GW, GP, SW, SP 30 |  |  |  | GM, GC, SM, SM-SC and ML 45 |  |  |  | SC, ML-CL and inorganic CL 60 |  |  |  |
|  |  | Minimum nominal wall thickness (inches) |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 6 | 8 | 10 | 12 | 6 | 8 | 10 | 12 | 6 | 8 | 10 | 12 |
|  | 9 | 6 @ 34 | 6 @ 46 | NR | NR | 6 @ 26 | 6 @ 30 | 6 @ 41 | NR | 6 @ 19 | 6 @ 23 | 6 @ 30 | 6 @ 39 |
| 10 | 4 | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR |
|  | 5 | NR | NR | NR | NR | 4 @ 33 | NRl | NR | NR | 5 @ 38 | NR | NR | NR |
|  | 6 | 5 @ 48 | NRl | NR | NR | 6 @ 45 | NR | NR | NR | 6 @ 34 | 5 @ 37 | NR | NR |
|  | 7 | 6 @ 47 | NR | NR | NR | 6 @ 34 | 6 @ 48 | NR | NR | 6 @ 30 | 6 @ 35 | 6 @ 48 | NRl |
|  | 8 | 6 @ 34 | 5 @ 38 | NR | NR | 6 @ 30 | 6 @ 34 | 6 @ 47 | NRl | 6 @ 22 | 6 @ 26 | 6 @ 35 | 6 @ 45m |
|  | 9 | 6 @ 34 | 6 @ 41 | 4 @ 48 | NRl | 6 @ 23 | 6 @ 27 | 6 @ 35 | 4 @ 48m | DR | 6 @ 22 | 6 @ 27 | 6 @ 34 |
|  | 10 | 6 @ 28 | 6 @ 33 | 6 @ 45 | NR | DRj | 6 @ 23 | 6 @ 29 | 6 @ 38 | DR | 6 @ 22 | 6 @ 22 | 6 @ 28 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound per square foot per foot = 0.1571 kPa2/m, 1 pound per square inch = 6.895 kPa. NR = Not Required.

DR = Design Required.

- – b no change

c.Vertical reinforcement with a yield strength of less than 60,000 psi and bars of a different size than specified in the table are permitted in accordance with Section R404.1.3.3.7.6 and Table R404.1.2(9)R404.1.3.2(9).

No change to remaining footnotes

###### TABLE R404.1.2(9) R404.1.3.2(9) MINIMUM SPACING FOR ALTERNATE BAR SIZE AND ALTERNATE GRADE OF STEELa, b, c

| BAR SPACING FROM APPLICABLE TABLE IN SECTION R404.1.3.2 (inches) | BAR SIZE FROM APPLICABLE TABLE IN SECTION R404.1.3.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | #4 |  |  |  |  | #5 |  |  |  |  | #6 |  |  |  |  |
|  | Alternate bar size and alternate grade of steel desired |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Grade 60 |  | Grade 40 |  |  | Grade 60 |  | Grade 40 |  |  | Grade 60 |  | Grade 40 |  |  |
|  | #5 | #6 | #4 | #5 | #6 | #4 | #6 | #4 | #5 | #6 | #4 | #5 | #4 | #5 | #6 |
|  | Maximum spacing for alternate bar size and alternate grade of steel (inches) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | 12 | 18 | 5 | 8 | 12 | 5 | 11 | 3 | 5 | 8 | 4 | 6 | 2 | 4 | 5 |
| 9 | 14 | 20 | 6 | 9 | 13 | 6 | 13 | 4 | 6 | 9 | 4 | 6 | 3 | 4 | 6 |
| 10 | 16 | 22 | 7 | 10 | 15 | 6 | 14 | 4 | 7 | 9 | 5 | 7 | 3 | 5 | 7 |
| 11 | 17 | 24 | 7 | 11 | 16 | 7 | 16 | 5 | 7 | 10 | 5 | 8 | 3 | 5 | 7 |
| 12 | 19 | 26 | 8 | 12 | 18 | 8 | 17 | 5 | 8 | 11 | 5 | 8 | 4 | 6 | 8 |
| 13 | 20 | 29 | 9 | 13 | 19 | 8 | 18 | 6 | 9 | 12 | 6 | 9 | 4 | 6 | 9 |
| 14 | 22 | 31 | 9 | 14 | 21 | 9 | 20 | 6 | 9 | 13 | 6 | 10 | 4 | 7 | 9 |
| 15 | 23 | 33 | 10 | 16 | 22 | 10 | 21 | 6 | 10 | 14 | 7 | 11 | 5 | 7 | 10 |
| 16 | 25 | 35 | 11 | 17 | 23 | 10 | 23 | 7 | 11 | 15 | 7 | 11 | 5 | 8 | 11 |
| 17 | 26 | 37 | 11 | 18 | 25 | 11 | 24 | 7 | 11 | 16 | 8 | 12 | 5 | 8 | 11 |
| 18 | 28 | 40 | 12 | 19 | 26 | 12 | 26 | 8 | 12 | 17 | 8 | 13 | 5 | 8 | 12 |
| 19 | 29 | 42 | 13 | 20 | 28 | 12 | 27 | 8 | 13 | 18 | 9 | 13 | 6 | 9 | 13 |
| 20 | 31 | 44 | 13 | 21 | 29 | 13 | 28 | 9 | 13 | 19 | 9 | 14 | 6 | 9 | 13 |
| 21 | 33 | 46 | 14 | 22 | 31 | 14 | 30 | 9 | 14 | 20 | 10 | 15 | 6 | 10 | 14 |
| 22 | 34 | 48 | 15 | 23 | 32 | 14 | 31 | 9 | 15 | 21 | 10 | 16 | 7 | 10 | 15 |
| 23 | 36 | 48 | 15 | 24 | 34 | 15 | 33 | 10 | 15 | 22 | 10 | 16 | 7 | 11 | 15 |
| 24 | 37 | 48 | 16 | 25 | 35 | 15 | 34 | 10 | 16 | 23 | 11 | 17 | 7 | 11 | 16 |
| 25 | 39 | 48 | 17 | 26 | 37 | 16 | 35 | 11 | 17 | 24 | 11 | 18 | 8 | 12 | 17 |
| 26 | 40 | 48 | 17 | 27 | 38 | 17 | 37 | 11 | 17 | 25 | 12 | 18 | 8 | 12 | 17 |
| 27 | 42 | 48 | 18 | 28 | 40 | 17 | 38 | 12 | 18 | 26 | 12 | 19 | 8 | 13 | 18 |
| 28 | 43 | 48 | 19 | 29 | 41 | 18 | 40 | 12 | 19 | 26 | 13 | 20 | 8 | 13 | 19 |
| 29 | 45 | 48 | 19 | 30 | 43 | 19 | 41 | 12 | 19 | 27 | 13 | 20 | 9 | 14 | 19 |
| 30 | 47 | 48 | 20 | 31 | 44 | 19 | 43 | 13 | 20 | 28 | 14 | 21 | 9 | 14 | 20 |
| 31 | 48 | 48 | 21 | 32 | 45 | 20 | 44 | 13 | 21 | 29 | 14 | 22 | 9 | 15 | 21 |
| 32 | 48 | 48 | 21 | 33 | 47 | 21 | 45 | 14 | 21 | 30 | 15 | 23 | 10 | 15 | 21 |
| 33 | 48 | 48 | 22 | 34 | 48 | 21 | 47 | 14 | 22 | 31 | 15 | 23 | 10 | 16 | 22 |
| 34 | 48 | 48 | 23 | 35 | 48 | 22 | 48 | 15 | 23 | 32 | 15 | 24 | 10 | 16 | 23 |
| 35 | 48 | 48 | 23 | 36 | 48 | 23 | 48 | 15 | 23 | 33 | 16 | 25 | 11 | 16 | 23 |
| 36 | 48 | 48 | 24 | 37 | 48 | 23 | 48 | 15 | 24 | 34 | 16 | 25 | 11 | 17 | 24 |
| 37 | 48 | 48 | 25 | 38 | 48 | 24 | 48 | 16 | 25 | 35 | 17 | 26 | 11 | 17 | 25 |
| 38 | 48 | 48 | 25 | 39 | 48 | 25 | 48 | 16 | 25 | 36 | 17 | 27 | 12 | 18 | 25 |
| 39 | 48 | 48 | 26 | 40 | 48 | 25 | 48 | 17 | 26 | 37 | 18 | 27 | 12 | 18 | 26 |
| 40 | 48 | 48 | 27 | 41 | 48 | 26 | 48 | 17 | 27 | 38 | 18 | 28 | 12 | 19 | 27 |
| 41 | 48 | 48 | 27 | 42 | 48 | 26 | 48 | 18 | 27 | 39 | 19 | 29 | 12 | 19 | 27 |
| 42 | 48 | 48 | 28 | 43 | 48 | 27 | 48 | 18 | 28 | 40 | 19 | 30 | 13 | 20 | 28 |
| 43 | 48 | 48 | 29 | 44 | 48 | 28 | 48 | 18 | 29 | 41 | 20 | 30 | 13 | 20 | 29 |
| 44 | 48 | 48 | 29 | 45 | 48 | 28 | 48 | 19 | 29 | 42 | 20 | 31 | 13 | 21 | 29 |
| 45 | 48 | 48 | 30 | 47 | 48 | 29 | 48 | 19 | 30 | 43 | 20 | 32 | 14 | 21 | 30 |
| 46 | 48 | 48 | 31 | 48 | 48 | 30 | 48 | 20 | 31 | 44 | 21 | 32 | 14 | 22 | 31 |
| 47 | 48 | 48 | 31 | 48 | 48 | 30 | 48 | 20 | 31 | 44 | 21 | 33 | 14 | 22 | 31 |
| 48 | 48 | 48 | 32 | 48 | 48 | 31 | 48 | 21 | 32 | 45 | 22 | 34 | 15 | 23 | 32 |

For SI: 1 inch = 25.4 mm.

No change to footnotes

R404.1.3.3.7.2 Location of reinforcement in wall. The center of vertical reinforcement in basement walls determined from Tables R404.1.2(2) R404.1.3.2(2) through R404.1.2(7) R404.1.3.2(7) shall be located at the centerline of the wall. Vertical reinforcement in basement walls determined from Table R404.1.2(8) R404.1.3.2(8) shall be located to provide a maximum cover of 11/4 inches (32 mm) measured from the inside face of the wall. Regardless of the table used to determine vertical wall reinforcement, the center of the steel shall not vary from the specified location by more than the greater of 10 percent of the wall thickness and 3/8 inch (10 mm). Horizontal and vertical reinforcement shall be located in foundation walls to provide the minimum cover required by Section R404.1.3.3.7.4.

R404.1.3.3.7.6 Alternate grade of reinforcement and spacing. Where tables in Section R404.1.3.2 specify vertical wall reinforcement

based on minimum bar size and maximum spacing, which are based on Grade 60 (414 MPa) steel reinforcement, different size bars or bars made from a different grade of steel are permitted provided that an equivalent area of steel per linear foot of wall is provided. Use of Table R404.1.2(9) R404.1.3.2(9) is permitted to determine the maximum bar spacing for different bar sizes than specified in the tables or bars made from a different grade of steel. Bars shall not be spaced less than one-half the wall thickness, or more than 48 inches (1219 mm) on center.

R404.1.4.1 Masonry foundation walls. Reserved

R404.1.4.2 Concrete foundation walls. Reserved

R404.1.5.2 Concrete wall thickness. The thickness of concrete foundation walls shall be equal to or greater than the thickness of the wall in the story above. Concrete foundation walls with corbels, brackets or other projections built into the wall for support of masonry veneer or other purposes are not within the scope of the tables in this section.

Where a concrete foundation wall is reduced in thickness to provide a shelf for the support of masonry veneer, the reduced thickness shall be equal to or greater than the thickness of the wall in the story above. Vertical reinforcement for the foundation wall shall be based on Table R404.1.2(8) R404.1.3.2(8) and located in the wall as required by Section R404.1.3.3.7.2 where that table is used. Vertical reinforcement shall be based on the thickness of the thinner portion of the wall.

Exception: Where the height of the reduced thickness portion measured to the underside of the floor assembly or sill plate above is less than or equal to 24 inches (610 mm) and the reduction in thickness does not exceed 4 inches (102 mm), the vertical reinforcement is permitted to be based on the thicker portion of the wall.

(S11496) (RB171-22AS)

R408.7 Flood resistance. For buildings located in flood hazard areas as established in Table R301.2(1): 1. Walls enclosing the under-floor space shall be provided with flood openings in accordance with Section R322.2.2. 2. The finished ground level of the under-floor space shall be equal to or higher than the outside finished ground level on at least one side. Exception: Under-floor spaces that meet the requirements of FEMA TB-11-1.

(Step 2 – SP12023 AS)

Chapter 5 Floors

R501.3 Fasteners and connectors exposed to saltwater environments. Fasteners and connectors in areas within 3,000 feet (914 m) of a saltwater coastline shall comply with Section R332.

(Step 2 – S12163 AS)/ (Step 2 – S12163 AM/A1 plus original – 2nd comment period)

R507.4.1 Deck post to deck footing connection. Where posts bear on concrete footings in accordance with Section R403 and Figure R507.3, lateral restraint shall be provided by manufactured connectors or a minimum post embedment of 12 inches (305 mm) in surrounding soils or concrete piers. Other footing systems shall be permitted.

Exception: Where expansive, compressible, shifting or other questionable soils are present, surrounding soils shall not be relied on for lateral support.

(S115071) (RB182-22AS) No change needed

##### TABLE R507.8.1.3(2) PLACEMENT OF LAG SCREWS AND BOLTS IN DECK LEDGERS AND BAND JOISTS

| MINIMUM END AND EDGE DISTANCES AND SPACING BETWEEN ROWS |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | TOP EDGE | BOTTOM EDGE | ENDS | ROW SPACING |
| Ledgera | 2 inchesd | 3/4 inch | 2 inchesb | 15/8 inchesb |
| Band Joistc | 3/4 inch | 2 inches | 2 inchesb | 15/8 inchesb |

For SI: 1 inch = 25.4 mm.

No change to the footnotes

(S11512) (RB187-22AS)

###### Note – Figure number should be “R507.8.1.3(2)”

###### Delete and substitute as follows:

For SI: 1 inch = 25.4 mm.

##### FIGURE R507.9.1.3(2) PLACEMENT OF LAG SCREWS AND BOLTS IN BAND JOISTS

For SI: 1 inch = 25.4 mm.

For SI: 1 inch = 25.4 mm.

##### FIGURE R507.8.1.3(2) PLACEMENT OF LAG SCREWS AND BOLTS IN BAND JOISTS

FIGURE R507.9.2(1) DECK ATTACHMENT FOR LATERAL LOADS

For SI: 1 inch = 25.4 mm.

##### FIGURE R507.8.2(1) DECK ATTACHMENT FOR LATERAL LOADS

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm.

##### FIGURE R507.9.2(2) DECK ATTACHMENT FOR LATERAL LOADS

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm.

##### FIGURE R507.8.2(2) DECK ATTACHMENT FOR LATERAL LOADS

(S11513) (RB189-22AS)

Chapter 6 Wall Construction

R601.3 Fasteners and connectors exposed to saltwater environments. Fasteners and connectors in areas within 3,000 feet (914 m) of a saltwater coastline shall comply with Section R332.

(Step 2 – S12163 AS)/ (Step 2 – S12163 AM/A1 plus original – 2nd comment period)

R606.1.1 Professional registration not required. When the empirical design provisions of Appendix A of TMS 402,the provisions of TMS 403, or the provisions of this section are used to design masonry, project drawings, typical details and specifications are not required to bear the seal of the architect or engineer responsible for design, unless otherwise required by the state law of the jurisdiction having authority.

R606.2.10 Mortar for AAC masonry. Thin-bed mortar for AAC masonry shall comply with Article2.2 D.12.1 C.1 of TMS 602. Mortar used for the leveling courses of AAC masonry shall comply with Article 2.2 D.2 2.1 C.2 of TMS 602.

(S11528) (RB205-22)

R606.3.5 Grouting requirements.

R606.3.5.1 Grout placement. Grout shall be a plastic mix suitable  for  pumping  without  segregation of the constituents and shall be mixed thoroughly. placed at an 8 to 11 inch slump by pumping or by an approved alternate method and shall be placed before any initial set occurs and not more than 11/2 hours after water has been added. Grout shall be consolidated by puddling or mechanical vibrating during  placing and reconsolidated after excess moisture has been absorbed but before plasticity is  lost.  Grout shall not be pumped through aluminum pipes.

R606.3.5.1.1.Maximum pour heights.Maximum pour heights and the minimum dimen- ut shall be poured in lifts of 8-foo1t Maximum pour heights shall comply with Table R606.3.5.1total grout pour exceeds 8 feet (2438 mm) in height, the grout shall be placed in l

R606.3.5.1. Grout Lift Height. Where masonry has cured at least 4 hours and there are no intermediate bond beams place grout in lifts not exceeding 12 ft. 8 in. (3.86 m). Where there are intermediate bond beams the gout lift height shall comply with TMS 602 lifts not exceeding 64  inches (1626 mm) and  special inspection during grouting shall be required. If the work is stopped for 1 hour or longer, the horizontal construction joints shall be formed by stopping all tiers at the same elevation and  with  the  grout 1 inch (25 mm) below the top.

(Step 2 – S12180 AS)

# R609.3 Testing and labeling. Exterior windows and sliding doors shall be tested by an approved independent laboratory, and bear a label identifying manufacturer, performance characteristics and approved inspection agency to indicate compliance with AAMA/WDMA/CSA 101/I.S.2/A440 or TAS 202 (HVHZ shall comply with TAS 202 and ASTM E1300). Exterior side-hinged doors shall be tested and labeled as conforming to AAMA/WDMA/CSA 101/I.S.2/A440 or ANSI/WMA 100, or comply with Section R609.5. Exterior windows and doors shall be labeled with a permanent label, marking, or etching providing traceability to the manufacturer and product. The following shall also be required either n a permanent label or on a temporary supplemental label applied by the manufacturer: information identifying the manufacturer, the product model/series number, positive and negative design pressure rating, product maximum size tested, impact-resistance rating if applicable, Florida product approval number or Miami-Dade product approval number applicable test standard(s), and approved product certification agency, testing laboratory, evaluation entity or Miami-Dade product approval. The labels are limited to one design pressure rating per reference standard. The temporary supplemental label shall remain on the window or door until final approval by the building official. Exceptions: - (no change) - Door assemblies labeled with a Limited Water (LW) rating as specified in AAMA/WDMA/CSA 101/I.S.2/A440 shall be permitted to be installed where the overhang (OH) ratio is equal to or more than 1 need not be tested for water infiltration. The overhang ratio shall be calculated by the following equation: OH ratio = OH Length/OH Height Where: OH length = The horizontal measure of how far an overhang over a door projects out from door surface as shown in Figure A. Where the overhang extends to side walls on both sides of the door that have a height equal to the overhang height, the OH length is as shown in Figure B. OH height = The vertical measure of the distance from the door sill to the bottom of the overhang over a door. - (no change) - (no change).. (Step 2 – S12170 AM/Handout – 2nd comment period) R609.4 Garage doors. Garage doors shall be tested for determination of structural performance under uniform static air pressure difference in accordance with ANSI/DASMA 108, ASTM E330 Procedure A, or TAS 202. For garage doors tested in accordance with ASTM E330, acceptance criteria shall be in accordance with ANSI/DASMA 108. (HVHZ shall comply with TAS 202.) Design wind pressures shall be determined from Table 301.2(4) in accordance with Section R301.2.1 or ASCE 7. The dDesign pressures, as determined from in accordance with the LRFD method of ASCE 7, are permitted to be multiplied by 0.6.

(Step 2 – S12216 AS)

Chapter 7 Wall Covering

R701.3 Fasteners and connectors exposed to saltwater environments. Fasteners and connectors in areas within 3,000 feet (914 m) of a saltwater coastline, or other areas subject to salt corrosion, shall comply with Section R332.

(Step 2 – S12163 AS)/ (Step 2 – S12163 AM/A1 plus original – 2nd comment period)

##### TABLE R702.7(3) CLASS III VAPOR RETARDERS

| CLIMATE ZONE | CLASS III VAPOR RETARDERS PERMITTED FOR:a, b |
| --- | --- |
| Marine 4 | Vented cladding over wood structural panels. |
|  | Vented cladding over fiberboard. |
|  | Vented cladding over gypsum. |
|  | Continuous insulation with R-value ≥ 2.5 over 2 × 4 wall. |
|  | Continuous insulation with R-value ≥ 3.75 over 2 × 6 wall. |
| 5 | Vented cladding over wood structural panels. |
|  | Vented cladding over fiberboard. |
|  | Vented cladding over gypsum. |
|  | Continuous insulation with R-value ≥ 5 over 2 × 4 wall. |
|  | Continuous insulation with R-value ≥ 7.5 over 2 × 6 wall. |
| 6 | Vented cladding over fiberboard. |
|  | Vented cladding over gypsum. |
|  | Continuous insulation with R-value ≥ 7.5 over 2 × 4 wall. |
|  | Continuous insulation with R-value ≥ 11.25 over 2 × 6 wall. |
| 7 | Continuous insulation with R-value ≥ 10 over 2 × 4 wall. |
|  | Continuous insulation with R-value ≥ 15 over 2 × 6 wall. |
| 8 | Continuous insulation with R-value ≥ 12.5 over 2 × 4 wall. Continuous insulation with R-value ≥ 20 over 2 × 6 wall. |

- Vented cladding shall include vinyl, polypropylene, or horizontal aluminum siding, brick veneer with a clear airspace as specified in Table R703.8.4(1), rainscreen systems and other approved vented claddings.

- The requirements in this table apply only to insulation used to control moisture in order to permit the use of Class III vapor retarders. The insulation materials used to satisfy this option also contribute to but do not supersede the thermal envelope requirements of Chapter 11.

(S11388) (RB28-22AS)

TABLE R702.4.2 BACKER BOARD MATERIALS MATERIAL; STANDARD. Glass mat gypsum backing panel; ASTM C1178. Fiber-reinforced gypsum panels; ASTM C1278. Nonasbestos fFiber-cement backer board; ASTM C1288 or ISO 8336, Category C. Nonasbestos fFiber mat reinforced cementitious backer units; ASTM C1325.

(Step 2 – S12350 AS)

R702.7 Vapor retarders. Vapor retarder materials shall be classified in accordance with Table R702.7(1). A vapor retarder shall be provided on the interior side of frame walls of the class indicated in Table R702.7(2), including compliance with Table R702.7(3) or R702.7(4) where applicable. An approved design using accepted engineering practice for hygrothermal analysis shall be permitted as an alternative. Vapor retarders shall be installed in accordance with Section R702.7.1 The climate zone shall be determined in accordance with Section R301.1 of the Florida Building Code, Energy Conservation.

###### Exceptions:

- Basement walls.

- Below-grade portion of any wall.

- Construction where accumulation, condensation or freezing of moisture will not damage the materials.

- A vapor retarder shall not be required in Climate Zones 1, 2 and 3.

###### Add new text as follows:

R702.7.2 Vapor Retarder Installation. Vapor retarders shall be installed in accordance with the manufacturer’s instructions, accepted installation methods or an approved design. Where a vapor retarder also functions as a component of a continuous air barrier, the vapor retarder shall be installed as an air barrier in accordance with Florida Building Code, Energy Conservation.

(S11531) (RB208-22AS)/ (S11532) (RB209-22AM)

###### Revise as follows:

R702.7 Vapor retarders. Vapor retarder materials shall be classified in accordance with Table R702.7(1). A vapor retarder shall be provided on the interior side of frame walls of the class indicated in Table R702.7(2), including compliance with Table R702.7(3) or R702.7(4) where applicable. An approved design using accepted engineering practice for hygrothermal analysis shall be permitted as an alternative. The climate zone shall be determined in accordance with Section R301.1 of the Florida Building Code, Energy Conservation.

###### Exceptions:

- Basement walls.

- Below-grade portion of any wall.

- Construction where accumulation, condensation or freezing of moisture will not damage the materials.

- A vapor retarder shall not be required in Climate Zones 1, 2 and 3.

- In Climate Zones 4 through 8, a vapor retarder shall not be required where the assembly complies with Table R702.7(5).

##### TABLE R702.7(1) VAPOR RETARDER MATERIALS AND CLASSES

| CLASS | ACCEPTABLE MATERIALS |
| --- | --- |
| I | Sheet polyethylene, nonperforated aluminum foil or other approved materials with a perm rating less than or equal to 0.1. |
| II | Kraft-faced fiberglass batts, vapor retarder paint or other approved materials applied in accordance with the manufacturer's installation instructions for a perm rating greater than 0.1 and less than or equal to 1.0. |
| III | Latex paint, enamel paint or other approved materials applied in accordance with the manufacturer's installation instructions for a perm rating greater than 1.0 and less than or equal to 10.0. |

TABLE R702.7(2) VAPOR RETARDER OPTIONS

| CLIMATE ZONE | VAPOR RETARDER CLASS |  |  |
| --- | --- | --- | --- |
|  | CLASS Ia | CLASS IIa | CLASS III |
| 1, 2 | Not Permitted | Not Permitted | Permitted |
| 3, 4 (except Marine 4) | Not Permitted | Permittedc | Permitted |
| Marine 4, 5, 6, 7, 8 | Permittedb,c | Permittedc | See Table R702.7(3) |

- A responsive vapor retarder Class I and II vapor retarders with vapor permeance greater than 1 perm when measured by ASTM E96 water method (Procedure B) shall be allowed on the interior side of any frame wall in all climate zones.

- Use of a Class I interior vapor retarder, that is not a responsive vapor retarder, in frame walls with a Class I vapor retarder on the exterior side shall require an approved design.

- Where a Class I or II vapor retarder is used in combination with foam plastic insulating sheathing or insulated siding installed as continuous insulation on the exterior side of frame walls, the continuous insulation shall comply with Table R702.7(4) and the ClassI or II vapor retarder shall be a responsive vapor retarder have a vapor permeance greater than 1 perm when measured by ASTM E96 water method (Procedure B).

##### TABLE R702.7(3) CLASS III VAPOR RETARDERS

| CLIMATE ZONE | CLASS III VAPOR RETARDERS PERMITTED FOR:a, b |
| --- | --- |
| Marine 4 | Vented cladding over wood structural panels. |
|  | Vented cladding over fiberboard. |
|  | Vented cladding over gypsum. |
|  | Continuous insulation with R-value ≥ 2.5 over 2 × 4 wall. |
|  | Continuous insulation with R-value ≥ 3.75 over 2 × 6 wall. |
| 5 | Vented cladding over wood structural panels. |
|  | Vented cladding over fiberboard. |
|  | Vented cladding over gypsum. |
|  | Continuous insulation with R-value ≥ 5 over 2 × 4 wall. |
|  | Continuous insulation with R-value ≥ 7.5 over 2 × 6 wall. |
| 6 | Vented cladding over fiberboard. |
|  | Vented cladding over gypsum. |
|  | Continuous insulation with R-value ≥ 7.5 over 2 × 4 wall. |
|  | Continuous insulation with R-value ≥ 11.25 over 2 × 6 wall. |
| 7 | Continuous insulation with R-value ≥ 10 over 2 × 4 wall. |
|  | Continuous insulation with R-value ≥ 15 over 2 × 6 wall. |
| 8 | Continuous insulation with R-value ≥ 12.5 over 2 × 4 wall. Continuous insulation with R-value ≥ 20 over 2 × 6 wall. |

- Vented cladding shall include vinyl, polypropylene, or horizontal aluminum siding, brick veneer with a clear airspace as specified in Table R703.8.4(1), rainscreen systems, and other approved vented claddings.

- The requirements in this table apply only to insulation used to control moisture in order to permit the use of Class III vapor retarders. The insulation materials used to satisfy this option also contribute to but do not supersede the thermal envelope requirements of Chapter 11.

##### TABLE R702.7(4) CONTINUOUS INSULATION WITH CLASS I OR II RESPONSIVE VAPOR RETARDER

| CLIMATE ZONE | CLASS II VAPOR RETARDERSPERMITTED CONDITIONS FOR:a |
| --- | --- |
| 3 | Continuous insulation with R-value ≥ 2. |
| 4, 5 and 6 | Continuous insulation with R-value ≥ 3 over 2 × 4 wall. Continuous insulation with R-value ≥ 5 over 2 × 6 wall. |
| 7 | Continuous insulation with R-value ≥ 5 over 2 × 4 wall. Continuous insulation with R-value ≥ 7.5 over 2 × 6 wall. |
| 8 | Continuous insulation with R-value ≥ 7.5 over 2 × 4 wall. Continuous insulation with R-value ≥ 10 over 2 × 6 wall. |

- The requirements in this table apply only to insulation used to control moisture in order to permit the use of Class II vapor retarders. The insulation materials used to satisfy this option also contribute to but do not supersede the thermal envelope requirements of Chapter 11.

###### Add new text as follows:

R702.7(5) CONTINUOUS INSULATION ON WALLS WITHOUT A CLASS I, II, OR III INTERIOR VAPOR RETARDERa

| CLIMATE ZONE | PERMITTED CONDITIONS:b,c |
| --- | --- |
| 4 | Continuous insulation with R-value >= 4.5 |
| 5 | Continuous insulation with R-value >= 6.5 |
| 6 | Continuous insulation with R-value >= 8.5 |
| 7 | Continuous insulation with R-value >= 11.5 |
| 8 | Continuous insulation with R-value >= 14 |

- The total insulating value of materials to the interior side of the exterior continuous insulation, including any cavity insulation, shall not exceed R-5. Where the R-value of materials to the interior side of the exterior continuous insulation exceed R-5, an approved design shall be required.

- A water vapor control material layer having a permeance not greater than 1 perm in accordance with ASTM E96, Procedure A (dry cup) shall be placed on the exterior side of the wall and to the interior side of the exterior continuous insulation. The exterior continuous insulation shall be permitted to serve as the vapor control layer where, at its installed thickness or with a facer on its interior face, the exterior continuous insulation is a Class I or II vapor retarder.

- The requirements in this table apply only to insulation used to control moisture in order to allow walls without a Class I, II, or III interior vapor retarder. The insulation materials used to satisfy this option also contribute to but do not supersede the thermal envelope requirements of the Florida Building Code, Energy Conservation.

R702.7.1 Spray foam plastic insulation for moisture control with Class II and III vapor retarders. For purposes of compliance with Tables R702.7(3) and R702.7(4), spray foam with a maximum permeance of 1.5 perms at the installed thickness applied to the interior side of wood structural panels, fiberboard, insulating sheathing or gypsum shall be deemed to meet the continuous insulation moisture control requirement in accordance with one of the following conditions:

- The spray foam R-value is equal to or greater than the specified continuous insulation R-value.

- The combined R-value of the spray foam and continuous insulation is equal to or greater than the specified continuous insulationR- value.

(S11532) (RB209-22AM)/(S11533) (RB210-22AS)

R703.1.2.1 Wind resistance of exterior soffits.

Exterior soffits and their attachments shall comply with Section R704.

Exception: The design wind pressure on exterior soffits applied to the bottom horizontal surface of elevated buildings shall be determined in accordance with ASCE 7.

(Step 2 – S11893AM/A2 – 2nd comment period)

R703.2 Water-resistive barrier. Not fewer than one layer of water-resistive barrier shall be applied over studs or sheathing of all exterior walls with flashing as indicated in Section R703.4, in such a manner as to provide a continuous water-resistive barrier behind the exterior wall veneer. The water-resistive barrier material shall be continuous to the top of walls and terminated at penetrations and building appendages in a manner to meet the requirements of the exterior wall envelope as described in Section R703.1. Where the water-resistive barrier also functions as a component of a continuous air barrier, the water-resistive barrier shall be installed as an air barrier in accordance with Florida Building Code, Energy Conservation. Water-resistive barrier materials shall comply with one of the following:

- No. 15 felt complying with ASTM D226, Type 1.

- ASTM E2556, Type 1 or 2.

- Foam plastic insulating sheathing water-resistive barrier systems complying with Section R703.1.1 and installed in accordance with the manufacturer's installation instructions.

- ASTM E331 in accordance with Section R703.1.1.

- Other approved materials in accordance with the manufacturer's installation instructions.

No.15 asphalt felt and water-resistive barriers complying with ASTM E2556 shall be applied horizontally, with the upper layer lapped over the lower layer not less than 2 inches (51 mm), and where joints occur, shall be lapped not less than 6 inches (152 mm).

Exception: A water-resistive barrier shall not be required in unconditioned detached tool sheds, storage sheds, playhouses, and other similar accessory structures provided all of the following requirements are met:

  - Exterior wall covering is limited to siding that is attached direct to studs.

  - Exterior walls are uninsulated.

  - Interior side of exterior walls has no wall covering or wall finishes.

(S11534) (RB212-22 AS)/ (S11535) (RB213-22 AS)/ (S11536) (RB214-22 AS)

TABLE R703.3(1)

SIDING MINIMUM ATTACHMENT AND MINIMUM THICKNESS

| SIDING MATERIAL |  | NOMINALTHICKNESS(inches) | JOINTTREATMENT | TYPE OF SUPPORTS FOR THE SIDING MATERIAL AND FASTENERS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Wood or woodstructuralpanelsheathinginto stud | Fiberboardsheathinginto stud | Gypsumsheathinginto stud | Foam plasticsheathinginto studl | Directto studs | Number orspacing offasteners |
| Anchored veneer: brick, concrete, masonry or stone (see Section R703.8) |  | 2 | Section R703.8 | Section R703.8 |  |  |  |  |  |
| Adhered veneer: concrete, stone or masonry (see Section R703.12) |  | — | Section R703.12 | Section R703.12 |  |  |  |  |  |
| Fiber cement siding | Panel siding (see Section R703.10.1) | 5/16m | Section R703.10.1 | 6d common(2? × 0.113?) | 6d common(2? × 0.113?) | 6d common(2? × 0.113?) | 6d common(2? × 0.113?) | 4d common(11/2? × 0.099?) | 6? panel edges 12? inter. sup. |
|  | Lap siding (see Section R703.10.2) | 5/16m | Section R703.10.2 | 6d common(2? × 0.113?) | 6d common(2? × 0.113?) | 6d common(2? × 0.113?) | 6d common(2? × 0.113?) | 6d common(2? × 0.113?)or 11 gage roofing nail | Note f |
| Hardboard panel siding (see Section R703.5) |  | 16-Jul | — | 0.120? nail (shank) with 0.225? head | 0.120? nail (shank) with 0.225? head | 0.120? nail (shank) with 0.225? head | 0.120? nail (shank) with 0.225? head | 0.120? nail (shank) with 0.225? head | 6? panel edges 12? inter. sup.d |
| Hardboard lap siding (see Section R703.5) |  | 16-Jul | Note e | 0.099? nail (shank) with 0.240? head | 0.099? nail (shank) with 0.240? head | 0.099? nail (shank) with 0.240? head | 0.099? nail (shank) with 0.240? head | 0.099? nail (shank) with 0.240? head | Same as stud spacing 2 per bearing |
| Horizontal aluminuma | Withoutinsulation | 0.019b | Lap | Siding nail11/2? × 0.120? | Siding nail2? × 0.120? | Siding nail2? × 0.120? | Siding nailh11/2? × 0.120? | Not allowed | Same as stud spacing |
|  |  | 0.024 | Lap | Siding nail11/2? × 0.120? | Siding nail2? × 0.120? | Siding nail2? × 0.120? | Siding nailh11/2? × 0.120? | Not allowed |  |
|  | Withinsulation | 0.019 | Lap | Siding nail11/2? × 0.120? | Siding nail21/2? × 0.120? | Siding nail21/2? × 0.120? | Siding nailh11/2? × 0.120? | Siding nail11/2? × 0.120? |  |
| Insulated vinyl sidingj |  | 0.035(vinylsidinglayer only) | Lap | 0.120 nail (shank) with a 0.313 head or 16-gage crownh, i | 0.120 nail (shank) with a 0.313 head or 16-gage crownh | 0.120 nail (shank) with a 0.313 head or 16-gage crownh | 0.120 nail (shank) with a 0.313 head Section R703.11.2 | Not allowed | 16 inches on center or specified by manufacturer instructions,test report or other sections of this code |
| Polypropylene sidingk |  | Notapplicable | Lap | Section 703.14.1 | Section 703.14.1 | Section 703.14.1 | Section 703.14.1 | Notallowed | As specified by the manufacturer instructions,test report or other sections of this code |
| Steelc |  | 29 ga. | Lap | Siding nail (13/4? × 0.113?) | Siding nail (23/4? × 0.113?) | Siding nail (21/2? × 0.113?) | Siding nail (13/4? × 0.113?) | Not allowed | Same as stud spacing |
| Vinyl siding (see Section R703.11) |  | 0.035 | Lap | See Section R703.11. |  |  |  |  |  |
| Wood siding (see Section R703.5) | Wood rustic, drop | 3/8 min. | Lap | 6d box or siding nail(2? × 0.099?) | 6d box or siding nail(2? × 0.099?) | 6d box or siding nail(2? × 0.099?) | 6d box or siding nail(2? × 0.099?) | 8d box or siding nail(21/2? × 0.113?) | Face nailing up to 6? widths, 1 nail per bearing; 8? widths and over, 2 nails per bearing |
|  | Shiplap | 19/32 average | Lap |  |  |  |  |  |  |
|  | Bevel | 16-Jul |  |  |  |  |  |  |  |
|  | Butt tip | 16-Mar | Lap |  |  |  |  |  |  |
| Wood structural panel ANSI/APA PRP 210 siding (exterior grade) (see Section R703.5) |  | 3/8 – 1/2 | Note e | 2? × 0.099?siding nail | 21/2? × 0.113?siding nail | 21/2? × 0.113?siding nail | 21/2? × 0.113?siding nail | 2? × 0.099?siding nail | 6? panel edges 12? inter. sup. |
| Wood structural panel lap siding (see Section R703.5) |  | 3/8 – 1/2 | Note eNote g | 2? × 0.099?siding nail | 21/2? × 0.113?siding nail | 21/2? × 0.113?siding nail | 21/2? × 0.113?siding nail | 2? × 0.099?siding nail | 8? along bottom edge |

For SI: 1 inch = 25.4 mm.

- a.Aluminum nails shall be used to attach aluminum siding.

- b.Aluminum (0.019 inch) shall be unbacked only where the maximum panel width is 10 inches and the maximum flat area is 8 inches. The tolerance for aluminum siding shall be +0.002 inch of the nominal dimension.

- c.Shall be of approved type.

- d.Where used to resist shear forces, the spacing must be 4 inches at panel edges and 8 inches on interior supports.

- e.Vertical end joints shall occur at studs and shall be covered with a joint cover or shall be caulked.

- f.Face nailing: one 6d common nail through the overlapping planks at each stud. Concealed nailing: one 11-gage 11/2 -inch-long galv. roofing nail through the top edge of each plank at each stud in accordance with the manufacturer’s installation instructions.

- g.Vertical joints, if staggered, shall be permitted to be away from studs if applied over wood structural panel sheathing.

- h.Minimum fastener length must be sufficient to penetrate sheathing other nailable substrate and framing a total of a minimum of 11/4 inches or in accordance with the manufacturer’s installation instructions.

- i.Where specified by the manufacturer’s instructions and supported by a test report, fasteners are permitted to penetrate into or fully through nailable sheathing or other nailable substrate of minimum thickness specified by the instructions or test report, without penetrating into framing.

- j.Insulated vinyl siding shall comply with ASTM D7793.

- k.Polypropylene siding shall comply with ASTM D7254.

- l.Cladding attachment over foam sheathing shall comply with the additional requirements and limitations of Sections R703.15, R703.16 and R703.17.

m. Nominal thickness less than 5/16" is permitted when installed in accordance with the manufacturer's instructions and is supported by a test report or other documentation showing compliant performance.

(Step 2 – S12355 AS)

R703.3.3 Minimum fastener length and penetration. [Revise as follows]

Fasteners shall have the greater of the minimum length specified in Table R703.3(1) or as required to provide a minimum penetration into framing as follows:

1.Fasteners for horizontal aluminum siding, steel siding, particleboard panel siding, wood structural panel siding in accordance with ANSI/APA-PRP 210, fiber-cement panel siding and fiber-cement lap siding installed over foam plastic sheathing shall penetrate not less than 11/2 inches (38 mm) into framing or shall be in accordance with the manufacturer’s installation instructions.

2.Fasteners for hardboard panel and lap siding shall penetrate not less than 11/2 inches (38 mm) into framing.

3.Fasteners for vinyl siding, backed vinyl siding, and insulated vinyl siding shall be installed in accordance with Section R703.11 or R703.13.

4.Fasteners for vertical or horizontal wood siding shall penetrate not less than 11/2 inches (38 mm) into studs, studs and wood sheathing combined, or blocking.

5.Fasteners for siding material installed over foam plastic sheathing shall have sufficient length to accommodate foam plastic sheathing thickness and to penetrate framing or sheathing and framing combined, as specified in Items 1 through 4.

R703.11.2 Installation over foam plastic sheathing.

Where vinyl siding, backed vinyl siding or insulated vinyl siding is installed over foam plastic sheathing, the vinyl siding shall comply with Section R703.11 and shall have a wind load design pressure rating in accordance with Table R703.11.2.

Exceptions:

1.Where the foam plastic sheathing is applied directly over wood structural panels, fiberboard, gypsum sheathing or other approved backing capable of independently resisting the design wind pressure, the vinyl siding shall be installed in accordance with Sections R703.11.1 and R703.3.3.

2.Where the vinyl siding manufacturer’s product specifications provide an approved wind load design pressure rating for installation over foam plastic sheathing, use of this wind load design pressure rating shall be permitted, and the siding shall be installed in accordance with the manufacturer’s instructions.

3.Where the foam plastic sheathing and its attachment has a design wind pressure resistance complying with Sections R316.8 and R301.2.1, the vinyl siding shall be installed in accordance with Sections R703.11.1 and R703.3.3.

R703.13 Insulated vinyl siding, backed vinyl siding.

Insulated vinyl siding and backed vinyl siding shall be certified and labeled by an approved agency as conforming to the requirements of ASTM D7793 and D7445, respectively.

R703.13.1 Insulated vinyl siding, backed vinyl siding,  and accessories.

Insulated vinyl siding, backed vinyl siding, and compatible accessories shall be installed in accordance with Sections R703.11.1, R703.11.2 and or the manufacturer’s installation instructions.

(Sept 2 – S11869 AM/A2 – 2nd comment period)

R703.11.1 Installation. [Revise as follows]

Vinyl siding, backed vinyl siding, insulated vinyl siding, and compatible accessories shall be installed in accordance with the manufacturer’s instructions.  For vinyl siding, backed vinyl siding, and insulated vinyl siding having a wind load design pressure rating of 30 psf or less and installed where the design wind pressure is of 30 psf or less in accordance with Table R301.2(2), the prescriptive fastening requirements of Table R703.11.1 shall be permitted.  Provisions of Section R703.11.2 shall apply.

[Delete without substitution]

R703.11.1.1 Fasteners.

Unless specified otherwise by the manufacturer’s instructions, fasteners for vinyl siding shall be 0.120-inch (3 mm) shank diameter nail with a 0.313-inch (8 mm) head.

R703.11.1.2 Penetration depth.

Unless specified otherwise by the manufacturer’s installation instructions or in accordance with Table R703.3(1), fasteners shall penetrate into building framing. The total penetration into the sheathing, furring framing or other nailable substrate shall be a minimum 11/4 inches (32 mm).

R703.11.1.3 Spacing.

Unless specified otherwise by the manufacturer’s installation instructions, the maximum spacing between fasteners for horizontal siding shall be 16 inches (406 mm), and for vertical siding 12 inches (305 mm) both horizontally and vertically. Where specified by the manufacturer’s instructions and supported by a test report, alternative fastener spacing is permitted.

[Add new table as follows]

| Table R703.11.1 Prescriptive Fastner Requirements for Vinyl, Backed Vinyl, and Insulated Vinyl Siding |  |  |  |
| --- | --- | --- | --- |
| Fastenera | Substrateb | Penetration depthc | Spacing |
| Smooth shank nail, not less than 0.120" diameter shank with 0.313(5/16)" head | Nailable Substrate | Not less than 1-1/4" | Horizontal siding - not greater than 16-inches on center |
| Ring shank nail, not less than 0.120" diameter shank with 0.313(5/16)" head | min. 7/16" thick nailable substrate | Through substrate plus a minimum of 1/4" through | Horizontal siding - not greater than 12-inches on center |
| Ring shank nail, not less than 0.120" diameter shank with 0.313(5/16)" head | > 15/32" thick nailable substrate | Through substrate plus a minimum of 1/4" through | Horizontal siding - not greater than 16-inches on center |
| Either smooth shank or ring shank nail (as specified above) | min. 7/16" thick nailable substrate | Through substrate plus a minimum of 1/4" through | Vertical siding - Not greater than 12-inches on center each way |
| Ring shank nail, not less than 0.120" diameter shank with 0.313(5/16)" head or screw not less than 0.138 shank with a .423" truss washer head | min. 3/4" thick wood furringe | Into furring 3/4" | Not greater than 12-inches on center |
| 24-INCH O.C. FRAMING (For 20 psf or less design wind pressure)d |  |  |  |
| All fastener types (as specified above) | Nailable substrate | 1-1/4" | Horizontal siding - Not greater than 24-inches on center |
| - Fasteners shall comply with ASTM F1667 |  |  |  |
| - Wood framing and furring shall have be Southern Pine, Douglas Fir-Larch, Hem-Fir, Spruce-Pine-Fir or other species with a specific gravity of equal to or greater than 0.42. in accordance with AWC NDS. Other nailable substrates with equal or greater fastener withdrawal performance shall also be permitted. Where fiberboard, gypsum, foam plastic or other non-nailable substrate is used, fasteners must go into studs or other form of nailable substrate. |  |  |  |
| - The total thickness of wood structural panel, wood furring, and other nailable substrates shall satisfy bethe required penetration depth. |  |  |  |
| - For 0.120 inch roofing nail only, 24 inches on center fastener spacing for horizontal siding shall be permitted where the allowable stress design wind pressure is 20 psf or less in accordance with Table R301.2(2). Alternatively, it shall be permitted where the mean roof height of the building is 30 feet or less and the design wind speed does not exceed 115 mph for Exposure B or 110 mph Exposure C. |  |  |  |
| - Unless otherwise specified by the manufacturer’s instructions, a material shall be provided in-between the furring that provides a flat surface to support the siding. |  |  |  |

(Sept 2 – S11871 AM/A2 – 2nd comment period/Handout/Commission 12/9/2025)

R703.11.1.5 Utility trim and Snap Lock. Where horizontal siding has to be cut or trimmed below windows, and at the top of walls, the top edge of the siding shall be secured with utility trim and snap locks or as specified by the manufacturer’s installation instructions. See Figures R703.11.1.5(1) and R703.11.1.5(2). Where siding panels are installed above openings and have been field-trimmed at the bottom edge, the cut panel shall be supported with utility trim and snap locks.

(Sept 2 – S11872 AM/A1 – 2nd comment period)

R703.3.6 Siding clearance at wall and adjacent surfaces. Unless otherwise specified by the cladding manufacturer or this code, polypropylene, insulated vinyl, and vinyl claddings shall have clearance of at least 6 inches (152 mm) from the ground and at least 1/2 inch (13 mm) from other adjacent surfaces (decks, roofs, slabs).

(S11538) (RB215-22 AMPC1)

R703.6.1 Application. Wood shakes or shingles shall be applied either single course or double course over nominal 1/2-inch (12.7 mm) wood-based sheathing or to furring strips over 1/2-inch (12.7 mm) nominal nonwood sheathing. A water-resistive barrier shall be provided over all sheathing, with horizontal overlaps in the membrane of not less than 2 inches (51 mm) and vertical overlaps of not less than 6 inches (152 mm). Where horizontal furring strips are used, they shall be 1 inch by 3 inches or 1 inch by 4 inches (25 mm by 76 mm or 25 mm by 102 mm) and shall be fastened to the studs with minimum 7d or 8d box nails and shall be spaced a distance on center equal to the actual weather exposure of the shakes or shingles, not to exceed the maximum exposure specified in Table R703.6.1. When installing shakes or shingles over a nonpermeable water-resistive barrier, furring strips shall be placed first vertically over the barrier and in addition, horizontal furring strips shall be fastened to the vertical furring strips prior to attaching the shakes or shingles to the horizontal furring strips. Where installed over foam plastic insulating sheathing, furring attachments shall comply with Sections R703.15, R703.16, or R703.17.   Alternatively, horizontal furring shall be gapped a minimum of 3/16-inch from the surface of the water-resistive barrier without the requirement for a vertical furring strip. The spacing between adjacent shingles to allow for expansion shall be 1/8 inch (3.2 mm) to 1/4 inch (6.4 mm) apart, and between adjacent shakes shall be 3/8 inch (9.5 mm) to 1/2 inch (12.7 mm) apart. The offset spacing between joints in adjacent courses shall be not less than 11/2 inches (38 mm).

(S11542) (RB220-22 AS)/ (S11523) (RB222-22 AS)

R703.6.3 Attachment. Wood shakes or shingles shall be installed according to this chapter and the manufacturer’s instructions. Where wind pressures determined in accordance with Table R301.2(2) do not exceed 30 psf, each shake or shingle shall be held in place by two stainless steel Type 304, Type 316 or hot-dipped zinc-coated galvanized corrosion-resistant box nails in accordance with Table R703.6.3(1) or R703.6.3(2). The hot-dipped zinc-coated galvanizing shall conform to minimum standard ASTM A153D or ASTM A641 Class 3S, 1.0 ounce per square foot. In single-course application, the fasteners shall be concealed by the course above and shall be driven approximately 1 inch (25 mm) above the butt line of the succeeding course and 3 /4 inch (19 mm) from the edge. In double-course applications, the exposed shake or shingle shall be face-nailed with two fasteners, driven approximately 2 inches (51 mm) above the butt line and 3 /4 inch (19 mm) from each edge. Fasteners installed within 15 miles (24 km) of salt water coastal areas shall be stainless steel Type 316. Fasteners for fireretardant-treated shakes or shingles in accordance with Section R902 or pressure-impregnated-preservativetreated shakes or shingles in accordance with AWPA U1 shall be stainless steel Type 316. The fasteners shall penetrate the sheathing or furring strips by not less than 1 /2 inch (13 mm) and shall not be overdriven. Fasteners for untreated (natural) and treated products shall comply with ASTM F1667

(S11543) (RB223-22 AS)

R703.8.2.2 Support by ledger or roof construction. A steel angle shall be placed directly on top of the ledger or roof construction. The ledger or roof supporting construction for supporting the steel angle shall consist of not fewer than three 2-inch by 6-inch (51 mm by 152 mm) wood members for wood construction or three 550S162 cold-formed steel members for cold-formed steel light frame construction. A The wood member abutting the vertical wall stud construction shall be anchored with not fewer than three5/8-inch (15.9 mm) diameter by 5- inch (127 mm) lag screws to every wood stud spacing. Each additional wood roof member shall be anchored by the use of two 10d nails at every wood stud spacing. A cold-formed steel member abutting the vertical wall stud shall be anchored with not fewer than nine No. 8 screws to every cold-formed steel stud. Each additional cold-formed steel roof member shall be anchored to the adjoining roof member using two No. 8 screws at every stud spacing. Not less than two-thirds the width of the masonry veneer thickness shall bear on the steel angle. Flashing and weep holes shall be located in the masonry veneer wythe in accordance with Figure R703.8.2.2(1) or Figure R703.8.2.2(2). The maximum height of the masonry veneer above the steel angle support shall be 12 feet 8 inches (3861 mm). The airspace separating the masonry veneer from the wood backing shall be in accordance with Sections R703.8.4 and R703.8.4.2. The support for the masonry veneer shall be constructed in accordance with Figure R703.8.2.2(1) or Figure R703.8.2.2(2).

The maximum slope of the a steel angle installed roof construction without stops shall be 7:12. A steel angle installed Roof construction with a slopes greater than 7:12 but not more than 12:12 shall have stops of a minimum 3-inch by 3-inch by1/4-inch (76 mm by 76 mm by 6.4 mm) steel plate welded to the angle at 24 inches (610 mm) on center along the angle or as approved by the building official.

##### FIGURE R703.8.2.2(1) EXTERIOR MASONRY VENEER SUPPORT BY ROOF MEMBERS

Add new text as follows:

##### FIGURE R703.8.2.2(2) EXTERIOR MASONRY VENEER SUPPORT BY LEDGER

(S11545) (RB226-22 AS)

TABLE R703.8.3.1 ALLOWABLE SPANS FOR LINTELS SUPPORTING MASONRY VENEERa, b, c, d

Portions of table not shown remain unchanged.

| SIZE OF STEEL ANGLEa, c, d (inches) |  | NO STORY ABOVE | ONE STORY ABOVE | TWO STORIES ABOVE | NO. OF 1/2-INCH OR EQUIVALENT REINFORCING BARS IN REINFORCED LINTELb, d |
| --- | --- | --- | --- | --- | --- |
| 5 or | x 3 x 5/16 × 31/2 × 5/16 | 10′-0″ | 8′-0″ | 6′-0″ | 2 |
| 5 |  |  |  |  |  |
| 6 or | × 31/2 × 5/16 | 14′-0″ | 9′-6″ | 7′-0″ | 2 |
| 5 x 3 x 5/16 with 2-9 gauge wires between first and second course |  |  |  |  |  |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm.

  - Long leg of the angle shall be placed in a vertical position.

  - Depth of reinforced lintels shall be not less than 8 inches and all cells of hollow masonry lintels shall be grouted solid. Reinforcing bars shall extend not less than 8 inches into the support.

  - Steel members indicated are adequate typical examples; other steel members meeting structural design requirements shall be permitted to be used.

  - Use either Either steel angle or reinforced lintel shall to span opening.

(S11546) (RB227-22 AS)

R703.10.1 Panel siding. Fiber-cement panels shall comply with the requirements of ASTM C1186, Type A, minimum Grade II or ISO 8336, Category A, minimum Class 2. Panels shall be installed with the long dimension either parallel or perpendicular to framing. Vertical and horizontal joints shall occur over nailable substrate framing members and shall be protected with caulking, or with battens or flashing, or be vertical or horizontal shiplap, or otherwise designed to comply with Section R703.1. Panel siding shall be installed with fasteners in accordance with Table R703.3(1) or the approved manufacturer’s instructions.

(Step 2 – S12345 AM/A1 – 2nd comment period)

| R703.10.2 Lap siding. Fiber-cement lap siding having a maximum width of 12 inches (305 mm) shall comply with the requirements of ASTM C1186, Type A, minimum Grade II or ISO 8336, Category A, minimum Class 2. Lap siding shall be lapped a minimum of 11/4 inches (32 mm) and lap siding not having tongue-and-groove end joints shall have the ends protected with caulking, covered with an H-section joint cover, located over a strip of metal or non-metal flashing, or shall be designed to comply with Section R703.1. Lap siding courses shall be installed with the fastener heads exposed or concealed, in accordance with Table R703.3(1) or approved manufacturer’s instructions. |  |
| --- | --- |

(Step 2 – S12346 AS)

R703.11.2 Installation over foam plastic sheathing.

Where vinyl siding, backed vinyl siding or insulated vinyl siding is installed over foam plastic sheathing, the vinyl siding shall comply with Section R703.11 and shall have a wind load design pressure rating in accordance with Table R703.11.2.

Exceptions:

1.Where the foam plastic sheathing is applied directly over wood structural panels, fiberboard, gypsum sheathing or other approved backing capable of independently resisting the design wind pressure, the vinyl siding shall be installed in accordance with Sections R703.11.1 and R703.3.3.

2.Where the vinyl siding manufacturer’s product specifications provide an approved wind load design pressure rating for installation over foam plastic sheathing, use of this wind load design pressure rating shall be permitted and the siding shall be installed in accordance with the manufacturer’s instructions.

3.Where the foam plastic sheathing and its attachment has a design wind pressure resistance complying with Sections R316.8 and R301.2.1, the vinyl siding shall be installed in accordance with Sections R703.11.1 and R703.3.3.

(Step 2 – S11873 AS)

703.12 Adhered masonry veneer installation. Adhered masonry veneer shall comply with the requirements of Section R703.7.3 and the requirements in Sections 13.112.1 and 13.3 12.3 of TMS 402. Adhered masonry veneer shall be installed in accordance with Section R703.7.1, Article 3.3D3.3C of TMS 602 or the manufacturer’s instructions.

No change to the remaining text

(S11528) (RB205-22)

TABLE R703.15.1 CLADDING MINIMUM FASTENING REQUIREMENTS FOR DIRECT ATTACHMENT OVER FOAM PLASTIC SHEATHING TO SUPPORT CLADDING WEIGHTa

| CLADDING FASTENER MINIMUM PENETRATION INTO WOOD WALL FRAMINGTHROUGH FOAM SHEATHINGb | CLADDING FASTENER TYPE AND MINIMUM SIZEc | CLADDING FASTENER VERTICAL SPACINGd (inches) | MAXIMUM THICKNESS OF FOAM SHEATHINGde (inches) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 16″ o.c. Fastener Horizontal Spacing |  |  |  |  | 24″ o.c. Fastener Horizontal Spacing |  |  |  |  |
|  |  |  | Cladding Weightf: |  |  |  |  | Cladding Weightf: |  |  |  |  |
|  |  |  | 3 psf | 11 psf | 15 psf | 18 psf | 25 psf | 3 psf | 11 psf | 15 psf | 18 psf | 25 psf |
| Wood framing (minimum 11/4-inch penetration) | 0.113″ diameter nail | 6 | 2.00 | 1.45 | 1.00 | 0.75 | DR | 2.00 | 0.85 | 0.55 | DR | DR |
|  |  | 8 | 2.00 | 1.00 | 0.65 | DR | DR | 2.00 | 0.55 | DR | DR | DR |
|  |  | 12 | 2.00 | 0.55 | DR | DR | DR | 1.85 | DR | DR | DR | DR |
|  | 0.120″ diameternail | 6 | 3.00 | 1.70 | 1.15 | 0.90 | 0.55 | 3.00 | 1.05 | 0.65 | 0.50 | DR |
|  |  | 8 | 3.00 | 1.20 | 0.80 | 0.60 | DR | 3.00 | 0.70 | DR | DR | DR |
|  |  | 12 | 3.00 | 0.70 | DR | DR | DR | 2.15 | DR | DR | DR | DR |
|  | 0.131″ diameter nail | 6 | 4.00 | 2.15 | 1.50 | 1.20 | 0.75 | 4.00 | 1.35 | 0.90 | 0.70 | DR |
|  |  | 8 | 4.00 | 1.55 | 1.05 | 0.80 | DR | 4.00 | 0.90 | 0.55 | DR | DR |
|  |  | 12 | 4.00 | 0.90 | 0.55 | DR | DR | 2.70 | 0.50 | DR | DR | DR |
|  | 0.162″ diameter nail | 6 | 4.00 | 3.55 | 2.50 | 2.05 | 1.40 | 4.00 | 2.25 | 1.55 | 1.25 | 0.80 |
|  |  | 8 | 4.00 | 2.55 | 1.80 | 1.45 | 0.95 | 4.00 | 1.60 | 1.10 | 0.85 | 0.50 |
|  |  | 12 | 4.00 | 1.60 | 1.10 | 0.85 | 0.50 | 4.00 | 0.95 | 0.60 | DR | DR |

For SI: 1 inch = 25.4 mm, 1 pound per square foot = 0.0479 kPa, 1 pound per square inch = 6.895 kPa. DR = Design Required.

o.c. = On Center.

- Wood framing shall be Spruce-pine-fir or any wood species with a specific gravity of 0.42 or greater in accordance with AWC NDS.

- The thickness of wood structural panels complying with the specific gravity requirement of Note a shall be permitted to be included in satisfying the minimum penetration into framing. For cladding connections to wood structural panels, refer to Table R703.3.2. For brick veneer tie connections to wood structural panels, refer to Table R703.8.4(2).

- Nail fasteners shall comply with ASTM F1667, except nail length shall be permitted to exceed ASTM F1667 standard lengths.

- Fastener vertical spacing is an average spacing associated with the following nail count per foot: 6 inch spacing is associated with 2 nails per foot, 8 inch spacing is associated with 1.5 nails per foot, and 12 inch spacing is associated with 1 nail per foot.

d.e. Foam sheathing shall have a minimum compressive strength of 15 psi in accordance with ASTM C578 or ASTM C1289.

- Cladding weight is the maximum weight of cladding materials in pounds per square foot of wall area. The 3 psf category typically applies to panel and lap siding materials; the 11 psf category typically applies to conventional 3-coat stucco of 7/8- inch thickness; and 15 psf to 25 psf categories typically apply to adhered masonry veneers.

###### TABLE R703.15.2 FURRING MINIMUM FASTENING REQUIREMENTS FOR APPLICATION OVER FOAM PLASTIC SHEATHING TO SUPPORT CLADDING WEIGHTa, b

Portions of table not shown remain unchanged.

| FURRING MATERIAL | FRAMING MEMBER | FASTENER TYPE AND MINIMUM SIZE | MINIMUM PENETRATION INTO WALL FRAMING (inches)c | FASTENER SPACING IN FURRING (inches) | MAXIMUM THICKNESS OF FOAM SHEATHINGe(inches) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 16″ o.c. Furringf |  |  |  |  | 24″ o.c. Furringf |  |  |  |  |
|  |  |  |  |  | Siding Weight:g |  |  |  |  | Siding Weight:g |  |  |  |  |
|  |  |  |  |  | 3 psf | 11 psf | 15 psf | 18 psf | 25 psf | 3 psf | 11 psf | 15 psf | 18 psf | 25 psf |

For SI: 1 inch = 25.4 mm, 1 pound per square foot = 0.0479 kPa, 1 pound per square inch = 6.895 kPa. DR = Design Required.

o.c. = On Center.

- Cladding weight is the maximum weight of cladding materials in pounds per square foot of wall area. The 3 psf category typically applies to panel and lap siding materials; the 11 psf category typically applies to conventional 3-coat stucco of 7/8- inch thickness; and 15 psf to 25 psf categories typically apply to adhered masonry veneers.

(S11551) (RB233-22 AMPC1)

R703.18 Fiber-mat reinforced cementitious backer units. Fiber-mat reinforced cementitious backer units used on exterior walls as a substrate for the application of exterior finish materials shall comply with ASTM C1325. Installation shall be in accordance with manufacturer’s installation instructions. Backer units shall be installed using corrosion-resistant fasteners. Finish materials shall be installed in accordance with manufacturer’s instructions.

(S11553) (RB235-22 AS)

Revise section R704 to read as follows:

R704.3 Aluminum fascia. Aluminum fascia shall have a minimum thickness of 0.019 inches and be installed in accordance with the manufacturer’s instructions and this code. Fasteners

shall be aluminum or stainless steel. Aluminum fascia shall be attached in accordance with Section R704.3.1, R704.3.2 or R704.3.3. The drip edge shall comply with R905.2.8.5, and the thickness of the drip edge shall be in accordance with Table R903.2.1.

R704.3.1 Fascia installation where the design wind pressure is 30 psf or less. Where the design wind pressure is 30 pounds per square foot (1.44 kPA) or less, aluminum fascia shall be attached as follows:

1. Finish nails shall be provided in the return leg (11/4″ × 0.057″ × 0.177″ head diameter) spaced a maximum of2. The fascia shall be inserted under the drip edge with not less than half the height of the drip edge or 1.0 inch (25 mm), whichever is greater, of the fascia material covered by the drip edge. One finish nail shall be centered in the face of the fascia from each end of the fascia material section located no more than 1 inch below the drip edge.

R704.3.2 Fascia installation where the design wind pressure exceeds 30 psf but is 60 psf or less. Where the design wind pressure is 60 pounds per square foot (2.88 kPA) or less, aluminum fascia shall be attached in accordance with Section R704.3.2.1 or Section R704.3.2.2.

R704.3.2.1. Where the height of the fascia from the top of the roof sheathing to the bottom of the subfascia plus any thickness of soffit material below the subfascia is less than or equal to 6.5 inches (165 mm) or less, aluminum fascia shall be attached as follows:

1. Finish nails shall be provided in the return leg (11/4″ × 0.057″ × 0.177″ head diameter) spaced a maximum of 24 inches (610 mm) on center, and 2. The fascia shall be inserted under the drip edge with not less than half the height of the drip edge or 1 inch (25 mm), whichever is greater, of the fascia material covered by the drip edge. One finish nail shall be centered in the face of the fascia from each end of the fascia material section located no more than 1 inch (25 mm) below the drip edge.

R704.3.2.2. Where the height of the fascia from the top of the roof sheathing to the bottom of the sub-fascia plus any thickness of soffit material below the subfascial is greater than 6.5 inches (165 mm), the top edge of the fascia shall be secured using utility trim installed beneath the drip edge with snap locks punched into the fascia spaced no more than 6 inches (152 mm) on center.

R704.3.3 Fascia installation where the design wind pressure exceeds 60 psf. Where the design wind pressure is greater than 60 pounds per square foot (2.88 kPA), aluminum

fascia shall be attached as follows in accordance with Section R704.3.3.1 or Section R704.3.3.2.

R704.3.3.1. Where the height of the fascia from the top of the roof sheathing to the bottom of the subfascia plus any thickness of soffit material below the subfascia isless than or equal to 4.5 inches (114 mm) or less, aluminum fascia shall be attached as follows:

1. Finish nails shall be provided in the return leg (11/4″ × 0.057″ × 0.177″ head diameter) spaced a maximum of 24 inches (610 mm) on center, and 2. The fascia shall be inserted under the drip edge with not less than half the height of the drip edge or 1.0 inch (25 mm), whichever is greater, of the fascia material covered by the drip edge. One finish nail shall be centered in the face of the fascia from each end of the fascia material section located no more than 1 inch (25 mm) below the drip edge.

R704.3.3.2 Where the height of the fascia from the top of the roof sheathing to the bottom of the subfascia plus any thickness of soffit material below the subfascia is greater than 4.5 inches (114 mm), the top edge of the fascia shall be secured using utility trim installed beneath the drip edge with snap locks punched into the fascia spaced no more than 6 inches (152 mm) on center.

R704.3 Aluminum fascia.

Aluminum fascia shall have a minimum thickness of 0.019 inches and be installed in accordance with the manufacturer’s instructions and this code. Fasteners shall be aluminum or stainless steel. Aluminum fascia shall be attached in accordance with Section R704.3.1,or R704.3.2 or an and  R704.4 or R704.5R704.3.3. The drip edge shall comply with R905.2.8.5, and the thickness of the drip edge shall be in accordance with Table R903.2.1.

R704.3.1 Fascia installation where the design wind pressure is 30 psf or less.

Where the design wind pressure is 30 pounds per square foot (1.44 kPA) or less, aluminum fascia shall be attached as follows:

1. Finish nails shall be provided in the return leg (11/4″ × 0.057″ × 0.177″ head diameter) spaced a maximum of 24 inches (610 mm) on center, and

2. The fascia shall be inserted under the drip edge with not less than half the height of the drip edge or 1.0 inch (25 mm), whichever is greater, of the fascia material covered by the drip edge. One finish nail shall be centered in the face of the fascia from each end of the fascia material section located no more than 1 inch below the drip edge.

Where the design wind pressure is 60 pounds per square foot (2.88 kPA) or less, aluminum fascia shall be attached in accordance with Section R704.3.2.1 or Section R704.3.2.2.

R704.3.2 Fascia installation where the design wind pressure exceeds 30 psf.

Where the design wind pressure is greater than 30 pounds per square foot (1.44 kPa), aluminum fascia shall be attached with one a finish nail [11/4 inches by 0.57 inch by 0.177 inch head diameter (32 mm × 14.5 mm × 4.5 mm)] in the return leg spaced a maximum of 16 inches (406 mm) on center. The fascia shall be inserted under the drip edge with not less than half the height of the drip edge or 1.0 inch (25 mm), whichever is greater, of the fascia material covered by the drip edge. And one of the following additional attachments:

- One finish nail shall be centered in the face of the fascia from each end of the fascia material section located no more than 1 inch (25mm) below the drip edge.

- Top edge of the fascia is secured using utility trim installed beneath the drip edge with snap locks punched into the fascia spaced not more than 6 inches (152 mm) on center, or

- An approved adhesive applied to the inside of the fascia cover or onto the exterior face of the subfascia framing member.

# R704.4 Corners on hip roofs.

Fascia shall be bent around corners and extend at least 12 inches (305 mm) beyond the corner. The next fascia material section shall overlap the extension a minimum of 3 inches (76 mm) and be fastened through the return leg at the overlap.

# R704.5 Corners on gable roofs.

Fascia shall be wrapped (tabbed) around and extend at least 1 inch (25 mm) beyond the corner. The gable fascia material section shall overlap the tab and be fastened through the fascia cover and the tab at the end with two face nails (11/4″ × 0.057″ × 0.177″ head diameter) for a 2 × 4-inch subfascia and three face nails for 2 × 6- inch and greater sub fascia.

FIGURE 704.2.1 TYPICAL SINGLE-SPAN VINYL OR ALUMINUM SOFFIT PANEL SUPPORT

FIGURE 704.2.2 TYPICAL DOUBLE-SPAN VINYL OR ALUMINUM SOFFIT PANEL SUPPORT

S - FBC-B/R - Ch. 14/7 – Glitch #1

# SECTION R705

BIPV SYSTEMS FOR EXTERIOR WALL COVERINGS AND FENESTRATION

R705.1 Listing required. In addition to complying with other provisions of this code, BIPV systems used as exterior wall coverings or fenestration shall be listed and labeled in accordance with UL 1703 or both UL 61730-1 and UL 61730-2.

(S11557) (RB240-22 AS)

R704.2.2 Fiber-cement soffit panels.

Fiber-cement soffit panels shall be a minimum of 1/4 inch thick and shall comply with the requirements of ASTM C1186, Type A, minimum Grade II or ISO 8336, Category A, minimum Class 2. Panel joints shall occur over nailable substrate framing or over wood structural panel sheathing. Soffit panels shall be installed with spans and fasteners in accordance with the manufacturer’s product approval specification and limitations of used to comply with Section 1403.2. Lap siding courses shall be installed with the fastener heads exposed or concealed in accordance with the approved manufacturer's instructions.

(Step 2 – S12348 AM/A1 – 2nd comment period)

Chapter 8 Roof-Ceiling Construction

R801.4 Fasteners and connectors exposed to saltwater environments. Fasteners and connectors in areas within 3,000 feet (914 m) of a saltwater coastline shall comply with Section R332.

(Step 2 – S12163 AS)/ (Step 2 – S12163 AM/A1 plus original – 2nd comment period)

R803.3. Lines, pipes, conduit and cables under roof decks.

Lines, pipes, conduit and cables installed below the roof deck shall have a minimum clearance of 1 ½ - inch (38mm) from the lowest surface of the roof deck except where they penetrate the roof deck.

Exceptions:

1.    Lines, pipes, conduit and cables installed under structural concrete decks.

2.  Protection provided by a 1/16" or greater shield plate and fastening pattern for sheathing and roof assemblies are maintained.

(Step 2 – R12201 A1 AM)

Revise Section R806.5 as follows:

R806.5 Unvented attic and unvented enclosed rafter assemblies. Unvented attics and unvented enclosed roof framing assemblies created by ceilings that are applied directly to the underside of the roof framing members and structural roof sheathing applied directly to the top of the roof framing members/rafters, shall be permitted where all the following conditions are met:

[Items 1-4 are unchanged]

5. Insulation shall comply with Item 5.3 and Item 5.1. As an alternative, where air-permeable insulation is located on top of the attic floor or on top of the attic ceiling, insulation shall comply with Item 5.3 and Item 5.2.

[Items within 5.1 are unchanged]

5.2 In Climate Zones 1, 2 and 3, air-permeable insulation installed in unvented attics on the top of the attic floor or on top of the ceiling shall meet the following requirements:

5.2.1 An approved vapor diffusion port shall be installed not more than 12 inches (305 mm) from the highest point of the roof, measured vertically from the highest point of the roof to the lower edge of the port.

5.2.2 The port area shall be greater than or equal to 1/1501:600 of the ceiling area. Where there are multiple ports in the attic, the sum of the port areas shall be greater than or equal to the area requirement.

[Items 5.2.3, 5.2.4, 5.2.5, and 5.3 are unchanged]

(Step 2 – R11762 AS)

R807.1 Attic access. Buildings with combustible ceiling or roof construction attics shall have an attic access opening to attic areas that have a vertical height of 30 inches (762 mm) or greater over an area of not less than 30 square feet (2.8 m2). The vertical height shall be measured from the top of the ceiling framing members to the underside of the roof framing members.

The rough-framed opening shall be not less than 22 inches by 30 inches (559 mm by 762 mm) and shall be located in a hallway or other location with ready access. Where located in a wall, the opening shall be not less than 22 inches wide by 30 inches high (559 mm wide by 762 mm high).  Where the access is located in a ceiling, minimum unobstructed headroom in the attic space shall be 30 inches (762 mm) along at least one sideat some point above the access measured vertically from the bottom of the ceiling framing members. See Section M1305.1.3 for access requirements where mechanical equipment is located in attics.

(S11563) (RB249-22 AS)/ (S11368) (RB250-22 AS)

Chapter 9 Roof Assemblies

R903.2 Flashing.

Flashings shall be used to seal roofing systems, where the system is interrupted or terminated and shall be installed in a manner that to prevents moisture from entering the wall and roof through joints in copings, through the roof system and components, moisture permeable materials and at intersections with parapet walls and other penetrations through the roof plane system.

(Step 2 – R11819 AS)

R903.2.1 Locations. Flashings shall be installed at wall and roof intersections, at roof edges, wherever there is a change in roof slope or direction and around roof openings,. Ppenetrations and where there is a change in roof slope or direction or a change of roof covering types. Where flashing or other components are is of metal, the metal shall be corrosion resistant with a thickness of not less than provided in Table R903.2.1 or in compliance with RAS 111. Exceptions: Flashing is not required at hip and ridge junctions on steep slope roof coverings (2/12 or greater) unless they are on metal roof coverings. This requirement does not apply where there is a change in direction or roof slope of less than 25 degrees in low slope roof coverings (less than 2/12).

(Step 2 -R11820 AS)

Add new section as follows:

R903.5 Roof ventilation. Intake and exhaust vents for ventilation of attic and enclosed rafter assemblies shall be provided in accordance with Sections R806.1 through R806.4 and the vent product manufacturer's installation instructions.

Exception: Unvented attic and unvented enclosed rafter assemblies in accordance with Section R806.5.

(Step 2 – R11759 AS)

R904.5.1 Nails. Nails shall be corrosion-resistant nails conforming to ASTM F1667 or an equal corrosion resistance by coating, electro galvanization, mechanical galvanization, hot dipped galvanization, stainless steel, nonferrous metal and alloys or other suitable corrosion resistant material, or corrosion resistance shall be demonstrated in accordance with TAS 114, Appendix E.  In areas within 3,000 feet (914 m) of a saltwater coastline, nails shall comply with Section R332.

R904.5.2 Screws. Wood screws shall conform to ANSI/ ASME B 18.6.1. Screws shall be corrosion resistant by coating, galvanization, stainless steel, nonferrous metal or other suitable corrosion-resistant material. The corrosion resistance shall be demonstrated through one of the following methods:

1. Corrosion resistance equivalent to ASTM A641, Class 1;

2. Corrosion resistance in accordance with TAS 114, Appendix E;

3. Corrosion-resistant coating exhibiting not more than 5-percent red rust after 1000 hours exposure in accordance with ASTM B117.

In areas within 3,000 feet (914 m) of a saltwater coastline, screws shall comply with Section R332.

R904.5.3 Clips. Clips shall be corrosion-resistant clips. The corrosion resistance shall meet 0.90 ounce per square foot (0.458 kg/m2) measured according ASTM A90/ A90M, TAS 114 Appendix E or an equal corrosion resistance coating, electro galvanization, mechanical galvanization, hot dipped galvanization, stainless steel, nonferrous metals and alloys or other suitable corrosion resistant material. Stainless steel clips shall conform to ASTM A240/A240M, Type 304.  In areas within 3,000 feet (914 m) of a saltwater coastline, clips shall comply with Section R332.

(Step 2 – S12163 AS)/ (Step 2 – S12163 AM/A1 plus original – 2nd comment period)

Revise as follows: R905.1.1 Underlayment. Underlayment for roof slopes 2:12 and greater shall conform to the applicable standards listed in this chapter. Underlayment materials required to comply with ASTM D226, D1970, D4869, D6757, or ASTM D8257, shall bear a label indicating compliance to the standard designation and, if applicable, type classification indicated. Underlayment for roof slopes 2:12 and greater shall be applied and attached in accordance with Section R905.1.1.1 or R905.1.1.2 as applicable. Underlayment shall lap over hips and ridges a minimum of 6 inches except where ventilation openings in accordance with Section R806 are provided. Exception: Compliance with Section R905.1.1.1 is not required for structural metal panels that do not require a substrate or underlayment.

(Step 2 – R12164 AS)

Revise as follows:

R905.2.4 Material standardsAsphalt shingles. Asphalt shingles shall comply with ASTM D3462.

R905.2.6 FasteningAttachment. Asphalt shingles shall have the minimum number of fasteners required by the manufacturer, but not less than four fasteners per strip shingle or two fasteners per partial individual shingle. Interlocking asphalt shingles shall have not less than two fasteners per shingle or partial shingle. Where the roof slope exceeds 21 units vertical in 12 units horizontal (21:12, 175-percent slope), shingles shall be installed as required by the manufacturer.

(Step 2 – R11789 AS)

Revise the first and second column headings of Table R905.2.6.1 as follows:

TABLE R905.2.6.1 CLASSIFICATION OF ASPHALT SHINGLES

Maximum Basic Wind Speed, Vult, From Figure R301.2(4) (mph)

Vasd as determined in accordance with Section R301.2.1.3 (mph)

ASTM D7158

ASTM D3161

(Step 2 – R11761 AS)

Revise as follows:

R905.2.5 Fasteners. Fasteners for asphalt shingles, including hip and ridge shingles, shall be galvanized steel, stainless steel, aluminum or copper roofing nails, minimum 12-gage [0.105 inch (3 mm)] shank with a minimum 3/8-inch-diameter (9.5 mm) head, complying with ASTM F1667, of a length to penetrate through the roofing materials and not less than 3/4 inch (19.1 mm) into the roof sheathing. Where the roof sheathing is less than 3/4 inch (19.1 mm) thick, the fasteners shall penetrate through the sheathing.

Exception: If the architectural appearance is to be preserved from below, an alternate method of attachment complying with the wind load requirements of Chapter 16 of the Florida Building Code, Building may be proposed unless otherwise addressed in Chapter 9. The alternative attachment shall be prepared, signed and sealed by a Florida-registered architect or a Florida-registered engineer, which architect or engineer shall be proficient in structural design.

Add new sections as follows:

R905.2.6.2 Wind resistance of hip and ridge shingles. Hip and ridge shingles shall comply with Section R905.2.6.2.1 or R905.2.6.2.2.

R905.2.6.2.1 Testing of hip and ridge shingles. Hip and ridge shingles shall be tested and classified in accordance with the wind test requirements in UL 2375 modified to use a wind speed of 110 mph (177 km/hr). Hip and ridge shingle packaging shall bear a label to indicate compliance with the modified version of UL 2375.

R905.2.6.2.2 Prescriptive alternative for attaching hip and ridge shingles. Prior to installing each hip or ridge shingle, two minimum 1-inch diameter spots of roof cement complying with ASTM D3019 or ASTM D4586, or other adhesive specified by the hip or ridge shingle manufacturer, shall be placed on each side of the hip or ridge. The spots shall be placed near the leading edge and fully covered by the exposed portion of the hip or ridge shingle. Each hip or ridge shingle shall be fastened in accordance with the hip or ridge shingle manufacturer's installation instructions.

(Step 2 – R11748 AM)

R905.2.8.4 Other flashing. Flashing against a vertical front wall, as well as soil stack, vent pipe and chimney flashing, shall be applied in accordance with the asphalt shingle manufacturer’s printed instructions.

(R11677) (RB265-22 AS)/Already covered by the foundation code

R905.6.8 Wind resistance of slate shingles. Slate shingles shall be tested in accordance with ASTM D3161. Slate shingle packaging shall bear a label indicating compliance with ASTM D3161 and the required classification in Table R905.6.8.

##### TABLE R905.6.8 CLASSIFICATION OF SLATE SHINGLES TESTED IN ACCORDACNE WITH ASTM D3161

| MAXIMUM ULTIMATE DESIGN WIND SPEED, Vult, FROM FIGURE R301.2(2) (mph) | MAXIMUM BASIC WIND SPEED, Vasd, FROM TABLE R301.2.1.3 (mph) | ASTM D3161 CLASSIFICATION |
| --- | --- | --- |
| 110 | 85 | A, D or F |
| 116 | 90 | A, D or F |
| 129 | 100 | A, D or F |
| 142 | 110 | F |
| 155 | 120 | F |
| 168 | 130 | F |
| 181 | 140 | F |
| 194 | 150 | F |

For SI: 1 mph=0.447 m/s

(R11576) (RB268-22 AS)

R905.2.8.5 Drip edge. Provide drip edge at eaves and gables of shingle roofs. Overlap is to be a minimum of 3 inches (76 mm). Eave drip edges shall extend 1/2 inch (13 mm) below sheathing and extend back on the roof a minimum of 2 inches (51 mm). Drip edge shall be installed over the underlayment. Self-adhering ASTM D1970 underlayment may be installed over a primed drip edge flange. There shall be a minimum 4 inch (102 51 mm) width of roof cement installed over the drip edge flange or the self-adhering underlayment. Drip edge shall be mechanically fastened a maximum of 4 12 inches (102 305 mm) on center with fasteners as specified in Section R905.2.5. Where the Vasd as determined in accordance with Section R301.2.1.3 is 110 mph (177 km/h) or greater or the mean roof height exceeds 33 feet (10 058 mm), drip edges shall be mechanically fastened a maximum of 4 inches (102 mm) on center.

(Step 2 – R11750 AS)

R905.3 Clay and concrete tile. R905.3.8.1 Drip edge. Drip edge shall be installed at eaves and gables of steep slope roofs (2:12 and above). Drip edge shall be applied according to the FRSA/TRI Florida High Wind Concrete and Clay Roof Tile Installation Manual, Seventh Edition. R905.4 Metal roof shingles. R905.4.6.1 Drip edge. Drip edge shall be installed at eaves and gables of steep slope roofs (2:12 and above). Drip edge shall be lapped a minimum of 3 inches (76 mm). Eave drip edges shall extend 1/2 inch (13 mm) below sheathing and extend back on the roof a minimum of 2 inches (51 mm). Drip edge shall be installed over the underlayment. Self-adhering underlayment complying with ASTM D1970 is permitted to be installed over a primed drip edge flange. Drip edge shall be mechanically fastened a maximum of 4 inches (102 mm) on center. R905.5 Mineral-surfaced roll roofing. R905.5.6 Drip edge. Drip edge shall be installed at eaves and gables of steep slope roofs (2:12 and above). Drip edge shall be lapped a minimum of 3 inches (76 mm). Eave drip edges shall extend 1/2 inch (13 mm) below sheathing and extend back on the roof a minimum of 2 inches (51 mm). Drip edge shall be installed over the underlayment. Self-adhering underlayment complying with ASTM D1970 is permitted to be installed over a primed drip edge flange. Drip edge shall be mechanically fastened a maximum of 4 inches (102 mm) on center. R905.6 Slate and slate-type shingles. R905.6.6.1 Drip edge. Drip edge shall be installed at eaves and gables of steep slope roofs (2:12 and above). Drip edge shall be lapped a minimum of 3 inches (76 mm). Eave drip edges shall extend 1/2 inch (13 mm) below sheathing and extend back on the roof a minimum of 2 inches (51 mm). Drip edge shall be installed over the underlayment. Self-adhering underlayment complying with ASTM D1970 is permitted to be installed over a primed drip edge flange. Drip edge shall be mechanically fastened a maximum of 4 inches (102 mm) on center. R905.7 Wood shingles. R905.7.8 Drip edge. Drip edge shall be installed at eaves and gables of steep slope roofs (2:12 and above). Drip edge shall be lapped a minimum of 3 inches (76 mm). Eave drip edges shall extend 1/2 inch (13 mm) below sheathing and extend back on the roof a minimum of 2 inches (51 mm). Drip edge shall be installed over the underlayment. R905.8 Wood shakes. R905.8.10 Drip edge. Drip edge shall be installed at eaves and gables of steep slope roofs (2:12 and above). Drip edge shall be lapped a minimum of 3 inches (76 mm). Eave drip edges shall extend 1/2 inch (13 mm) below sheathing and extend back on the roof a minimum of 2 inches (51 mm). Drip edge shall be installed over the underlayment. R905.10 Metal roof panels. R905.10.6 Drip edge. Drip edge shall be installed at eaves and gables of steep slope roofs (2:12 and above). Drip edge shall be lapped a minimum of 3 inches (76 mm). Eave drip edges shall extend 1/2 inch (13 mm) below sheathing and extend back on the roof a minimum of 2 inches (51 mm). Drip edge shall be installed over the underlayment. Self-adhering underlayment complying with ASTM D1970 is permitted to be installed over a primed drip edge flange. Drip edge shall be mechanically fastened a maximum of 4 inches (102 mm) on center. R905.16 Building-integrated photovoltaic roofing modules/shingles. R905.16.8 Drip edge. Drip edge shall be installed at eaves and gables of steep slope roofs (2:12 and above). Drip edge shall be lapped a minimum of 3 inches (76 mm). Eave drip edges shall extend 1/2 inch (13 mm) below sheathing and extend back on the roof a minimum of 2 inches (51 mm). Drip edge shall be installed over the underlayment. Self-adhering underlayment complying with ASTM D1970 is permitted to be installed over a primed drip edge flange. Drip edge shall be mechanically fastened a maximum of 4 inches (102 mm) on center.

(Step 2 – R12071 AM/A1 – 2nd comment period)

Replace the original proposal with the following:

R905.10.4.1 Metal hip and ridge covers. Metal roof hip and ridge covers shall be tested for uplift resistance in accordance with ANSI/MCA FTS-1.

(Step 2 – R12073 AM/A1 – 2nd comment period)

R905.2.4 Asphalt shingles.

Asphalt shingles shall comply with ASTM D3462.

R905.2.9 Coating of Asphalt Shingles.

Application of elastomeric and or maintenance coating systems over existing asphalt shingles shall be in accordance with the shingle manufacturer’s approved installation instructions.

R908.3 Recovering versus replacement.

New roof coverings shall not be installed without first removing all existing layers of roof coverings where any of the following conditions occur:

1. Where the existing roof or roof covering is water soaked or has deteriorated to the point that the existing roof or roof covering is not adequate as a base for additional roofing.

2. Where the existing roof covering is wood shingle or shake, slate, clay, cement or asbestos-cement tile.

3. Where the existing roof has two or more applications of any type of roof covering.

4. When blisters exist in any roofing, unless blisters are cut or scraped open and remaining materials secured down before applying additional roofing.

5. Where the existing roof covering is to be used for attachment fora new roof system and compliance with the securement provisions of Section R905 cannot be met.

Exceptions:

1.Complete and separate roofing systems, such as standing-seam metal roof systems, that are designed to transmit the roof loads directly to the building’s structural system and that do not rely on existing roofs and roof coverings for support, shall not require the removal of existing roof coverings.

2. Reserved.

3. The application of new protective coating over existing spray polyurethane foam roofing systems shall be permitted without tear-off of existing roof coverings.

4. Reserved.

5. Roof coating. Application of elastomeric and/or maintenance coating systems over existing asphalt shingles shall be in accordance with the shingle manufacturer’s approved installation instructions.

(Step 2 – R11860 AS)

R905.4.6.1 Flashing Flashing shall comply with this Chapter and the metal roof covering manufacturer’s installation instructions.

(Step 2 – R11821 AS)

R905.5 Mineral-surfaced roll roofing.

R905.5.6 Flashing

Flashing shall comply with this Chapter and the mineral-surfaced roll roofing manufacturer’s installation instructions.

(Step 2 – R11822 AS)

R905.6 Slate and slate-type shingles R905.6.6 Flashing. Flashing and counterflashing shall be made with sheet metal. Valley flashing shall be a minimum of 16 inches (406 mm) wide. Valley and flashing metal shall be a minimum thickness as provided in Table R903.2.1 for nonferrous metal or stainless steel. Chimneys, stucco or brick walls shall have not less than two plies of felt for a cap flashing consisting of a 4-inch-wide (102 mm) strip of felt set in plastic cement and extending 1 inch (25 mm) above the first felt and a top coating of plastic cement. The felt shall extend over the base flashing 2 inches (51 mm). R905.6.6.1 Flashing shall comply with this Chapter and the slate and slate type shingle manufacturer’s installation instructions.

(Step 2 – R11823 AS)

R905.7 Wood shingles.

R905.7.6 Valley flashing.

Reserved.

R905.7.6.1 Flashing.

Flashing shall comply with this Chapter and the Cedar Shake and Shingle Bureau New Roof Construction Manual.

(Step 2 – R11824 AS)

R905.8 Wood shakes. R905.8.8 Valley flashing. Reserved. R905.8.8.1 Flashing. Flashing shall comply with this Chapter and the Cedar Shake and Shingle Bureau New Roof Construction Manual. (Step 2 – R11825 AS)

R905.9 Built-up roofs.

R905.9.4 Flashing

Flashing shall comply with this Chapter and the built-up roofing manufacturer’s installation instructions.

(Step 2 – R11826 AS)

Revise Table R905.9.2 as follows:

TABLE R905.9.2 BUILT-UP ROOFING MATERIAL STANDARDS

[only relevant table rows are shown]

Asphalt cements used in roofing        ASTM D2822; D3019; D4586

Asphalt coatings used in roofing        ASTM D1227; D2823; D2824; D4479

(Step 2 – R11755 AS)

R905.10 Metal roof panels R905.10.6 Flashing shall comply with this Chapter and the metal roof panel manufacturer’s installation instructions. (Step 2 – R11798 A1 plus original AM) R905.11 Modified bitumen roofing R905.11.4 Flashing Flashing shall comply with this Chapter and the modified bitumen roofing manufacturer’s installation instructions.

(Step 2 – R11827 AS) R905.12 Thermoset single-Single-ply roofing. The installation of thermoset single-ply roofing single-ply membrane roof covering shall comply with the provisions of this section. R905.12.1 Slope.Thermoset single-Single-ply membrane roofs roof coverings shall have a design slope of not less than one-fourth unit vertical in 12 units horizontal (2-percent slope) for drainage. R905.12.2 Material standards. Thermoset single Single-ply membrane roof coverings shall comply with ASTM D4637 or ASTM D5019 the material standards in Table R905.12. Add new text as follows: TABLE R905.12 SINGLE-PLY ROOFING MATERIAL STANDARDS MATERIAL; MATERIALSTANDARD. Chlorosulfonated polyethylene (CSPE) or polyisobutylene (PIB); ASTM D5019. Ethylene propylene diene monomer (EPDM); ASTM D4637. Ketone Ethylene Ester (KEE); ASTM D6754. Polyvinyl chloride (PVC); ASTM D4434. Thermoplastic polyolefin (TPO); ASTM D6878. Revise as follows: R905.12.3 Application. Thermoset single Single-ply membrane roof roofs coverings shall be installed in accordance with this chapter and the manufacturer’s installation instructions. The approved allowable uplift resistance for the thermoset single-ply membrane roof shall be equal to or greater than the uplift resistance for the roof based on Table R301.2(2). R905.13 Thermoplastic single-ply roofing. The installation of thermoplastic single-ply roofing shall comply with the provisions of this section. R905.13.1 Slope. Thermoplastic single-ply membrane roofs shall have a design slope of not less than one-fourth unit vertical in 12 units horizontal (2-percent slope). R905.13.2 Material standards. Thermoplastic single-ply roof coverings shall comply with ASTM D4434, ASTM D6754 or ASTM D6878. R905.13.3 Application. Thermoplastic single-ply roofs shall be installed in accordance with this chapter and the manufacturer’s instructions. The approved allowable uplift resistance for the thermoplastic single-ply roof shall be equal to or greater than the uplift resistance for the roof based on Table R301.2(2).. (Step 2 – R11856 AS). R905.15 Liquid-applied roofing. R905.15.4 Flashings. Flashing shall be applied in accordance with this Chapter and the liquid-applied roofing manufacturer's installation instructions

(Step 2 – R11828 AS)

R905.16 Building-integrated photovoltaic roofing modules/shingles.

R905.16.8 Flashing

Flashing shall comply with this Chapter and the photovoltaic module/shingle manufacturer’s installation instruction.

(Step 2 – R11829 AS)

R905.17.4 Photovoltaic panels and modules. R905.17.5 Flashing Flashing shall comply with this Chapter and the roof covering manufacturer's installation instructions. (Step 2 – R11830 AM/A1 – 2nd comment period)

# SECTION R905.18ROOF COATINGS

R905.18.1 General. The installation of a roof coating on a roof covering shall comply with the requirements of Section R902, R904 and this section. Roof coatings shall be installed in accordance with the manufacturer's installation instructions.

R905.18.2 Material standards. Roof coating materials shall comply with one of the standards in Table R905.18.2.

##### TABLE R905.182 ROOF COATING MATERIAL STANDARDS

| COATING MATERIAL | STANDARD |
| --- | --- |
| Acrylic coating | ASTM D6083 |
| Asphaltic emulsion coating | ASTM D1227 |
| Asphalt coating | ASTM D2823 |
| Asphalt roof coating | ASTM D4479 |
| Aluminum-pigmented asphalt coating | ASTM D2824 |
| Silicone coating | ASTM D6694 |
| Moisture-cured polyurethane coating | ASTM D6947 |

(R11583) (RB280-22 AS)

Replace the original

908.3 Recovering versus replacement.

New roof coverings shall not be installed without first removing all existing layers of roof coverings down to the roof deck where any of the following conditions occur:

1.     Where the existing roof covering or roof system components covering is are water soaked or has have deteriorated to the point that the existing roof or roof covering is not adequate as a base for additional roofing.

2.     Where the existing roof covering is wood shake, slate, clay, cement or asbestos-cement tile.

3.     Where the existing roof has two or more applications of any type of roof covering.

4.     When blisters exist in any roofing, unless blisters are cut or scraped open and remaining materials secured down before applying additional roofing.

5.  Where the existing roof covering is to be used for attachment for a new roof system and compliance with the securement provisions of Section 1504.1 of the Florida Building Code, Building cannot be met.

Exceptions:

1.     Complete and separate roofing systems, such as standing-seam metal roof systems, that are designed to transmit the roof loads directly to the building’s structural system and that do not rely on existing roofs and roof coverings for support, shall not require the removal of existing roof coverings.

2.     Reserved. Where two roof covering applications exist and the upper roof system or roof coverings are removed, or the upper roof system and original roof covering are removed, leaving an existing or repaired substrate that is adequate for installation of a new approved roof covering or roof system.

3.     The application of a new protective coating over an existing spray polyurethane foam roofing system shall be permitted without tear-off of existing roof coverings.

4.     Reserved

5.     Roof Coating. Application of elastomeric and or maintenance coating systems over existing asphalt shingles shall be in accordance with the shingle manufacturer’s approved installation instructions.

Where the existing roof assembly includes a vapor barrier or self-adhering membrane is adhered to the roof deck, the existing membrane shall be permitted to remain in place and covered with an additional layer of membrane in accordance with Section R905.

(Step 2 – R11863 AM/A1 – 2nd comment period)

Chapter 10 Chimneys and Fireplaces

R1001.11 Fireplace clearance. Wood beams, joists, studs and other combustible material shall have a clearance of not less than 2 inches (51 mm) from the front faces and sides of masonry fireplaces and not less than 4 inches (102 mm) from the back faces of masonry fireplaces. The airspace shall not be filled, except for noncombustible material or to provide fireblocking in accordance with Section R1001.12.

###### Exceptions:

- Masonry fireplaces listed and labeled for use in contact with combustibles in accordance with UL 127 and installed in accordance with the manufacturer’s instructions are permitted to have combustible material in contact with their exterior surfaces.

- Where masonry fireplaces are part of masonry or concrete walls, combustible materials shall not be in contact with the masonry or concrete walls less than 12 inches (306 mm) from the inside surface of the nearest firebox lining.

- Exposed combustible trim and the edges of sheathing materials such as wood siding, flooring and gypsum board shall be permitted to abut the masonry fireplace sidewalls and hearth extension in accordance with Figure R1001.11, provided such combustible trim or sheathing is not less than 12 inches (305 mm) from the inside surface of the nearest firebox lining.

- Exposed combustible mantels or trim is permitted to be placed directly on the masonry fireplace front surrounding the fireplace opening providing such combustible materials are not placed within 6 inches (152 mm) of a fireplace opening. Combustible material within 12 inches (306 mm) of the fireplace opening shall not project more than1/8 inch (3 mm) for each 1-inch (25 mm) distance from such an opening.

(R11585) (RB283-22 AM)

R1001.11 Fireplace clearance. Wood beams, joists, studs and other combustible material shall have a clearance of not less than 2 inches (51 mm) from the front faces and sides of masonry fireplaces and not less than 4 inches (102 mm) from the back faces of masonry fireplaces. The airspace shall not be filled, except to provide fireblocking in accordance with Section R1001.12.

###### Exceptions:

  - Masonry fireplaces listed and labeled for use in contact with combustibles in accordance with UL 127 and installed in accordance with the manufacturer’s instructions are permitted to have combustible material in contact with their exterior surfaces.

  - Where masonry fireplaces are part of masonry or concrete walls, combustible materials shall not be in contact with the masonry or concrete walls less than 12 inches (306 mm) from the inside surface of the nearest firebox lining.

  - Exposed combustible trim and the edges of sheathing materials such as wood siding, flooring and gypsum board shall be permitted to abut the masonry fireplace sidewalls and hearth extension in accordance with Figure R1001.11, provided such combustible trim or sheathing is not less than 12 inches (305 mm) 8 inches (203 mm) from the inside surface of the nearest firebox lining. Where the fireplace opening is 6 square feet (0.6 m2) or larger such combustible or sheathing shall be permitted to abut the masonry fireplace sidewalls and hearth extension provided such combustible or sheathing is not less than 12 inches (305 mm) from the inside surface of the nearest firebox lining.

  - Exposed combustible mantels or trim is permitted to be placed directly on the masonry fireplace front surrounding the fireplace opening providing such combustible materials are not placed within 6 inches (152 mm) of a fireplace opening. Combustible material within 12 inches (306 mm) of the fireplace opening shall not project more than1/8 inch (3 mm) for each 1-inch (25 mm) distance from such an opening.

(R11586) (RB284-22 AS)

R1003.18 Chimney clearances. Any portion of a masonry chimney located in the interior of the building or within the exterior wall of the building shall have a minimum airspace clearance to combustibles of 2 inches (51 mm). Chimneys located entirely outside the exterior walls of the building, including chimneys that pass through the soffit or cornice, shall have a minimum airspace clearance of 1 inch (25 mm). The airspace shall not be filled, except to provide fire blocking in accordance with Section R1003.19.

###### Exceptions:

- Masonry chimneys equipped with a chimney lining system listed and labeled for use in chimneys in contact with combustibles in accordance with UL 1777 and installed in accordance with the manufacturer’s instructions are permitted to have combustible material in contact with their exterior surfaces.

- Where masonry chimneys are constructed as part of masonry or concrete walls, combustible materials shall not be in contact with the masonry or concrete wall less than 12 inches (305 mm) 8 inches (203 mm) from the inside surface of the nearest flue lining.

- Exposed combustible trim and the edges of sheathing materials, such as wood siding and flooring, Combustible materials shall be permitted to abut the masonry chimney side walls, in accordance with Figure R1003.18, provided such combustible trim or sheathing material is not less than 8 inches (203 mm) from the inside surface of the nearest flue lining.

(R11587) (RB287-22 AS)/ (R11588) (RB288-22 AS)

R1004.4 Unvented gas log heaters. An unvented gas log heater or a fireplace insert shall not be installed in a factory-built fireplace unless the fireplace system has been specifically tested, listed and labeled for such use in accordance with UL 127.

(R11589) (RB289-22 AS)

R1005.9 Factory built chimney offsets. Where a fireplace manufacturer's instructions do not address factory built chimney offsets, no part of the chimney shall be at an angle of more than 30 degrees (0.52 rad.) from vertical at any point in the assembly and the chimney assembly shall not include more than 4 elbows.

(M11619) (RM22-21 AM)

CHAPTER 11 [RE] ENERGY EFFICIENCY

No change

CHAPTER 12 MECHANICAL ADMINISTRATION

No change

CHAPTER 13 GENERAL MECHANICAL SYSTEM REQUIREMENTS

M1308.2.1 Piping through bored holes or notches. Where piping is installed through holes or notches in framing members and is located less than 11/2 inches (38 mm) 1 1/4 inches (32 mm) from the framing member face to which wall, ceiling or floor membranes will be attached, the pipe shall be protected by shield plates that cover the width of the pipe and the framing member and that extend 2 inches (51 mm) to each side of the framing member. Where the framing member that the piping passes through is a bottom plate, bottom track, top plate or top track, the shield plates shall cover the framing member and extend 2 inches (51 mm) above the bottom framing member and 2 inches (51 mm) below the top framing member.

M1308.2.2 Piping in other locations. Where piping is located within a framing member and is less than 1 1/2 inches (38 mm) 1 1/4 inches (32 mm) from the framing member face to which wall, ceiling or floor membranes will be attached, the piping shall be protected by shield plates that cover the width and length of the piping. Where piping is located outside of a framing member and is located less than 11/2 inches (38 mm) from the nearest edge of the face of the framing member to which the membrane will be attached, the piping shall be protected by shield plates that cover the width and length of the piping.

(M11352) (P6-21 Part II AM)

Chapter 14 Heating and Cooling Equipment

M1402.1 General. Oil-fired central furnaces shall conform to be listed and labeled in accordance with ANSI /UL 727. Electric furnaces shall conform to be listed and labeled in accordance with UL 1995 or UL/CSA60335-2-40.

M1403.1 Heat pumps. Electric heat pumps shall be listed and labeled in accordance with UL 1995 or UL/CSA/ANCE 60335-2-40.

M1412.1 Approval of Listed equipment. Absorption systems shall be installed in accordance with the manufacturer’s instructions. Absorption equipment shall comply be listed and labeled in accordance with UL 1995 or UL/CSA/ANCE 60335-2-40.

(M11608) (RM4-21 AS)

.

M1404.1 Compliance. Refrigeration cooling equipment shall comply be listed and labeled in accordance with UL 484, UL 1995, or UL/CSA 60335-2-40 Section M1411.

(M11609) (RM05-21 AM)

M1411.1 Approved refrigerants. Refrigerants used in direct refrigerating systems shall conform to the applicable provisions of ANSI/ASHRAE 34.

###### Add new text as follows:

M1411.2 Refrigeration system listing. Refrigeration systems using Group A2L refrigerants shall be listed and labeled to UL 60335-2- 40/CAN/CSA C22.2 No. 60335-2-40. Refrigeration systems using Group A1 refrigerants shall be listed to UL 60335-2-40/CAN/CSA C22.2 No. 6-335-2-40 or UL 1995/CSA C22.2 No. 236. The equipment shall be installed in accordance with the listing.

M1411.3 Refrigeration system installation. Refrigeration systems shall be installed in accordance with the manufacturer's installation instructions. After installation, the manufacturer's installation instructions, owner's manuals, service manuals, and any other product literature provided with the equipment shall be attached to the indoor unit or left with the homeowner.

M1411.4 Field installed accessories. All Field installed accessories shall be installed in accordance with the accessory and equipment manufacturer's installation instructions. Accessories installed in the ductwork of Group A2L refrigeration systems shall not contain electric heating elements, open flames, or devices switching electrical loads greater than 2.5 kVA.

M1411.5 Signs and identification. Each refrigeration system using Group A2L refrigerant shall have the following information legibly and permanently indicated on a markable label provided by the equipment manufacturer.

- Contact information of the responsible company that installed the refrigeration system, and

- The system refrigerant charge and the refrigerant number.

M1411.6 Refrigerant charge. All refrigeration systems shall have refrigerant charge in compliance with the equipment manufacturer's installation instructions and the requirements of the listing. Group A2L refrigerant charge for an individual refrigeration system shall not exceed 34.5 lbs (15.7 kg).

M1411.7 Group A2L refrigerant piping testing. The piping system containing Group A2L refrigerant shall be tested in accordance with the manufacturer's installation instructions and the requirements of the listing.

###### Renumber existing sections as appropriate.

(M11610) (RM6-21 AS)

M1411.3.2 Drain pipe materials and sizes.

Components of the condensate disposal system shall be ABS, cast iron, copper, cross-linked polyethylene, CPVC, galvanized steel, PE-RT, polyethylene, polypropylene or PVC pipe or tubing. Components shall be selected for the pressure and temperature rating of the installation. Joints and connections shall be made in accordance with the applicable provisions of Chapter 30. Condensate waste and drain line size shall be not less than 3/4-inch (19 mm) nominal diameter from the drain pan connection to the place of condensate disposal. Where the drain pipes from more than one unit are manifolded together for condensate drainage, the pipe or tubing shall be sized in accordance with an approved method. Drain pipes conveying condensate from cooling coils and evaporators shall be insulated with a minimum of R-3 when located inside a building’s unconditioned space.

(Step 2 – M11776 AS)

SECTION M1412—ABSORPTION COOLING EQUIPMENT

M1412.1 Approval of Listed equipment. Absorption systems shall be installed in accordance with the manufacturer’s instructions. Absorption equipment shall comply be listed and labeled in accordance with UL 1995 or UL/CSA/ANCE 60335-2-40.

(Step 2 – M12050 AS)

Chapter 15 Exhaust Systems

M1502.6 Makeup air .  Installations exhausting more than 200 cfm (0.09 m3/s) shall be provided with makeup air.

M1502.6.1 Closet Installation .  Where a closet is designed for the installation of a clothes dryer, makeup air shall be provided in accordance with the dryer manufacturer's installation instructions. If the manufacturer installation instructions do not include specifications for provision of makeup air, one or more permanent openings having a total area of not less than 100 square inches (645 mm2) shall be provided in the closet enclosure, or makeup air shall be provided by other approved means.

M1503.4.1 Location. Kitchen exhaust makeup air that is ducted from the outdoors shall be discharged into the same room in which the exhaust system is located or into rooms or duct systems that communicate through one or more permanent openings with the room in which such exhaust system is located. Such permanent openings shall have a net cross-sectional area not less than the required area of the makeup air supply openings.

(M11611) (RM8-21 AMPC1)

M1507.4 Local exhaust rates. Local exhaust systems shall be designed to have the capacity to exhaust the minimum airflow rate determined in accordance with Table M1507.4. The M1507.4 at one or more speed settings. The listed exhaust airflow rate for a bathroom or toilet roomexhaust fan shall equal or exceed the exhaust airflow rate in Table M1507.4 at a minimum static pressure of 0.25 inch wc at one or more speed settings.

##### TABLE M1507.4 MINIMUM REQUIRED LOCAL EXHAUST RATES FOR ONE- AND TWO-FAMILY DWELLINGS

| AREA TO BE EXHAUSTED | EXHAUST RATESa |
| --- | --- |
| Kitchens | 100 cfm intermittent or 25 cfm continuous |
| Bathrooms-Toilet Rooms | Mechanical exhaust capacity of 50 cfm intermittent or 20 cfm continuous |

For SI: 1 cubic foot per minute = 0.0004719 m3/s, 1 inch water column = 0.2488 kPa.

- The listed exhaust rate for bathrooms-toilet rooms shall equal or exceed the exhaust rate at a minimum static pressure of 0.25 inch water column.

(M11620) (RM26-21 AMPC1)

###### Revise as follows:

M1507.4 Local exhaust rates. Local exhaust systems shall be designed to have the capacity to exhaust the minimum airflow rate determined in accordance with Table M1507.4 at one or more speed settings.

M1503.3 Kitchen exhaust rates. Where domestic kitchen cooking appliances are equipped with ducted range hoods or down-draft exhaust systems, the fans shall be sized in accordance with Section M1507.4 the exhaust rate shall equal or exceed the airflow required in Table M1507.4 at one or more speed settings.

##### M1506 LOCAL EXHAUST RATES .

##### TABLE M1507.4 MINIMUM REQUIRED LOCAL EXHAUST RATES FOR ONE- AND TWO-FAMILY DWELLINGS

| AREA TO BE EXHAUSTED | EXHAUST RATESa |
| --- | --- |
| Kitchens | 100 cfm intermittent or 25 cfm continuous |
| Bathrooms-Toilet Rooms | Mechanical exhaust capacity of 50 cfm intermittent or 20 cfm continuous |

For SI: 1 cubic foot per minute = 0.0004719 m3/s, 1 inch water column = 0.2488 kPa.

a. The listed exhaust rate for bathrooms-toilet rooms shall equal or exceed the exhaust rate at a minimum static pressure of 0.25 inch water column.

(M11615) (RM17-21 AMPC1)

Chapter 16 Duct Systems

M1602.2 Return air openings. Return air openings for heating, ventilation and air-conditioning systems shall comply with all of the following:

  - - No change

4.Return air shall not be taken from a closet,bathroom, toilet room, kitchen, garage, mechanical room, boiler room, furnace room or unconditioned attic.

###### Exceptions: No change

(M11616) (RM18-21 AS)

CHAPTER 17 COMBUSTION AIR

No change

Chapter 18 Chimneys and Vents

No change

CHAPTER 19 SPECIAL APPLIANCES, EQUIPMENT AND SYSTEMS

No change

CHAPTER 20 BOILERS AND WATER HEATERS

M2002.4 Pressure relief valve. Boilers shall be equipped with pressure relief valves with minimum rated capacities for the equipment served. Pressure relief valves shall be set at the maximum rating of the boiler. Discharge shall be piped to drains by gravity to within 18 inches (457 mm) of the floor or to an open receptor.

M2002.4.1 Requirements for discharge pipe. The discharge piping serving a pressure relief valve, temperature relief valve or combination valve shall:

- Not be directly connected to the drainage system.

- Discharge through an air break located in the same room as the boiler.

- Not be smaller than the diameter of the outlet of the valve served and shall discharge full size to the air.

- Serve a single relief device and shall not connect to piping serving any other relief device or equipment.

- Discharge to the floor, to the pan serving the boiler or storage tank, to a waste receptor or to the outdoors.

- Discharge in a manner that does not cause personal injury or structural damage.

- Discharge to a termination point that is readily observable by the building occupants.

- Not be trapped.

- Be installed to flow by gravity.

- Terminate not more than 6 inches (152 mm) above the floor or waste receptor flood level rim.

- Not have a threaded connection at the end of the piping.

- Not have valves or tee fittings.

- Be constructed of those materials indicated in Section P2906.5 or materials tested, rated and approved for such use in accordance with ASME A112.4.1.

(M11332/M66-21 Part II AMPC1)

SECTION M2006—POOL HEATERS

M2006.1 General.

Pool and spa heaters shall be installed in accordance with the manufacturer’s installation instructions. Oil-fired pool heaters shall comply be listed and labeled in accordance with UL 726. Electric pool and spa heaters shall comply be listed and labeled in accordance with UL 1261. Pool and spa heat pump water heaters shall be listed and labeled in accordance with UL 1995 or UL/CSA/ANCE 60335-2-40.

(Step 2 – M12142 AS)

Chapter 21 Hydronic Piping

##### TABLE M2101.1 HYDRONIC PIPING AND FITTING MATERIALS

| MATERIAL | USE CODEa | STANDARDb | JOINTS | NOTES |
| --- | --- | --- | --- | --- |
| Acrylonitrile butadiene styrene (ABS) plastic pipe | 1, 5 | ASTM D1527, ASTM F2806, ASTM F2969 | Solvent cement joints | — |
| Chlorinated poly (vinyl chloride) (CPVC) pipe and tubing | 1, 2, 3 | ASTM D2846 | Solvent cement joints, compression joints and threaded adapters | — |
| Copper and copper-alloy pipe | 1 | ASTM B42, ASTM B43, ASTM B302 | Brazed, soldered and mechanical fittings threaded, welded and flanged | — |
| Copper and copper-alloy tubing (Type K, L or M) | 1, 2 | ASME B16.51, ASTM B75, ASTM B88, ASTM B135, ASTM B251, ASTM B306 | Brazed, soldered, press-connected and flared mechanical fittings | Joints embedded in concrete shall be brazed |
| Cross-linked polyethylene (PEX) | 1, 2, 3 | ASTM F876; ASTM F3253 | (See PEX fittings) | Install in accordance with manufacturer’s instructions |
| Cross-linked polyethylene/ aluminum/cross- linked polyethylene (PEX-AL-PEX) pressure pipe | 1, 2 | ASTM F1281 or CAN/CSA B137.10 | Mechanical, crimp/insert | Install in accordance with manufacturer’s instructions |
| PEX fittings | — | ASTM F877, ASTM F1807, ASTM F1960, ASTM F2098, ASTM F2159, ASTM F2735, ASTM F3253; ASTM F3348 | Copper crimp/insert fittings, cold expansion fittings, stainless steel clamp, insert fittings | Install in accordance with manufacturer’s instructions |
| Polybutylene (PB) pipe and tubing | 1, 2, 3 | ASTM D3309 | Heat-fusion, crimp/insert and compression | Joints in concrete shall be heat-fused |
| Polyethylene/aluminum/polyethylene (PE-AL-PE) pressure pipe | 1, 2, 3 | ASTM F1282, CSA B137.9 | Mechanical, crimp/insert | — |
| Polypropylene (PP) | 1, 2, 3 | ISO 15874, ASTM F2389 | Heat-fusion joints, mechanical fittings, threaded adapters, compression joints | — |
| Raised temperature polyethylene (PE-RT) | 1, 2, 3 | ASTM F2623, ASTM F2769, CSA B137.18 | Copper crimp/insert fitting, stainless steel clamp, insert fittings | — |
| Raised temperature polyethylene (PE-RT) fittings | 1, 2, 3 | ASTM D3261, ASTM F1807, ASTM F2098, ASTM F2159, ASTM F2735, ASTM F2769, ASTM F3348; CSA B137.18 | Copper crimp/insert fitting, stainless steel clamp, insert fittings | — |
| Steel pipe | 1, 2 | ASTM A53, ASTM A106 | Brazed, welded, threaded, flanged and mechanical fittings | Joints in concrete shall be welded. Galvanized pipe shall not be welded or brazed. |
| Steel tubing | 1 | ASTM A254 | Mechanical fittings, welded | — |

For SI: °C = [(°F) – 32]/1.8.

- Use code:

  - Above ground.

  - Embedded in radiant systems.

  - Temperatures below 180°F only.

  - Low temperature (below 130°F) applications only.

  - Temperatures below 160°F only.

- Standards as listed in Chapter 44.

(M11351) (RM100-21 AS)

TABLE M2101.1 HYDRONIC PIPING AND FITTING MATERIALS

| MATERIAL | USE CODEa | STANDARDb | JOINTS | NOTES |
| --- | --- | --- | --- | --- |
| Acrylonitrile butadiene styrene (ABS) plastic pipe | 1, 5 | ASTM D1527, ASTM F2806, ASTM F2969 | Solvent cement joints | — |
| Chlorinated poly (vinyl chloride) (CPVC) pipe and tubing | 1, 2, 3 | ASTM D2846 | Solvent cement joints, compression joints and threaded adapters | — |
| Copper and copper-alloy pipe | 1 | ASTM B42, ASTM B43, ASTM B302 | Brazed, soldered and mechanical fittings threaded, welded and flanged | — |
| Copper and copper-alloy tubing (Type K, L or M) | 1, 2 | ASME B16.51, ASTM B75, ASTM B88, ASTM B135, ASTM B251, ASTM B306 | Brazed, soldered, press-connected and flared mechanical fittings | Joints embedded in concrete shall be brazed |
| Cross-linked polyethylene (PEX) | 1, 2, 3 | ASTM F876; ASTM F3253 | (See PEX fittings) | Install in accordance with manufacturer’s instructions |
| Cross-linked polyethylene/ aluminum/cross- linked polyethylene (PEX-AL-PEX) pressure pipe | 1, 2 | ASTM F1281 or CAN/CSA B137.10 | Mechanical, crimp/insert | Install in accordance with manufacturer’s instructions |
| PEX fittings | — | ASTM F877, ASTM F1807, ASTM F1960, ASTM F2098, ASTM F2159, ASTM F2735, ASTM F3253; ASTM F3347 | Copper crimp/insert fittings, cold expansion fittings, stainless steel clamp, insert fittings | Install in accordance with manufacturer’s instructions |
| Polybutylene (PB) pipe and tubing | 1, 2, 3 | ASTM D3309 | Heat-fusion, crimp/insert and compression | Joints in concrete shall be heat-fused |
| Polyethylene/aluminum/polyethylene (PE-AL-PE) pressure pipe | 1, 2, 3 | ASTM F1282, CSA B137.9 | Mechanical, crimp/insert | — |
| Polypropylene (PP) | 1, 2, 3 | ISO 15874, ASTM F2389 | Heat-fusion joints, mechanical fittings, threaded adapters, compression joints | — |
| Raised temperature polyethylene (PE-RT) | 1, 2, 3 | ASTM F2623, ASTM F2769, CSA B137.18 | Copper crimp/insert fitting, stainless steel clamp, insert fittings | — |
| Raised temperature polyethylene (PE-RT) fittings | 1, 2, 3 | ASTM D3261, ASTM F1807, ASTM F2098, ASTM F2159, ASTM F2735, ASTM F2769, ASTM F3347; CSA B137.18 | Copper crimp/insert fitting, stainless steel clamp, insert fittings | — |
| Steel pipe | 1, 2 | ASTM A53, ASTM A106 | Brazed, welded, threaded, flanged and mechanical fittings | Joints in concrete shall be welded. Galvanized pipe shall not be welded or brazed. |
| Steel tubing | 1 | ASTM A254 | Mechanical fittings, welded | — |

For SI: °C = [(°F) – 32]/1.8.

  - Use code:

    - Above ground.

    - Embedded in radiant systems.

    - Temperatures below 180°F only.

    - Low temperature (below 130°F) applications only.

    - Temperatures below 160°F only.

  - Standards as listed in Chapter 44.

(M11350) (M99-21 Part II AS)

M2103.3 Piping joints. Copper and copper-alloy systems shall be soldered, brazed, or press connected. Soldering shall be in accordance with ASTM B828. Fluxes for soldering shall be in accordance with ASTM B813. Brazing fluxes shall be in accordance with AWS A5.31.

Press-connect joints shall be in accordance with ASME B16.51 or ASTM F3226. Piping joints that are embedded shall be installed in accordance with the following requirements:

No change to the remaining text

(M11621) (RM27-21 AS)

Chapter 22 Special Piping and Storage Systems

No change

Chapter 23 – Solar Thermal Energy Systems

No change

CHAPTER 24 FUEL GAS

Note: Revise for consistency with Chapter 24 of the 2024 IRC.

Revise Section 2404.8 (301.12) to read as follows:

G2404.8 (301.12) Seismic resistance. Reserved. Where earthquake loads are applicable in accordance with this code, the supports shall be designed and installed for the seismic forces in accordance with this code.

P-FBC-FG – Ch24 – Errata #1

Revise section G2427.2.2 as follows:

G2427.2.2 (503.2.4) Appliances with integral vents. Appliances incorporating integral venting means shall be installed in accordance with Section G2427.8, Items 1 and 2.

P-FBC-FG – Ch24 – Errata #2

Revise Section G2427.5.4 (503.5.5), Item as follows:

G2427.5.4, Item 3

3. The effective area of the chimney flue or a venting system serving two appliances with draft hoods shall be not less than the area of the larger draft hood out[1]let plus 50 percent of the area of the smaller draft hood outlet, nor greater than seven times the smallest draft hood outlet area.

P-FBC-FG – Ch24 – Errata #3

G2407.1(304.1) General. Air for combustion, ventilation and dilution of flue gases for appliances installed in buildings shall be provided by application of one of the methods prescribed in Sections G2407.5 through G2407.9. Where the requirements of Section G2407.5 are not met, outdoor air shall be introduced in accordance with one of the methods prescribed in Sections 304.6 through 304.9.  Direct-vent appliances , gas appliances of other than natural draft design, vented gas appliances

not designated as Category I and appliances equipped with power burners shall be provided with combustion, ventilation and dilution air in accordance with the appliance manufacturer’s instructions.

Exception: Type 1 clothes dryers that are provided with makeup air in accordance with Section

G2439.5.

Where chemicals that generate corrosive or flammable products such as aerosol sprays are routinely used, one of the following shall apply to fired appliances where these chemicals can enter combustion air:

1. Fired appliances shall be located in a mechanical room separate or partitioned off from other areas with provisions for combustion and dilution air from outdoors.

2. The appliances shall be direct vent and installed in accordance with the appliance

manufacturer’s installation instructions.

G2407.12 (304.12) Protection from fumes and gases. Where corrosive or flammable process fumes or gases, other than products of combustion, are present, means for the disposal of such fumes or gases shall be provided. Such fumes or gases include carbon monoxide, hydrogen sulfide, ammonia, chlorine and halogenated hydrocarbons. In barbershops, beauty shops and other facilities where chemicals that generate corrosive or flammable products, such as aerosol sprays, are routinely used, nondirect vent-type appliances shall be located in a mechanical room separated or partitioned off from other areas with provisions for combustion air and dilution air from the outdoors. Direct-vent appliances shall be installed in accordance with the appliance manufacturer’s instructions. Where chemicals that generate

corrosive or flammable products such as aerosol sprays are routinely used, one of the following shall apply to fired appliances where these chemicals can enter combustion air:

1. Fired appliances shall be located in a mechanical room separate or partitioned off from other areas with provisions for combustion and dilution air from outdoors.

2. The appliances shall be direct vent and installed in accordance with the appliance

manufacturer’s installation instructions.

G2411.1 (310.1) Pipe and tubing other than CSST. Each aboveground portion of a gas piping system other than corrugated stainless steel tubing (CSST) that is likely to become energized shall be electrically continuous and bonded to an effective ground-fault current path. Gas piping other than CSST shall be considered to be bonded where it is connected to an one or more appliances that is are connected to the equipment grounding conductor of the circuit that supplies that appliance(s).

G2411.3 (310.3) Arc-resistant CSST. This section applies to c Corrugated stainless steel tubing (CSST) that is listed with an arc-resistant jacket or coating system in accordance shall be listed as arc resistant in accordance with ANSI LC 1/CSA 6.26. The Arc-resistant-jacketed CSST shall be electrically continuous and bonded to an effective ground fault current path. Where any CSST used in component of a piping system does not have an arc-resistant jacket or coating system, the bonding requirements of Section

G2411.2 shall apply. Arc-resistant-jacketed CSST shall be considered to be bonded where it is connected to an one or more appliances that is are connected to the equipment appliance grounding conductor of the circuit that supplies that appliance(s).

G2414.6 (403.7) Workmanship and defects. Gas Ppipe, tubing and fittings at the time of installation shall meet the following requirements:

1. Gas pipe, tubing and fittings shall be clear and free from cutting burrs and visible defects in structure or threading.

2. Gas pipe, tubing and fittings shall be thoroughly cleaned to remove chip, scale and debris.

3. Visible defects in pipe, tubing and fittings shall not be repaired.

4. Pipe, tubing and fittings with visible defects shall be replaced.

be clear and free from cutting burrs and defects in structure or threading, and shall be thoroughly brushed, and chip and scale blown. Defects in pipe, tubing and fittings shall not be repaired. Defective pipe, tubing and fittings shall be replaced.

G2414.9 (403.9) Metallic piping joints and fittings. The type of piping joint used shall conform to the following:

1. It shall be suitable for the pressure-temperature conditions.

2. It shall be and shall be selected giving consideration to joint tightness and mechanical strength under the service conditions.

3. It shall be The joint shall be able to sustain the maximum end force caused by the internal pressure and any additional forces caused by forces inclusive of temperature expansion or contraction, vibration, fatigue, internal pressure or the weight of the pipe and its contents.

G2415.8.2 (404.8.2) Conduit with both ends terminating indoors. Where the conduit originates and terminates within the same building, the conduit shall originate and terminate in an accessible a portion of the building with access and shall not be sealed. The conduit shall extend not less than 2 inches (51 mm) beyond the point where the pipe emerges from the floor.

G2415.14.2 (404.14.2) Conduit with both ends terminating indoors. Where the conduit originates and terminates within the same building, the conduit shall originate and terminate in an accessible a portion of the building with access and shall not be sealed. The conduit shall extend not less than 2 inches (51 mm) beyond the point where the pipe emerges from the floor.

G2417.1.2 (406.1.2) Repairs and additions. In the event repairs or additions are made after the pressure test, the affected piping shall be tested. Minor repairs and additions are not shall not be required to be pressure tested provided that the work is inspected and connections are tested with a noncorrosive leak-detecting fluid or other approved leak-detecting methods.

G2417.4.1 (406.4.1) Test pressure. The test pressure to be used shall be not less than 11 /2 times the proposed maximum working pressure, but not less than 3 psig (20 kPa gauge), irrespective of design pressure. Where the test pressure exceeds 125 psig (862 kPa gauge), the test pressure shall not exceed a value that produces a hoop stress in the piping greater than 50 percent of the specified minimum yield strength of the pipe.

G2417.5.1 (406.5.1) Detection methods. The leakage shall be located by means of an approved a listed combustible gas detector, a noncorrosive leak detection fluid or other approved leak detection methods.

G2417.7.3.1 (406.7.3.1) Abandoned fuel gas piping. Where fuel gas piping is removed from service

an indefinite time period, it shall be purged.

G2420.5.3 (409.5.3) Located at manifold. Where the appliance shutoff valve is installed at a manifold, such shutoff valve shall be located within 50 feet (15 240 mm) of the appliance served and shall be readily accessible have ready access and be permanently identified. The piping from the manifold to within 6 feet (1829 mm) of the appliance shall be designed, sized and installed in accordance with Sections G2412 through G2419.

G2422.1.4 (411.1.6) Unions. A union fitting shall be provided for appliances connected by rigid metallic pipe. Such unions shall be accessible have access and be located within 6 feet (1829 mm) of the appliance.

G2425.7.3 (501.7.3) Connection to masonry fireplace flue. A connector shall extend from the appliance to the flue serving a masonry fireplace such that the flue gases are exhausted directly into the flue. The connector shall be accessible have access or be removable for inspection and cleaning of both the connector and the flue. Listed direct connection devices shall be installed in accordance with their listing.

G2427.5.8 (503.5.9) Cleanouts. Where a chimney that formerly carried flue products from liquid or solid fuel-burning appliances is used with an appliance using fuel gas, an accessible a cleanout with access shall be provided. The cleanout shall have a tight-fitting cover and shall be installed so its upper edge is not less than 6 inches (152 mm) below the lower edge of the lowest chimney inlet opening.

G2427.14 (503.14) Automatically operated Automatic vent dampers. An automatically operated

automatic vent damper shall be listed .

(Step 2 - P11736 AS)

Chapter 25 Plumbing Administration

###### Delete and substitute as follows:

P2503.5.2 Finished plumbing. After the plumbing fixtures have been set and their traps filled with water, their connections shall be tested and proved gastight or watertight as follows:

- Watertightness. Each fixture shall be filled and then drained. Traps and fixture connections shall be proven watertight by visual inspection.

- Gastightness. Where required by the local administrative authority, a final test for gastightness of the DWV system shall be made by the smoke or peppermint test as follows:

  - Smoke test. Introduce a pungent, thick smoke into the system. When the smoke appears at vent terminals, such terminals shall be sealed and a pressure equivalent to a 1-inch water column (249 Pa) shall be applied and maintained for a test period of not less than 15 minutes.

  - Peppermint test. Introduce 2 ounces (59 mL) of oil of peppermint into the system. Add 10 quarts (9464 mL) of hot water and seal the vent terminals. The odor of peppermint shall not be detected at any trap or other point in the system.

P2503.5.2 Drainage and vent final test. The final test of the drainage and vent system shall be visual to determine compliance with the provisions of this code. Each fixture shall be filled and then drained. Traps and fixture connections shall be proven watertight.

(P11622) (RP1-21 AS)

Chapter 26 General Plumbing Requirements

P2603.2.1 Protection against physical damage.

In concealed locations, where piping, other than cast-iron or galvanized steel, is installed through holes or notches in studs, joists, rafters or similar members less than 11/4 inches (31.8 mm) from the nearest edge of the member, the pipe shall be protected by steel shield plates.Such shield plates shall have a thickness of not less than 0.0575 inch (1.463 mm) (No. 16 Gage). Such plates shall cover the area of the pipe where the member is notched or bored, and shall extend not less than 2 inches (51 mm) above sole plates and below top plates.

P2603.2.1.1 Shield plates. Shield plates shall be of steel material having a thickness of not less than 0.0575 inch (1.463 mm) (No. 16 gage).

(M11352) (P6-21 Part II AM)

Chapter 27 Plumbing Fixtures

P2704.1 Slip joints. Slip-joint connections shall be installed only for tubular waste piping and only between the waste trap outlet of a fixture and the connection to the drainage piping. Slip-joint connections shall be made with an approved elastomeric sealing gasket. Slip-joint connections shall be accessible. Such access shall provide an opening that is not less than 12 inches (305 mm) in its smallest dimension.

(P11623) (RP3-21 AS)

P2709.3 Installation. Lining materials shall be sloped1/4 unit vertical in 12 units horizontal (2-percent slope) to weep holes in the subdrain by means of a smooth, solidly formed subbase, shall be properly recessed and fastened to approved backing so as not to occupy the space required for the wall covering, and shall not be nailed or perforated at any point less than 1 inch (25.4 mm) above the finished threshold. The assembly shall be tested in accordance with Section P2503.6

(P11624) (RP4-21 AS)

P2717.2 Sink and dishwasher. Dishwasher waste connection. The combined discharge from a dishwasher and a one- or two- compartment sink, with or without a food-waste disposer, shall be served by a trap of not less than 11/2 inches (38 mm) in outside diameter. The dishwasher discharge pipe or tubing shall rise to the underside of the counter and be fastened or otherwise held in that position before connecting to the head of the food-waste disposer or to a wye fitting in the sink tailpiece.The waste connection of a dishwasher shall connect directly to a wye branch fitting on the tailpiece of the kitchen sink, directly to the dishwasher connection of a food waste disposer, or through an air break to a standpipe. The waste line of the dishwasher shall rise and be securely fastened to the underside of the sink rim or countertop.  Where a waste line drains into a standpipe, the waste line shall be securely fastened to the top of the standpipe.

(P11625) (RP5-21 AM)

Chapter 28 Water Heaters

P2801.1 Required. Hot water shall be supplied to plumbing fixtures and plumbing appliances intended for bathing, washing or culinary purposes.

(P11626) (RP6-21 AS)

P2801.9 Lead Content. Water heaters shall comply with NSF 372 and shall have a weighted average lead content of 0.25% or less.

(P10945) (P54-21 Part II AS)

Chapter 29 Water Supply and Distribution

##### TABLE P2906.6 PIPE FITTINGS

| MATERIAL | STANDARD |
| --- | --- |
| Fittings for cross-linked polyethylene (PEX) plastic tubing | ASSE 1061; ASTM F877; ASTM F1807; ASTM F1960; ASTM F2080; ASTM F2098; ASTM F2159; ASTM F2434; ASTM F2735; ASTM F3348; CSA B137.5 |
| Fittings for polyethylene of raised temperature (PE-RT) plastic tubing | ASSE 1061; ASTM D2683; ASTM D3261; ASTM F1055; ASTM F1807; ASTM F2098; ASTM F2159; ASTM F2735; ASTM F2769; ASTM F3348; CSA B137.18 |

No change to the remaining text.

(P10975) (P65-21 Part II AS)

P2903.12 Existing piping used for grounding. Existing metallic water service piping used for electrical grounding shall not be replaced with non-metallic pipe or tubing until other approved means of grounding is provided.

(P11628) (RP8-21 AS)

##### TABLE P2903.9.4 VALVES

| MATERIAL | STANDARD |
| --- | --- |
| Copper or copper alloy | ASME A112.4.14, ASME A112.18.1/CSA B125.1, ASME B16.34, CSA B125.3, IAPMO Z1157, MSS SP-67, MSS SP-80, MSS SP-110, MSS SP-139 |
| Cross-linked polyethylene (PEX) plastic | ASME A112.4.14, ASME A112.18.1/CSA B125.1, CSA B125.3, IAPMO Z1157, NSF 359 |
| Stainless Steel | IAPMO Z1157, ASME A112.4.14 |

##### TABLE P2906.5 WATER DISTRIBUTION PIPE

| MATERIAL | STANDARD |
| --- | --- |
| Stainless steel (Type 304/304L) pipe | ASTM A269; ASTM A312; ASTM A778 |
| Stainless steel (Type 316/316L) pipe | ASTM A269; ASTM A312; ASTM A778 |
| Stainless steel (Type 304/304L) tubing | ASTM A269; ASTM A312; ASTM A778 |
| Stainless steel (Type 316/316L) tubing | ASTM A269; ASTM A312; ASTM A778 |

No change to the remaining text

(P10965) (P68-21 Part II AMPC1)/ (P10965) (P62-21 Part II AM)

##### TABLE P2906.6 PIPE FITTINGS

| MATERIAL | STANDARD |
| --- | --- |
| Stainless steel (Type 304/304L) pipe | ASTM A269; ASTM A312; ASTM A778; ASTM F3226 |
| Stainless steel (Type 316/316L) pipe | ASTM A269; ASTM A312; ASTM A778; ASTM F3226 |
| Steel | ASME B16.9; ASME B16.11; ASME B16.28; ASTM F3226 |

No change to the remaining text

(P10971) (P63-21 Part II AM)

##### TABLE P2906.6 PIPE FITTINGS

| MATERIAL | STANDARD |
| --- | --- |
| Fittings for cross-linked polyethylene (PEX) plastic tubing | ASSE 1061; ASTM F877; ASTM F1807; ASTM F1960; ASTM F2080; ASTM F2098; ASTM F2159; ASTM F2434; ASTM F2735; ASTM F3347; CSA B137.5 |
| Fittings for polyethylene of raised temperature (PE-RT) plastic tubing | ASSE 1061; ASTM D2683; ASTM D3261; ASTM F1055; ASTM F1807; ASTM F2098; ASTM F2159; ASTM F2735; ASTM F2769; ASTM F3347; CSA B137.18 |

No change to the remaining text

(M11350) (M99-21 Part II AS)

P2906.9.1.2 CPVC plastic pipe. Joint surfaces shall be clean and free from moisture. Joints shall be made in accordance with the pipe, fitting or solvent cement manufacturer’s installation instructions. Where such instructions require a primer to be used, an approved primer shall be applied, and a solvent cement, orange in color and conforming to ASTM F493, shall be applied to joint surfaces. Where such instructions allow for a one-step solvent cement, yellow, green, or red in color and conforming to ASTM F493, to be used, the joint surfaces shall not require application of a primer before the solvent cement is applied. The joint shall be made while the cement is wet, and in accordance with ASTM D2846 or ASTM F493. Solvent cement joints shall be permitted above or below ground.

(M11360) (P75-21 Part II AS)

P2906.9.1.2 CPVC plastic pipe. Joint surfaces shall be clean and free from moisture. Joints shall be made in accordance with the pipe, fitting or solvent cement manufacturer’s installation instructions.

Solvent cement joints shall be permitted above or below ground.

Where such instructions require a primer to be used, an approved primer shall be applied, and a solvent cement, orange in color and conforming to ASTM F493, shall be applied to joint surfaces. The joint shall be made while the cement is wet, and in accordance with ASTM D2855.

Where such instructions allow for a one-step solvent cement, yellow or red in color and conforming to ASTM F493, to be used, the joint surfaces shall not require application of a primer before the solvent cement is applied. The joint shall be made while the cement is wet, and in accordance with ASTM D2846 or ASTM F493. ASTM F3328

Solvent cement joints shall be permitted above or below ground.

P2906.9.1.3 CPVC/AL/CPVC pipe. Joint surfaces shall be clean and free from moisture, and an approved primer shall be applied. Solvent cement, orange in color and conforming to ASTM F493, shall be applied to all joint surfaces. The joint shall be made while the cement is wet, and in accordance with ASTM D2846 or ASTM F493 ASTM D2855. Solvent-cemented joints shall be installed above or below ground.

Exception: A primer shall not be required where all of the following conditions apply:

  - The solvent cement used is third-party certified as conforming to ASTM F493.

  - The solvent cement used is yellow in color.

  - The solvent cement is used only for joining 1/2-inch (12.7 mm) through 1-inch (25 mm) diameter CPVC/AL/CPVC pipe and CPVC fittings.

  - The CPVC fittings are manufactured in accordance with ASTM D2846.

  - The joint is made in accordance with ASTM F3328.

(P10980/P74-21 Part II)

Delete Section P2912.1.1 as follows:

P2912.1.1 Alternate compliance path. Systems for nonpotable uses that comply with CSA B805/ICC 805 are deemed to comply with Section P2912.

F/AC-FBC-R - Ch.29 – Errata #4/(M11360)

Chapter 30 Sanitary Drainage

##### TABLE P3002.1(1) ABOVE-GROUND DRAINAGE AND VENT PIPE

| MATERIAL | STANDARD |
| --- | --- |
| Polyolefin pipe | ASTM F3371; CSA B181.3 |

For SI: 1 inch = 25.4 mm.

##### TABLE P3002.1(2) UNDERGROUND BUILDING DRAINAGE AND VENT PIPE

| PIPE | STANDARD |
| --- | --- |
| Polyolefin pipe | ASTM F714; ASTM F1412; ASTM F3371; CSA B181.3 |

For SI: 1 inch = 25.4 mm.

##### TABLE P3002.2 BUILDING SEWER PIPE

| MATERIAL | STANDARD |
| --- | --- |
| Polyolefin pipe | ASTM F1412; ASTM F3371:CSA B181.3 |

For SI: 1 inch = 25.4 mm.

No change to the remaining text

P3003.11.1 Heat-fusion joints. Heat-fusion joints for polyolefin pipe and tubing joints shall be installed with socket-type heat-fused polyolefin fittings or electrofusion polyolefin fittings. Joint surfaces shall be clean and free from moisture. The joint shall be undisturbed until cool. Joints shall be made in accordance with ASTM F1412, ASTM F3371. or CSA B181.3.

(P11026) (P120-21 Part II AS)

P3003.9.2 Solvent cementing. Joint surfaces shall be clean and free from moisture. A purple primer, or other approved primer, that conforms to ASTM F656 shall be applied. Solvent cement not purple in color and conforming to ASTM D2564, CSA B137.3 or CSA B181.2 shall be applied to all joint surfaces. The joint shall be made while the cement is wet, and shall be in accordance with ASTM D2855.

Solvent-cement joints shall be installed above or below ground.

Exception: A primer shall not be required where all of the following conditions apply:

- The solvent cement used is third-party certified as conforming to ASTM D2564.

- The solvent cement is used only for joining PVC drain, waste and vent pipe and fittings in non-pressure applications in sizes up to and including 4 inches (102 mm) in diameter

- The joint is made in accordance with ASTM F3328.

Add a new section P3012 to read as follows:

SECTION P3012

REHABILITATION OF BUILDING SEWERS AND BUILDING DRAINS

P3012.1 Cured-in-place. Cured-in-place rehabilitation of building sewers and building drainage piping shall be in accordance with ASTM F1216 – 2022 or ASTM F1743 - 2022.

P-FBC-P-Ch.7-Glitch #2

P3011.1 General.

This section shall govern the relining of existing building sewer and building drainage piping.

P3011.2 Applicability.

The relining of existing building sewer and building drainage piping shall be limited to gravity drainage piping 4 inches (102 mm) in diameter and larger.  The relined piping shall be of the same nominal size as the existing piping.

P3011.3 Pre-installation.

Prior to commencement of the relining installation, the existing piping sections to be relined shall be descaled and cleaned.  After the cleaning process has occurred and water has been flushed through the system, the piping shall be inspected internally by a recorded video camera survey.

P3011.3.1 Pre-installation recorded video camera survey.

The video survey shall include verification of the project address location.  The video shall include notations of the cleanout and fitting locations, and the approximate depth of the existing piping.  The video shall also include notations of the length of piping at intervals no greater than 25 feet (7260 mm).

P3011.4 Permitting.

Prior to issuing a permit for the relining, the building official shall review and evaluate the pre-installation recorded video camera survey to determine whether the piping system is capable of being relined in accordance with the proposed lining system manufacturer's installation requirements and applicable referenced standards.

P3011.5   Prohibited applications.

Where review of the pre-installation recorded video camera survey reveals that piping systems are not installed correctly, or defects exist, relining shall not be permitted.  The defective portions of piping shall be exposed and repaired with pipe and fittings in accordance with this code.  Defects shall include, but are not limited to, backslope or insufficient slope, complete pipe wall deterioration or complete separation such as from tree root invasion or improper support.

P3011.6   Relining materials.

The relining materials shall be manufactured in compliance with applicable standards and certified as required in Section P2609.  Fold and form pipe reling materials shall be manufactured in compliance with ASTM F1504 or ASTM F1871.

P3011.7  Installation.

The installation of relining materials shall be performed in accordance with the manufacturer's installation instructions, applicable referenced standards and this code.

P3011.7.1  Material data report.

The installer shall record the data as required by the relining material manufacture and applicable  standards.   The recorded data shall include but is not limited to the location of the project, relining material type, amount of product installed and conditions of the installation.   A copy of the data report shall be provided  to the building official prior to final approval.

P3011.8  Post-installation recorded video camera survey.

The completed relined piping system shall be inspected internally by a recorded video camera survey after the system has been flushed and flow tested with water.  The video survey shall be submitted to the code official prior to finalization of the permit.  The video survey shall be reviewed and evaluated to provide verification that no defect exist.  Any defects identified shall be repaired and replace in accordance with this code.

P3011.9  Certification.

A certification shall be provided in writing to the building official, from the permit holder, that the relining materials have been installed in accordance with the manufacturer's installation instructions, the applicable standards and this code.

P3011.10 Approval.

Upon verification of compliance with this requirements of Sections P3011.1 through P3011.9, the building official shall approve the installation.

(Step 2 – P11888 AS)

Chapter 31 Vents

P3101.5 Flood resistance. In flood hazard areas as established by Table R301.2, vents shall be located at or above the elevation required in Section R322.1 R322.2 (flood hazard areas including A Zones) orR322.2 R322.3 (coastal high-hazard areas including V Zonesand Coastal A Zones, where designated).

(SP11629) (RP11-21 AS)

Chapters 32– No change

Chapters 33– No change

CHAPTER 34 GENERAL REQUIREMENTS

SECTION E3408 GFCI PROTECTION E3408.1. NFPA 70-20: National Electric Code, Article 210 (Branch Circuits), Section 210.8, Ground-Fault Circuit-Interrupter Protection for Personnel, is amended to read as follows: 210.8 Ground-Fault Circuit-Interrupter Protection for Personnel. Ground-fault circuit-interrupter protection for personnel shall be provided as required in 210.8(A) through (F). The ground-fault circuit-interrupter shall be installed in a readily accessible location. Items (A) through (E) unchanged. (F) Outdoor Outlets. All outdoor outlets for dwellings, other than those covered in 210.8(A)(3), Exception to (3) that are supplied by single-phase branch circuits rated 150 volts to ground or less, 50 amperes or less, shall have ground-fault circuit-interrupter protection for personnel. Exception No. 1: Ground-fault circuit-interrupter protection shall not be required on lighting outlets other than those covered in 210.8(C). Exception No. 2: GFCI protection shall not be required for listed and labeled HVAC equipment. Informational Note: See UL 60335-2-40, Household And Similar Electrical Appliances – Safety – Part 2-40: Particular Requirements for Electrical Heat Pumps, Air-Conditioners and Dehumidifiers or UL 1995, Heating and Cooling Equipment for product safety standards.(1)

SECTION E3408 GFCI PROTECTION E3408.1 NFPA 70-23: National Electric Code, Article 210 (Branch Circuits), Section 210.8, Ground-Fault Circuit-Interrupter Protection for Personnel, is amended to read as follows: 210.8(F) Outdoor Outlets. For dwellings, all outdoor outlets, other than those covered in 210.8(A), Exception No. 1, including outlets installed in the following locations, and supplied by single-phase branch circuits rated 150 volts or less to ground, 50 amperes or less, shall be provided with GFCI protection: (1) Garages that have floors located at or below grade level (2) Accessory buildings (3) Boathouses If equipment supplied by an outlet covered under the requirements of this section is replaced, the outlet shall be supplied with GFCI protection. Exception No. 1: GFCI protection shall not be required on lighting outlets other than those covered in 210.8(C). Exception No. 2: GFCI protection shall not be required for listed HVAC equipment. This exception shall expire September 1, 2026. (Step 2 – E12048 AM/Handout/Commission 12/9/2025)

35– 44

No change

Chapter 45 - Private Swimming Pool

4501.2 Definitions.

ABOVE-GROUND/ON-GROUND POOL. See “Swimming pool.”

ADMINISTRATIVE AUTHORITY. The individual official, board, department or agency established and authorized by a state, county, city or other political subdivision created by law to administer and enforce the provisions of the swimming pool code as adopted or amended.

APPROVED. Accepted or acceptable under an applicable specification stated or cited in this code, or accepted as suitable for the proposed use under procedures and power of the administrative authority.

APPROVED SAFETY COVER. A manually or power-applied safety pool cover that meets all of the performance standards of ASTM International in compliance with ASTM F1346.

APPROVED TESTING AGENCY. An organization primarily established for the purpose of testing to approved standards and approved by the administrative authority.

BACKWASH PIPING. See “Filter waste discharge piping.”

BARRIER. A fence, dwelling wall or nondwelling wall or any combination thereof which completely surrounds the swimming pool and obstructs access to the swimming pool, especially access from the residence or from the yard outside the barrier.

BODY FEED. Filter aid fed into a diatomite-type filter throughout the filtering cycle.

CARTRIDGE FILTER. A filter using cartridge-type filter elements.

CHEMICAL PIPINGFeeder. Piping which conveys concentrated chemical solutions from a feeding apparatus to the circulation piping.

CIRCULATION PIPING SYSTEM. Piping between the pool structure and the mechanical equipment. Usually includes suction piping, face piping and return piping.

COMBINATION VALVE. A multipart valve intended to perform more than one function.

DESIGN HEAD. Total head requirement of the circulation system at the design rate of flow.

DIATOMITE (DIATOMACEOUS EARTH). A type of filter aid.

DIATOMITE-TYPE FILTER. A filter designed to be used with filter aid.

DIRECT ACCESS FROM THE HOME. Any opening which discharges into the “perimeter” of the pool or any opening in an exterior dwelling wall, or interior wall (for indoor pools) which faces the pool.

EXIT ALARM. A device that makes audible, continuous alarm sounds when any door or window which permits access from the residence to any pool that is without an intervening enclosure is opened or left ajar.

FACE PIPING. Piping, with all valves and fittings, which is used to connect the filter system together as a unit.

FILTER. Any apparatus by which water is clarified.

FILTER AID. A nonpermanent type of filter medium or aid such as diatomite, alum, etc.

FILTER CARTRIDGE. A disposable or renewable filter element which generally employs no filter aid.

FILTER ELEMENT. That part of a filter which retains the filter medium.

FILTER MEDIUM. Fine material which entraps the suspended particles and removes them from the water.

FILTER RATE. Average rate of flow per square foot of filter area.

FILTER ROCK. Specially graded rock and gravel used to support filter sand.

FILTER SAND. A specially graded type of permanent filter medium.

FILTER SEPTUM. That part of the filter element in a diatomite-type filter upon which a cake of diatomite or other nonpermanent filter aid may be deposited.

FILTER WASTE DISCHARGE PIPING. Piping that conducts waste water from a filter to a drainage system. Connection to drainage system is made through an air gap or other approved methods.

FRESH WATER. Those waters having a specific conductivity less than a solution containing 6,000 ppm of sodium chloride.

HIGH RATE SAND FILTER. A sand filter designed for flows in excess of 5 gpm (0.3 L/s) per square foot.

HOT TUB. See “Swimming pool.”

INGROUND POOL. See “Swimming pool.”

INLET FITTINGRETURN INLET. Fitting or fixture through which circulated water enters the pool.through the pressure side.

MAIN DRAIN SUCTION OUTLETOutlet at the deep portion of the pool through which the main flow of water leaves the pool when being drained or circulated. See SUCTION OUTLET FITTING ASSEMBLY (SOFA).

SUCTION OUTLET FITTING ASSEMBLY (SOFA).A submerged fitting, fitting assembly, cover/grate and related components that provide a localized low-pressure area for the transfer of water from a swimming pool, spa or hot tub. Submerged suction outlets have been referred to as main drains.

MEDICALLY FRAIL ELDERLY PERSON. Any person who is at least 65 years of age and has a medical problem that affects balance, vision, or judgment, including but not limited to a heart condition, diabetes, or Alzheimer’s disease or any related disorder.

MESH SAFETY BARRIER. A combination of materials, including fabric, posts, and other hardware to form a barrier around a swimming pool.

POOL. See “Swimming pool.”

POOL DEPTHS. The distance between the floor of pool and the maximum operating water level.

POOL PERIMETER. A pool perimeter is defined by the limits of the pool deck, its surrounding area including yard area on same property, and any dwelling or nondwelling wall or any combination thereof which completely surrounds the pool.

POOL PLUMBINGPIPING. All chemical, circulation, filter waste discharge piping, deck drainage and water filling systems.

PORTABLE POOL. A prefabricated pool which may be erected at the point of intended use and which may be subsequently disassembled and reerected reassembled at a new location. Generally installed on the surface of the ground and without excavation.

PRECOAT. In a diatomite-type filter, the initial coating or filter aid placed on the filter septum at the start of the filter cycle.

RAPID SAND FILTER. A filter designed to be used with sand as the filter medium and for flows not to exceed 5 gpm (0.3 L/s) per square foot.

RECEPTOR. An approved plumbing fixture or device of such material, shape and capacity as to adequately receive the discharge from indirect waste piping, so constructed and located as to be readily cleaned.

RESIDENTIAL. Situated on the premises of a detached one- or two-family dwelling or a one-family townhouse not more than three stories high.

RETURN PIPING. That portion of the circulation piping which extends from the outlet side of the filters to the pool.

SALINE WATER. Those waters having a specific conductivity in excess of a solution containing 6,000 ppm of sodium chloride.

SEPARATION TANK. A device used to clarify filter rinse or waste water; sometimes called a “reclamation tank.”

SKIM FILTER. A surface skimmer combined with a vacuum diatomite with an integral filter.

SPA, NONPORTABLE. See “Swimming pool.”

SPA, PORTABLE. Nonpermanent structure intended for recreational bathing, in which all controls and water heating and water circulating equipment are an integral part of the product and which is cord-connected and not permanently electrically wired installed on or above grade. May not be installed with raised decking to allow access.

SUCTION PIPING. That portion of the circulation piping located between the pool structure and the inlet side of the pump and usually includes main outlet piping, skimmer piping, vacuum piping and surge tank piping.

SUBMERGED VACUUM FITTING. A fitting intended to provide a point of connection for suction side automatic swimming pool, spa, and hot tub cleaners.

SUCTION OUTLET. See SUCTION OUTLET FITTING ASSEMBLY (SOFA).

SURFACE SKIMMING SYSTEM. A device or system installed in the pool or spa that permits the removal of floating debris and surface water to the filter.

SURFACE SKIMMER. A device generally located in the pool wall which skims the pool surface by drawing pool water over a self-adjusting weir.

SWIMMING POOL, INDOOR. A swimming pool which is totally contained within a structure and surrounded on all four sides by walls of said structure.

SWIMMING POOL, OUTDOOR. Any swimming pool which is not an indoor pool.

SWIMMING POOL, PRIVATE. Any structure, located in a residential area, that is intended for swimming or recreational bathing and contains water over 24 inches (610 mm) deep including but not limited to inground, above-ground, and on-ground swimming pools, hot tubs, and nonportable spas. that are permanently installed.

SWIMMING POOL, PUBLIC. A watertight structure of concrete, masonry, fiberglass, stainless steel or plastic which is located either indoors or outdoors, used for bathing or swimming by humans, and filled with a filtered and disinfected water supply, together with buildings, appurtenances and equipment used in connection therewith. A public swimming pool or public pool shall mean a conventional pool, spa-type pool, wading pool, special purpose pool or water recreation attraction, to which admission may be gained with or without payment of a fee and includes, pools operated by or serving camps, churches, cities, counties, day care centers, group home facilities for eight or more clients, health spas, institutions, parks, state agencies, schools, subdivisions; or the cooperative living-type projects of five or more living units, such as apartments, boarding houses, hotels, mobile home parks, motels, recreational vehicle parks and townhouses.

SWIMMING POOL, RESIDENTIAL. See “Swimming pool, private.”

TURNOVER TIME. The time in hours required for the circulation system to filter and recirculate a volume of water equal to the pool volume.

UNDERWATER BENCH. An underwater seat that can be recessed into the pool wall or placed completely inside the perimeter shape of the pool.

UNDERWATER LEDGE. A narrow shelf projecting from the side of a vertical structure whose dimensions are defined in the appropriate standard.

VACUUM FITTING. A fitting in the pool which is used as a convenient outlet for connecting the underwater suction cleaning equipment.

VACUUM PIPING. The piping from the suction side of a pump connected to a vacuum fitting located at the pool and below the water level.

WASTE PIPING. See “Filter waste discharge piping.”

WIDTH AND/OR LENGTH. Actual water dimension taken from wall to wall at the maximum operating water level.

YOUNG CHILD. Any person under the age of 6 years.

(Step 2 -SW11983 AS)

Revise Sections R4501.6.3 and R4501.6.6 to read as follows:

R4501.6.3 Water velocity. Pool piping shall be designed so the water velocity will not exceed 10 feet per second (3048 mm/s) for pressure piping and 8 feet per second (2438 mm/s) for suction piping, except that the water velocity shall not exceed 8 feet per second (2438 mm/s) in

copper tubing. Main suction outlet velocity must comply with ANSI/APSP PHTA/ICC 7.

Exception: Jet inlet fittings shall not be deemed subject to this requirement.

R4501.6.6 Entrapment protection. Entrapment protection for suction outlets shall be installed in accordance with requirements of ANSI/APSP PHTA/ICC 7.

Supplement 4 – Errata

4501.6.3 Water velocity. Pool piping shall be designed so the water velocity for pressure piping, suction piping and in copper tubing will not exceed 10 8 feet per second (3048 mm/s) for pressure piping and 8 feet per second (mm/s) for suction piping, except that the water velocity shall not exceed 8 feet per second (3048 mm/s) in copper tubing. Main suction outlet velocity must comply with ANSI/APSPPHTA/ICC 75. Exception: Jet inlet fittings shall not be deemed subject to this requirement. Flow rates and pipe sizes Pipe Size:; 1.5"; 2"; 2.5"'; 3"; 4"; 5"; 6"; 8"; 10"; 12". Nominal GPM @ 8 fps; 51; 84; 119; 184; 317; 499; 720; 1247; 1966; 2791. NOTE: Flow rates are based on the nominal inside diameter for ASTM Standard D1785, schedule 40 PVC pipe.

(Step 2 – SW11986 A2 AM/A3 – 2nd comment period)

4501.6.6

Entrapment protection for suction outlets (SOFAs) shall be installed in accordance with requirements of ANSI/APSP/ICC 7. and ANSI/APSP/ICC-16.

(Step 2 – SW11989 AS)

4501.7.3

Capacity.

Pumps shall have design capacity at the following heads.

1.Pressure diatomaceous earth–At least 60 feet (18 288 mm).

2.Vacuum D.E.–20-inch (508 mm) vacuum on the suction side and 40 feet (1219 mm) total head.

3.Rapid sand–At least 45 feet (13 716 mm).

4.High rate sand–At least 60 feet (18 288 mm).

Reserved

4501.7.4 Materials.

Pump impellers, shafts, wear rings and other working parts shall be of corrosion-resistant materials.

Reserved

(Step 2 – SW11992 AS)

4501.12.1 Pressure test.

All pool piping shall be tested and proved tight to the satisfaction of the administrative authority, under a static, water or airpressure test of not less than 3525 psi (241172 kPa) for 15 minutes.

Exception: Circulating pumps need not be tested as required in this section.

(Step 2 – SW12000 AS)

4501.14.2 Water retention. If a heater is not equipped or designed for an approved permanent bypass or antisiphon device, an approved permanent bypass or antisiphon device shall be installed to provide a positive means of retaining water in the heater when the pump is not in operation. Reserved.. (Step 2 – SW12009 AS) 4501.14.5 Relief valve. When water heating equipment which is installed in a closed system has a valve between the appliance and the pool, a pressure relief valve shall be installed on the discharge side of the water heating equipment. For units up to and including 200,000 Btu/hour input, the relief valve shall be rated by the American Gas Association. Reserved.. (Step 2 – SW12011 AS) 4501.16 Electrical. Electrical equipment wiring and installation, including the bonding and grounding of pool components, shall comply with Chapter 27 of the Florida Building Code, Building. Outlets supplying pool pump motors connected to single-phase 120-volt through 240-volt branch circuits, whether by receptacle or by direct connection, and outlets supplying other electrical equipment and underwater luminaires operating at voltages greater than the low voltage contact limit, connected to single-phase, 120 volt through 240 volt branch circuits, rated 15 or 20 amperes, whether by receptacle or by direct connection, shall be provided with ground-fault circuit interrupter protection for personnel. Exception: In lieu of the requirements of NFPA 70 Sec. 680.26(2)(a)-(b) for conductive paved and unpaved swimming pool perimeter surfaces, Swimming pools and spas may be bonded by single copper conductor where the following requirements are met: (1) At least one minimum 8 AWG bare solid copper conductor shall be provided. (2) The conductors shall follow the contour of the perimeter surface. (3) Only listed splicing devices or exothermic welding shall be permitted. (4) The required conductor shall be 450 mm to 600 mm (18 in. to 24 in.) from the inside walls of the pool. (5) The required conductor shall be secured within or under the perimeter surface 100 mm to 150 mm (4 in. to 6 in.) below the subgrade.

(Step 2 – SW12006 AS)

4501.16.1 Voltage Limitation

Underwater lighting, or lighting that may be exposed to nozzle-directed pool water, shall not exceed 30 volts DC or 15 volts AC. Such lights shall be installed in accordance with the manufacturer’s installation instructions and be listed by a nationally recognized testing laboratory.

(Step 2 – SW12013 AS

4501.21.3 Main outlet Suction Outlet Fitting Assembly.

An approved main outlet Suction Outlet Fitting Assembly (SOFA), when provided, shall be located on a wall or floor at or near the deepest point in the pool for emptying or circulation, or both, of the water in the pool.

(Step 2 – SW12002 AS)

4501.21.5 Inlet fittings.

Approved manufactured inlet fittings for the return of recirculated pool water shall be provided on the basis of at least one per 300 square feet (28 m2) of surface area. Such inlet fittings shall be designed and constructed to insure an adequate seal to the pool structure and shall incorporate a convenient means of sealing for pressure testing of the pool circulation piping. Where more than one inlet is required, the shortest distance between any two required inlets shall be at least 10 feet (3048 mm). Reserved

(Step 2 – SW12004 AS)

Chapter 46 Reference Standards

See attached

APPENDIX D—RECOMMENDED PROCEDURE FOR SAFETY INSPECTION OF AN EXISTING APPLIANCE INSTALLATION

D.3 Gas Piping and Connection Inspections.

(1) No change

(2) Appliance Connector. Verify that the appliance connection type is compliant with Section G2422 of the Florida Building Code, Fuel Gas. Inspect flexible appliance connections to determine if they are free of cracks, corrosion and signs of damage. Verify that there are no uncoated brass copper alloy connectors. Where connectors are determined to be unsafe or where an uncoated brass copper alloy connector is found, the appliance shutoff valve should be placed in the off position and the owner notified that the connector must be replaced.

No change to the remaining text.

(Step 2 – P12114 AS)

APPENDIX J EXISTING BUILDINGS AND STRUCTURES

# SECTION AJ701 ADDITIONS

AJ701.1 Additions to an existing building. Where existing buildings with the addition are within the scope of the International

Residential Code, additions shall comply with this section and other applicable provisions of this code. Engineered design in accordance with Section R301.1.3 shall be permitted to meet the requirements of this section.

AJ701.2 Structure for Horizontal Additions. Where an addition involves new construction attached to an existing building, the new construction shall meet all of the structural requirements of this code for new construction. Alterations to the existing building shall comply with the requirements governing alterations within this code. In wood light-frame additions, connection of the structural components shall be permitted to be provided using wall top plates and addition studs that abut the existing building. Wall top plates shall be lapped and spliced in accordance with Section R602.3. Abutting studs shall be fastened in accordance with Section 602.3.

Exception: The addition structure shall be permitted to be connected to the existing building in accordance with accepted engineering practice.

AJ701.3 Structure for Vertical Additions. Where an addition involves new construction that adds a story to any part of the existing building or vertically increases the height of any part of the existing building, the new construction and the existing building together shall be shown to comply with or altered to comply with all of the structural requirements of this code for new construction.

Exception: Where the new structure and the existing structure together are evaluated in accordance with accepted engineering practice and are shown to be sufficient to support the combined loads from the new structure and existing structure, no structural alterations are required.

(F11489) (RB163-22 AMPC1)

APPENDIX R LIGHT STRAW-CLAY CONSTRUCTION

AR101.2 Flood hazard areas. In flood hazard areas established in Table R301.2, buildings using light straw-clay infill shall meet the requirements of Section R322.

(P11596) (RB302-22 AM)

APPENDIX S STRAWBALE CONSTRUCTION

AS101.2 Flood hazard areas. In flood hazard areas established in Table R301.2, buildings using strawbale wall systems shall meet the requirements of Section R322.

(SP11597) (RB304-22 AS)

AS106.6.1 Compressive strength. For plaster on strawbale structural walls, the building official is authorized to require a 2-inch (51mm) cube test conforming to ASTM C109 to demonstrate a minimum compressive strength in accordance with Table AS106.6.1. For natural hydraulic lime (NHL) plasters, the compressive strength in the NHL manufacturer's specifications is permitted to be used to satisfy the requirements in Table AS106.6.1, when the plaster mix used for the project is identical to that in the manufacturer's specifications.

(S11599) (RB307-22 AS)

APPENDIX W 3D-PRINTED BUILDING CONSTRUCTION

AW101.1 Scope. Buildings, structures and building elements fabricated in whole or in part using 3D-printed construction techniques shall be designed, constructed and inspected in accordance with the provisions contained in this appendix and other applicable requirements in this code.

Exception: This Appendix shall not be applicable to 3D printed buildings constructed of concrete.

(S11603) (RB312-22 AS)

AW103.1 Fabrication process. The process used to fabricate the 3D-printed building construction shall be evaluated by an approved agency in accordance with UL 3401.

AW103.1 AW103.2 Design organization. 3D-printed buildings, structures and building elements shall be designed by a registered design professional based on a report of findings prepared by approved agency an organization certified in accordance with UL 3401. by an approved agency and approved by the building official in accordance with this section.

AW103.2 AW103.3 Design approval. The structural design, construction documents and UL 3401 report of findings shall be submitted for review and approval in accordance with Section 104.11 of the Florida Building Code, Building.

(S11604) (RB313-22 AMPC1)

APPENDIX AU COB CONSTRUCTION (MONOLITHIC ADOBE)

###### Add new definition as follows:

BUCK. A frame, typically wood, anchored in a wall system, that creates the rough opening into which a window or door frame is installed.

###### Revise as follows:

COB. A composite building material consisting of refined clay or clay subsoil wet-mixed with loose straw and sometimes sand. Also known as “Monolithic adobe.”

COB CONSTRUCTION. A wall system of layers or lifts of moist cob placed to create monolithic walls, typically without formwork.Also known as "Monolithic Adobe."

UNSTABILIZED. A cob Cob or other earthen material that does not contain admixtures such as Portland cement, lime, asphalt emulsion or oil.

AU103.8 Drying holes. Where holes to facilitate drying are used, such holes shall bepermitted to beof any depth andshall not exceed exceeding 3/4 inch (19 mm) in diameter on the face of cob walls. Drying holes shall not be spaced closer than 10 hole-diameters, and. Drying holes shall not be placed in braced wall panels. The design load on load-bearing walls with drying holes shall not exceed 90 percent of the allowable bearing capacity as determined in accordance with Section AU106.8. Drying holes shall be filled with cob before final inspection.

AU104.1.2 Exterior wall finishes. Where installed, exterior wall finishes shall be plasters in accordance with Section AU104.4, nonplaster exterior wall coverings in accordance with Section R703, or other finish systems in accordance with the following:

  - Specifications and details of the finish system’s means of attachment to the wall or its independent support, andof its means of draining or evaporating water that penetrates the exterior finish, shall be providedapproved.

  - The vapor permeance of the combination of finish materials shall be 5 perms or greater to allow the transpiration of water vapor from the wall.

  - Finish systems with weights greater than 10 pounds per square foot (48.9 kg/m) and less than or equal to 20 pounds per square foot (97.8 kg/m) of wall area shall require that the minimum total length of cob braced wall panels in Table AU106.11(3) be multiplied by a factor of 1.2.

  - Finish systems with weights greater than 20 pounds per square foot (97.8 kg/m) of wall area shall require an engineered design.

AU104.4 Plaster. Plaster applied to cob walls shall be any type described in this section.Plaster thickness shall not exceed 3 inches (76 mm) on each face except wherewith an approved engineered design is provided.

AU104.4.1 Plaster and membranes. Plaster shall be applied directly to cob walls to facilitate transpiration of moisture from the walls and to secure a mechanical bond between the plaster and the cob, and shall comply with Section AU105.4.1. A membrane shall not be located between the cob wall and the plaster.

AU105.2 Building limitations and requirements for cob wall construction. Cob walls shall be subject to the following limitations and requirements:

- Number of stories: not more than one.

- Building height: not more than 20 feet (6096 mm).

- Seismic design categories: limited to use in Seismic Design Categories A, B and C, exceptwherewith an approved engineered design is provided.

- Wall height: in accordance with Table AU105.3, and with Table AU106.11(1) forbraced wall panels.

- Wall thickness, excluding finish, shall be not less than 10 inches (254 mm), not greater than 24 inches (610 mm) at the top two- thirds, not limited at the bottom third and, for structural walls, shall comply with Section AU106.2, Item 2. Wall taper is permitted in accordance with Section AU106.5, Item 1.

- Interior cob walls shall require an approved engineered design that accounts for the seismic load of the interiorcob walls, except in Seismic Design Category A for walls with a height to thickness ratio less than or equal to to 6.

##### TABLE AU105.3 OUT-OF-PLANE RESISTANCE METHODS AND UNRESTRAINED WALL HEIGHT LIMITS

| WALL TYPEa, g, h AND METHOD OF OUT-OF-PLANE LOAD RESISTANCE | FOR ULTIMATE DESIGN WIND SPEEDS (mph) | FOR SEISMIC DESIGN CATEGORIES | UNRESTRAINED COB WALL HEIGHT H b, c |  | TOP ANCHORe SPACING (inches) | TENSION TIEf SPACING (inches) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Absolute Limit (feet) | Limit Based on Wall Thickness T d (feet) |  |  |
| Wall 1i: no anchors, no steel wall reinforcing | ≤ 110 | A | H ≤ 8 | H ≤ 6T | None | 48 |
| Wall 2: top anchors,j continuous vertical 6″ × 6″ × 6″ gage steel mesh in center of wall embedded in foundation 12 inches | ≤ 140 | A, B, C | H ≤ 8 | H ≤ 8T | 12 | 24 |
| Wall Ai: top anchors, no vertical steel reinforcing | ≤ 120 | A, B | H ≤ 8 | H ≤ 6T | 12 | 48 |
| Wall Bi: top and bottom anchors, no vertical steel reinforcing | ≤ 130 | A, B | H ≤ 8 | H ≤ 6T | 12 | 48 |
| Wall C: top and bottom anchors, continuous vertical threaded rod at 4 feet on center embedded in foundation and connected to bond beam | ≤ 140 | A, B, C | H ≤ 8 | H ≤ 8T | 12 | 24 |
| Wall D: continuous vertical threaded rod at 1 foot on center embedded in foundation and connected to bond beam | ≤ 140 | A, B, C | H ≤ 8 | H ≤ 8T | N/A | 24 |
| Wall E: top anchors, continuous vertical 6″ × 6″ × 6″ gage steel mesh 2 inches from each face of wall embedded in foundation | ≤ 140 | A, B, C | H ≤ 8 | H ≤ 8T | 12 | 24 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 mile per hour = 0.447 m/s.

N/A = Not Applicable

  - See Table AU106.11(1) for reinforcing and anchorage specifications for wall Types A, B, C, D and E.

  - H = height of the cob portion of the wall only. See Figure AU101.4. The maximumH is the absolute limit or the limit based on wall thickness, whichever is more restrictive.

  - Bond beams or other horizontal restraints arecapable of separatingpermitted to divide a wall into more than one unrestrained wall height with an approved engineered design.

  - T = Cob wall thickness (in feet) at its minimum, without plaster.

  - 5/8-inch threaded rod anchors at prescribed spacing with 12-inch embedment in cob, full embedment in concrete bond beams or full penetration in wood bond beam with a nut and washer.

  - Attach rafters to bond beam with 4-inch by 3-inch by 3-inch by 18 gage tension tie angles at prescribed spacing. See Figure AU106.9.5. Where rafters are attached to tension ties, roof sheathing shall be edge nailed.

  - All walls shall be tested for compressive strength in accordance with Section AU106.6.

  - For curved walls with an arc length (ARCc) to radius(Rc) ratio of 1.5:1 or greater, the H/T factor shall be increased by 1, and the absolute height limit by 1 foot.See Section AU106.11.3.

  - Wall type requires a modulus of rupture test in accordance with Section AU106.7.

  - See wall Type A in Table AU106.11(1) for top anchor requirements.

AU105.4.1 Water-resistant Water-resistive barriers and vapor permeance. Cob walls shall be constructed without a membrane barrier between the cob wall and plaster to facilitate transpiration of water vapor from the wall, and to secure a mechanical bond between thecob and plaster, except as otherwise required elsewhere in this appendix. Where awater-resistant water-resistive barrier is placed behind an exterior finish, it shall be considered part of the finish system and shall comply with Item 2 of Section AU104.1.2 for the combined vapor permeance rating.

AU105.4.2 Horizontal surfaces. Cob walls and other cob elements shall be provided with a water-resistantwater-resistive barrier at weather-exposed horizontal surfaces. The water-resistantwater-resistive barrier shall be of a material and installation that will prevent erosion and prevent water from entering the wall system. Horizontal surfaces, including exterior window sills, sills at exterior niches and exterior buttresses, shall be sloped not less than 1 unit vertical in 12 units horizontal to drain away from cob walls or other cob elements.

AU105.4.5 Installation of windows and doors. Windows and doors shall be installed in accordance with the manufacturer’s instructions to a wooden framebuck of not less than nominal 2-inch by 4-inch (51 mm by 102 mm) wood members. The installation of windows and doors and their bucks shall prevent the passage of air and water into or through the wall system. anchored into the cob wall with 16d galvanized nails half-driven at a maximum 6-inch (152 mm) spacing, with the protruding half embedded in the cob. The wood frame shall be embedded not less than 11/2 inches (38 mm) in the cob and shall be set in from each face of the wall not less than 3 inches (76 mm). Alternative window and door installation methods shall be capable of resisting the wind loads in Table R301.2.1(1). Windows and doors in cob walls shall be installed so as to mitigate the passage of air or moisture into or through the wall system. Window sills shall comply with Section AU105.4.2.Window and door bucks shall be installed in accordance with Figure AU105.4.5 and one of the following methods:

- Side members of the bucks shall be anchored into the cob wall by embedding the protruding half of half-driven 16d galvanized nails at a maximum 6-inch (152mm) spacing. The buck shall be embedded into the cob not less than 1½ inches (38mm) and set in from each face of the wall not less than 3 inches (76mm).

- Wood stiffeners not less than nominal 2-inch by 4-inch (51mm by 102mm) shall be attached on-edge to the sides of thebuck and embedded in the cob wall a minimum of 3½ inches (89mm). Stiffeners shall anchor into the cob wall with the protruding end of half- driven 16d galvanized nails at a maximum 6-inch (152mm) spacing. Stiffeners shall be set back not less than 3 inches (76mm) from each wall face. Bucks are permitted to be exposed and do not require anchoring nails when stiffeners are used with this method.

- Other approved methods satisfying the performance requirements of Section AU105.4.5.

Exception: Windows and unframed glass shall be permitted to be embedded directly into a cob wall with anapproved design.

Add new text as follows:

##### FIGURE AU105.4.5 WINDOW INSTALLATION (DOOR INSTALLATION SIMILAR)

###### Revise as follows:

AU106.1 General. Cob structural walls shall be in accordance with the prescriptive provisions of this section. Designs or portions of designs not complying with this section shall require an approved design by a registered design professional except where an engineered design is required.

AU106.6 Compressive strength of cob structural and nonstructural walls. All cob walls shall have a minimum compressive strength of 60 psi (414 kPa). Cob, and cob in walls used as braced wall panels shall have a minimum compressive strength of 85 psi (586 kPa)except with an approved engineered design.

AU106.8.2 Support of concentrated loads. Concentrated roof and ceiling loads shall be distributed by structural elements capable of distributing the loads to the cob load-bearing wall and within its allowable bearing capacity as determined in accordance with Section AU106.8. Concentrated loads over lintels or over bond beams spanning openings shall require an approved engineered design by

a registered design professional.

AU109.2 Thermal resistance. The unit R-value for cob walls with a density of 110 pounds per cubic foot (1762 kg/m3) shall be R-0.22 (RSI 0.0387) per inch of cob thickness. The unit R-value for cob walls with a density of 75 pounds per cubic foot (1762kg/m3) shall be R-0.54 (RSI 0.095) per inch of cob thickness. Linear interpolation is permitted. Extrapolation is not permitted. Walls that vary in thickness along their height or length shall use the average thickness of the wall to determine its R-value. The thermal resistance values of air films and

finish materials or additional insulation shall be added to the cob wall's thermal resistance value to determine the R-value of the wall assembly. Cob density shall be measured at equilibrium moisture content.

(S11601) (RB309-22 AS)

###### Revise as follows:

AU108.1 Fire-resistance rating. Cob walls are not fire-resistance rated. Cob walls that comply with Table AU108.1 have a two-hour fire-resistance rating.

Revise as follows:

##### TABLE AU105.3 OUT-OF-PLANE RESISTANCE METHODS AND UNRESTRAINED WALL HEIGHT LIMITS

| WALL TYPEa, g, h AND METHOD OF OUT-OF-PLANE LOAD RESISTANCE | FOR ULTIMATE DESIGN WIND SPEEDS (mph) | FOR SEISMIC DESIGN CATEGORIES | UNRESTRAINED COB WALL HEIGHT H b, c |  | TOP ANCHORe SPACING (inches) | TENSION TIEf SPACING (inches) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Absolute Limit (feet) | Limit Based on Wall Thickness T d (feet) |  |  |
| Wall 1i: no anchors, no steel wall reinforcing | ≤ 110 | A | H ≤ 8 | H ≤ 6T | None | 48 |

| Wall 2: top anchors,j continuous vertical 6″ × 6″ × 6″ 6-inch x 6-inch 6- gage steel mesh in center of wall embedded in foundation 12 inches | ≤ 140 | A, B, C | H ≤ 8 | H ≤ 8T | 12 | 24 |
| --- | --- | --- | --- | --- | --- | --- |
| Wall Ai: top anchors, no vertical steel reinforcing | ≤ 120 | A, B | H ≤ 8 | H ≤ 6T | 12 | 48 |
| Wall Bi: top and bottom anchors, no vertical steel reinforcing | ≤ 130 | A, B | H ≤ 8 | H ≤ 6T | 12 | 48 |
| Wall C: top and bottom anchors, continuous vertical threaded rod at 4 feet on center embedded in foundation and connected to bond beam | ≤ 140 | A, B, C | H ≤ 8 | H ≤ 8T | 12 | 24 |
| Wall D: continuous vertical threaded rod at 1 foot on center embedded in foundation and connected to bond beam | ≤ 140 | A, B, C | H ≤ 8 | H ≤ 8T | N/A | 24 |
| Wall E: top anchors, continuous vertical 6″ × 6″ × 6″ 6-inch x 6-inch 6- gage steel mesh 2 inches from each face of wall embedded in foundation | ≤ 140 | A, B, C | H ≤ 8 | H ≤ 8T | 12 | 24 |
| Wall F: top anchors, continuous vertical 6-inch × 6-inch 10-gage steel mesh 2 inches from each face of wall embedded in foundation | ≤ 140 | A, B, C | H ≤ 8 | H ≤ 8T | 12 | 24 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 mile per hour = 0.447 m/s.

N/A = Not Applicable

- See Table AU106.11(1) for reinforcing and anchorage specifications for wall Types A, B, C, D and E.

- H = height of the cob portion of the wall only. See Figure AU101.4. The maximumH is the absolute limit or the limit based on wall thickness, whichever is more restrictive.

- Bond beams or other horizontal restraints are capable of separating a wall into more than one unrestrained wall height with an approved engineered design.

- T = Cob wall thickness (in feet) at its minimum, without plaster.

- 5/8-inch threaded rod anchors at prescribed spacing with 12-inch embedment in cob, full embedment in concrete bond beams or full penetration in wood bond beam with a nut and washer.

- Attach rafters to bond beam with 4-inch by 3-inch by 3-inch by 18 gage tension tie angles at prescribed spacing. See Figure AU106.9.5. Where rafters are attached to tension ties, roof sheathing shall be edge nailed.

- All walls shall be tested for compressive strength in accordance with Section AU106.6.

- For curved walls with an arc length to radius ratio of 1.5:1 or greater, theH/T factor shall be increased by 1, and the absolute height limit by 1 foot.

- Wall type requires a modulus of rupture test in accordance with Section AU106.7.

- See wall Type A in Table AU106.11(1) for top anchor requirements.

##### TABLE AU108.1 TWO-HOUR FIRE-RESISTANCE RATED COB WALLS

| Allowable superimposed load (plf) | Densitya, d (pcf) | Minimum compressive strength per Section AU106.6.1 (psi) |  | Wall type reinforcement per Table AU105.3 | Minimum thicknessc, e,f at top of wall (inches) | Minimum thicknessc, e, f at bottom of wall (inches) |
| --- | --- | --- | --- | --- | --- | --- |
| 1,200 | 100 | 85 |  | E | 9 | 12 |
| 475 | ≥ 50 pcf: top of wall to for the top 40 inches from top of wall height, maximum. | 40b |  | E or F | 8 | 12 |
|  | ≥ 70 pcf: 40 inches from for the top of wall to 80 inches from top of wall height, maximum. | 55b |  |  |  |  |
|  | ≥ 90 pcf: 80 inches from top of wall to bottom of wall. | 85 |  |  |  |  |
| non load-bearing | 50 to 100d | >≥ 60 psi < 60 psib |  | E or F | 9 | 9 |

For SI: 1 inch = 25.4 mm, 1 foot = 304.8 mm, 1 pound = 0.45 kg

- Density is to be measured at equilibrium moisture content. Average wall density shall be within +/- 5 pcf of the tabulated value.

- Requires an approved engineered design per Section AU106.6.

- Cob thickness only. The interior and exterior cob faces shall be permitted to be unfinished or receive any plaster finish allowed by this appendix.

- Cob walls with more than one density shall be built with heavier densities below lighter densities.

- Minimum cob wall thickness shall be whichever is greater in Table AU105.3, Table AU106.11(1) and Table AU108.1.

- Wall thicknesses less than 10" require an engineered design.

(S11602) (RB310-22 AMPC1)

###### Revise as follows:

AU105.3.4.2 Horizontal reinforcing. Two-inch by 2-inch (51 mm by 51 mm) 14-gage galvanized steel mesh shall be embedded 4 inches (102 mm) in the cob above the rough opening and below the rough opening for windows, and shall extend 12 inches (305 mm) beyond the sides of the opening. Walls below rough window openings greater than 4 feet 6 inches (1372 mm) in height shall be provided with additional horizontal reinforcing at midheight.

AU106.6.1 Demonstration of compressive strength. The compressive strength of the cob mix to be used in structural walls and nonstructural walls as required in Section AU106.6 shall be demonstrated to the building official before the placement of cob onto walls, with compressive strength tests and an associated report by an approved laboratory or with an approved on-site test as follows:

  - Five samples of the proposed cob mix shall be placed moist to completely fill a 4-inch by 4-inch by4-inch8-inch (102 mm by 102 mm by 102 203 mm) form and dried to ambient moisture conditions.

  - Samples shall not be oven dried.

  - Any opposite The 4-inch by 4-inch (102 mm by 102 mm) faces shall be faced capped with plaster of paris if needed to achieve smooth, parallel faces, after which the sample shall reach ambient moisture conditions before testing.

  - Samples shall be constructed, dried, and tested with the long dimension vertical.

  - 4. The horizontal cross section of the dried sample as tested, and the maximum applied load at failure shall be used to calculate the sample’s compressive strength.

  - 5. The fourth-lowest value shall be used to determine the mix’s compressive strength.

AU106.8 Bearing capacity. The allowable bearing capacity for cob load-bearing walls supporting vertical roof and/or ceiling loads imposed in accordance with Section R301 shall not exceed 2200 plf and shall be determined by Equation AU-2. Use of bearing capacities determined with Equation AU-2 exceeding 2200 plf requires an approved design prepared by a registered design professional that accounts for buckling.

BC = Allowable bearing capacity of wall (in pounds per lineal foot of wall).

C = Compressive strength (in psi) as determined in accordance with Section AU106.6.

Tmin = Thickness of wall (in feetinches) at its minimum.

H = Height of cob portion of wall (in feet).

Tavg = Average thickness of wall (in feetinches).

D = Density of cob = 110 (in pounds per cubic foot), unless a lesser value at equilibrium moisture content is demonstrated.

###### (Equation AU-

2)

(S11600) (RB308-22 AS)