|  |
| --- |
| **ELECTRICAL****TAC ACTION/Votes****Local Technical amendments****to the****2023 8th Edition Florida Building Code** |
|  |  |  |  |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | SUMMARY OF TECHNICAL AMENDMENT | TAC ACTION/VOTE |
|  |  |  |  |
| Broward CountyPg 2 | FBCResidentialR4501.16 | Local Amendment regarding underwater luminaires. |  |
|  |  |  |  |
| Pinellas County Construction Industry Licensing Board(PCCILB)Pg 3 | FBC Building2701.1  | Local Amendment regarding NFPA 70 (NEC) regarding equipment grounding conductor size. |  |
|  |  |  |  |
| Broward CountyPg 5 | FBCBuilding454.1.4.1.1 | Local Amendment regarding Maximum Voltage for luminaires. |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |