|  |  |  |  |
| --- | --- | --- | --- |
| **PLUMBING**  **TAC ACTION/Votes**  **Local Technical amendments**  **to the**  **2023 8th Edition Florida Building Code** | | | |
|  |  |  |  |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | SUMMARY OF TECHNICAL AMENDMENT | TAC ACTION/VOTE |
|  |  |  |  |
| Broward County  Pg 2 | FBC  RESIDENTIAL  Table 2903.2 | Local Amendment regarding Maximum Flow Rates and Consumption for Plumbing Fixtures, and Fixture Fittings and Appliances. |  |
|  |  |  |  |
| Pinellas County Construction Industry Licensing Board  (PCCILB)  Pg. 3 | FBC  RESIDENTIAL  P2903.1 | Local Amendment regarding Water Supply System Design Criteria – with Exception: for one-, two- or three-family residential dwellings and piping size/length requirements. |  |
|  |  |  |  |
| Pinellas County Construction Industry Licensing Board  (PCCILB)  Pg 4 | FBC  PLUMBING  610.2 | Local Amendment regarding Applicable Sizes for Disinfection of Potable Water Systems. |  |
|  |  |  |  |
| Pinellas County Construction Industry Licensing Board  (PCCILB)  Pg 5 | FBC  RESIDENTIAL  P2903.2.1 | Local Amendment regarding Size of Water Service and piping size/length requirements. |  |
|  |  |  |  |
| County of  Miami-Dade  Pg 6 | FBC  PLUMBING  602.1.1 | Local Amendment regarding Meters and Submeters requirements for single and multi-unit structures. |  |
|  |  |  |  |
| County of  Miami-Dade  Pg 7 | FBC  PLUMBING  604.4  And  Table 604.4 | Local Amendment regarding Maximum Flow and Water Consumption and Fixture and Fixture Fitting and Appliance Requirements |  |
|  |  |  |  |
| County of  Miami-Dade  Pg 10 | FBC  RESIDENTIAL  Table P2903.2a | Local Amendment regarding Maximum Flow Rates and Consumption for Plumbing Fixtures and Fixture Fittings and Appliances and alternative water supply |  |
|  |  |  |  |
| Broward County  Pg. 13 | FBC  Residential  Appendix F | Local Amendment regarding Proposed Building Codes for Turf and Landscape Irrigation Systems |  |
|  |  |  |  |
| Broward County  Pg. 15 | FBC  BUILDING  Appendix F | Local Amendment regarding Proposed Building Codes for Turf and Landscape Irrigation Systems | Broward County  Pg. 13 |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |