|  |  |  |  |
| --- | --- | --- | --- |
| **STRUCTURAL**  **TAC ACTION/Votes**  **Local Technical amendments**  **to the**  **2023 8th Edition Florida Building Code** | | | |
|  |  |  |  |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | SUMMARY OF TECHNICAL AMENDMENT | TAC ACTION/VOTE |
|  |  |  |  |
| PINELLAS County Construction Industry Licensing Board  (PCCILB)  Pg. 2 | FBC-  Building  1609.3 | Local Amendments regarding Ultimate Design Wind Speeds for the jurisdiction by Risk Category. |  |
|  |  |  |  |
| City of Ft. Pierce  Pg. 3 | FBC  Building  1609.3 | Local Amendments regarding Ultimate Design Wind Speeds for the jurisdiction by Risk Category. |  |
|  |  |  |  |
| Dixie County  Pg. 4 | FBC  Building  1609.3 | Local Amendments regarding Ultimate Design Wind Speeds for the jurisdiction by Risk Category. |  |
|  |  |  |  |
| City of Ocoee  Pg. 4 | FBC  Building  1401.1 | Local Amendment requiring exterior first floor walls of non-residential structures, must be constructed of masonry block, concrete, or metal and no other material shall be approved. |  |
|  |  |  |  |
| PINELLAS County Construction Industry Licensing Board  (PCCILB)  Pg. 5 | FBC  Building  201 | Local Amendments definition for ‘Substantial Improvement’ |  |
|  |  |  |  |