| MECHANICAL TAC/Commission/ ACTION Local Technical amendments to the 2023 8th Edition Florida Building Code |  |  |  |
| --- | --- | --- | --- |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | SUMMARY OF TECHNICAL AMENDMENT | TAC/Commission/ACTION |
| Broward County Pg 1 | FBC Mechanical 307.2.1/Exception | Local Amendment regarding condensate disposal. | Locke Motion to Deny 2nd Cochelle Vote: 8 Yes – 0 No |
| Broward County Pg. 2 | FBC Mechanical 908.3.1 | Local Amendment regarding location of cooling tower loccations. | Locke Motion to Deny 2nd Cochelle Vote: 8 Yes – 0 No |
| Broward County Pg. 3 | FBC Mechanical 908.8/Exception | Local Amendment regarding existing cooling tower exemptions and new cooling tower and evaporative condenser shall be operated with conductivity controllers and make up and blowdown meters and shall achieve a min of 8 cycles. | Locke Motion to Deny 2nd Cochelle Vote: 8 Yes – 0 No |
| Pinellas County Construction Industry Licensing Board (PCCILB) Pg 5 | FBC Mechanical M1411.3 | Local Amendment regarding insulation of condensate drain lines. | Locke Motion to Deny 2nd Cochelle Vote: 8 Yes – 0 No |