| PLUMBING TAC/Commission ACTION Local Technical amendments to the 2023 8th Edition Florida Building Code |  |  |  |
| --- | --- | --- | --- |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | SUMMARY OF TECHNICAL AMENDMENT | TAC /Commission/ACTION |
| Broward County Pg 2 | FBC RESIDENTIAL Table 2903.2 | Local Amendment regarding Maximum Flow Rates and Consumption for Plumbing Fixtures, and Fixture Fittings and Appliances. | Kozan Motion to Deny 2nd Gonzalez Vote: 8 Yes – 0 No |
| Pinellas County Construction Industry Licensing Board (PCCILB) Pg. 3 | FBC RESIDENTIAL P2903.1 | Local Amendment regarding Water Supply System Design Criteria – with Exception: for one-, two- or three-family residential dwellings and piping size/length requirements. | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
| Pinellas County Construction Industry Licensing Board (PCCILB) Pg 4 | FBC PLUMBING 610.2 | Local Amendment regarding Applicable Sizes for Disinfection of Potable Water Systems. | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
| Pinellas County Construction Industry Licensing Board (PCCILB) Pg 5 | FBC RESIDENTIAL P2903.2.1 | Local Amendment regarding Size of Water Service and piping size/length requirements. | Kozan Motion to Deny 2nd Languille Vote: 8 Yes – 0 No |
| County of Miami-Dade Pg 6 | FBC PLUMBING 602.1.1 | Local Amendment regarding Meters and Submeters requirements for single and multi-unit structures. | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
| County of Miami-Dade Pg 7 | FBC PLUMBING 604.4 And Table 604.4 | Local Amendment regarding Maximum Flow and Water Consumption and Fixture and Fixture Fitting and Appliance Requirements | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
| County of Miami-Dade Pg 10 | FBC RESIDENTIAL Table P2903.2a | Local Amendment regarding Maximum Flow Rates and Consumption for Plumbing Fixtures and Fixture Fittings and Appliances and alternative water supply | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
| Broward County Pg. 13 | FBC Residential Appendix F | Local Amendment regarding Proposed Building Codes for Turf and Landscape Irrigation Systems | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |
| Broward County Pg. 15 | FBC BUILDING Appendix F | Local Amendment regarding Proposed Building Codes for Turf and Landscape Irrigation Systems | Kozan Motion to Deny 2nd Duren Vote: 8 Yes – 0 No |