| STRUCTURAL TAC/Commission ACTION/Votes Local Technical amendments to the 2023 8th Edition Florida Building Code |  |  |  |
| --- | --- | --- | --- |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | SUMMARY OF TECHNICAL AMENDMENT | TAC/Commission ACTION/VOTE |
| PINELLAS County Construction Industry Licensing Board (PCCILB) Pg. 2 | FBC- Building 1609.3 | Local Amendments regarding Ultimate Design Wind Speeds for the jurisdiction by Risk Category. | Guerasio Motion to Deny 2nd Gascon Vote: 11 Yes – 0 No |
| City of Ft. Pierce Pg. 3 | FBC Building 1609.3 | Local Amendments regarding Ultimate Design Wind Speeds for the jurisdiction by Risk Category. | Guerasio Motion to Deny 2nd Gascon Vote: 11 Yes – 0 No |
| Dixie County Pg. 4 | FBC Building 1609.3 | Local Amendments regarding Ultimate Design Wind Speeds for the jurisdiction by Risk Category. | Guerasio Motion to Deny 2nd Gascon Vote: 11 Yes – 0 No |
| City of Ocoee Pg. 4 | FBC Building 1401.1 | Local Amendment requiring exterior first floor walls of non-residential structures, must be constructed of masonry block, concrete, or metal and no other material shall be approved. | Guerasio Motion to Deny 2nd Gascon Vote: 11 Yes – 0 No |
| PINELLAS County Construction Industry Licensing Board (PCCILB) Pg. 5 | FBC Building 201 | Local Amendments definition for ‘Substantial Improvement’ | Guerasio Motion to Deny 2nd Gascon Vote: 11 Yes – 0 No |