| SWIMMING POOL TAC/Commission/ ACTION Local Technical amendments to the 2023 8th Edition Florida Building Code |  |  |  |
| --- | --- | --- | --- |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | SUMMARY OF TECHNICAL AMENDMENT | TAC/Commission/ ACTION |
| Broward County Pg. 1 | FBC- Building 454.1.4 454.1.4.1 454.2.16 | Local Amendments regarding GFI requirements, total luminaire wattage and Luminaire Maximum Voltage | Batts Motion to Deny 2nd Ball Vote: 11 Yes – 0 No |
| Broward County Pg. 3 | FBC Residential 4501.16 | Maximum Voltage Limits and wiring for luminaires in pools. | Batts Motion to Deny 2nd Ball Vote: 11 Yes – 0 No |