Page 1 of 10
11/4/2024
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  28
Approved as Submitted – Consent
TAC Recommendation
Total Mods for  Special Occupancy in  Approved as Submitted – Consent
TAC: 
Special Occupancy
 7
SubCode:
Building
⮊
30‑Elevators and Conveying Systems
Mod #
 11063 
Proponent
3002.1
Section
30
Chapter
Approved as Submitted – Consent
The intent of this proposal is consistent terminology for elevator protection. The current text is very inconsistent. This is not intended to have any technical changes.
Summary
x
AS
AS/IC
Correlates Directly

D

D/IC

Mo Madani
G180‑21
CC #
Staff Classication
Commission Action
Mod #
 11065 
Proponent
3006
Section
30
Chapter
Approved as Submitted – Consent
The intent of this proposal is to clarify lobby protection requirements – which walls are fire barriers, fire partitions or smoke barriers. This will also clarify what requirements are applicable for the elevator hoistway doors vs. the doors in the other walls of the lobby protection.
Summary
x
AS
AS/IC
Correlates Directly

D

D/IC

Mo Madani
G183‑21 Part I
CC #
Staff Classication
Commission Action
Mod #
 11067 
Proponent
3006.3
Section
30
Chapter
Approved as Submitted – Consent
Smoke protective curtain assemblies for hoistways are recognized and regulated in NFPA 105 Chapter 9 (2019). There are multiple manufactures of these assemblies in the market. Proposal to address. Definition "SMOKE PROTECTIVE CURTAIN ASSEMBLY FOR HOISTWAY" added.
Summary
x
AS
AS/IC
Correlates Directly

D

D/IC

Mo Madani
G185‑21
CC #
Staff Classication
Commission Action
SubCode:
Residential
⮊
3‑Building Planning

Page 2 of 10
11/4/2024
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  28
Total Mods for  Special Occupancy in  Approved as Submitted – Consent
TAC: 
Special Occupancy
 7
Mod #
 11398 
Proponent
301.2.4
Section
3
Chapter
Approved as Submitted – Consent
This proposal makes it clearer that the flood provisions that apply to both new dwellings and substantially improved or substantially damaged dwellings must comply when located in whole or in part in flood hazard areas.
Summary
x
AS
AS/IC
Correlates Directly

D

D/IC

Mo Madani
RB42‑22
CC #
Staff Classication
Commission Action
Mod #
 11475 
Proponent
322.3.5
Section
3
Chapter
Approved as Submitted – Consent
This code change does not change the loads used to design breakaway walls. It just shows how the loads expressed using allowable stress design are expressed as ultimate loads, which is used in ASCE 7 for seismic design and wind loads.
Summary
x
AS
AS/IC
Correlates Directly

D

D/IC

Mo Madani
RB142‑22
CC #
Staff Classication
Commission Action
3318‑Light Straw‑Clay Construction
Mod #
 11596 
Proponent
103.1.1
Section
3318
Chapter
Approved as Submitted – Consent
Adds new Standard AR103.1.1 "Flood hazard areas".
Summary
x
AS
AS/IC
Correlates Directly

D

D/IC

Mo Madani
RB302‑22
CC #
Staff Classication
Commission Action
3319‑Strawbale Construction

Page 3 of 10
11/4/2024
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  28
Total Mods for  Special Occupancy in  Approved as Submitted – Consent
TAC: 
Special Occupancy
 7
Mod #
 11597 
Proponent
101.3
Section
3319
Chapter
Approved as Submitted – Consent
Adds new Section AS101.3 "Flood hazard areas".
Summary
x
AS
AS/IC
Correlates Directly

D

D/IC

Mo Madani
RB304‑22
CC #
Staff Classication
Commission Action
Denied – Consent
TAC Recommendation
Total Mods for  Special Occupancy in  Denied – Consent
TAC: 
Special Occupancy
 21
SubCode:
Building
⮊
1‑Scope and Administration
Mod #
 11184 
Proponent
110.3.12.1
Section
1
Chapter
Denied – Consent
When nonresidential buildings in flood hazard areas are proposed to be dry floodproofed, several aspects of design are critical. Proposal concerning this issue.
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
S125‑22 Part I
CC #
Staff Classication
Commission Action
10‑Means of Egress
Mod #
 11064 
Proponent
1020.2.1
Section
10
Chapter
Denied – Consent
Elevator doors that open into a rated corridor have to meet both the fire partition and fire barrier requirements. The options for elevator door protection in Section 3006.3 would be a viable option, so Section 3006.2.1 could be moved up as Item 6 in Section 3006.2.
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
G182‑21
CC #
Staff Classication
Commission Action

Page 4 of 10
11/4/2024
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  28
Total Mods for  Special Occupancy in  Denied – Consent
TAC: 
Special Occupancy
 21
16‑Structural Design
Mod #
 11186 
Proponent
1612.4
Section
16
Chapter
Denied – Consent
This code change does not change the loads used to design breakaway walls. It just shows how the loads expressed using allowable stress design are expressed as ultimate loads, which is used in ASCE 7 for seismic design and wind loads.
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
S126‑22
CC #
Staff Classication
Commission Action
30‑Elevators and Conveying Systems
Mod #
 11061 
Proponent
3001.2
Section
30
Chapter
Denied – Consent
Modifies text of Section 3001.2. The title was modified because this communication system needs to be useable by all people, not just the deaf, hard of hearing and speech impaired.
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
G177‑21
CC #
Staff Classication
Commission Action
Mod #
 11062 
Proponent
3001.2
Section
30
Chapter
Denied – Consent
This proposal is submitted as there is no new standard published, as of this writing, under the ASME A17.1 in support of IBC 2018 Section 3001.2. This code proposal also provides additional direction and clarification for industry.
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
G178‑21
CC #
Staff Classication
Commission Action

Page 5 of 10
11/4/2024
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  28
Total Mods for  Special Occupancy in  Denied – Consent
TAC: 
Special Occupancy
 21
Mod #
 11068 
Proponent
3007.6
Section
30
Chapter
Denied – Consent
Adds Exception to Section 3007.6. Concerning "A fire service access elevator lobby is not required to be provided at an occupied roof".
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
G187‑21
CC #
Staff Classication
Commission Action
Mod #
 11069 
Proponent
3009
Section
30
Chapter
Denied – Consent
The proposed language increases awareness for the building designers, contractors and building code officials to the need to mitigate this serious hazard, while retaining the actual code requirements in ASME A17.1/CSA B44. Adds Section 3009 "PRIVATE RESIDENCE ELEVATORS".
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
G188‑21
CC #
Staff Classication
Commission Action
31‑Special Construction
Mod #
 11074 
Proponent
3101.1
Section
31
Chapter
Denied – Consent
Deletes the Section 3114 "PUBLIC USE RESTROOM BUILDINGS IN FLOOD HAZARD AREAS".
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
G194‑21
CC #
Staff Classication
Commission Action
SubCode:
Existing Building
⮊
1‑Scope and Administration

Page 6 of 10
11/4/2024
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  28
Total Mods for  Special Occupancy in  Denied – Consent
TAC: 
Special Occupancy
 21
Mod #
 11185 
Proponent
109.3.10
Section
1
Chapter
Denied – Consent
When nonresidential buildings in flood hazard areas are proposed to be dry floodproofed, several aspects of design are critical.
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
S125‑22 Part II
CC #
Staff Classication
Commission Action
5‑Prescriptive Compliance Method
Mod #
 10705 
Proponent
502.3
Section
5
Chapter
Denied – Consent
This proposal includes requirements for alterations and additions (improvements) to existing buildings in flood hazard areas
Summary

AS
AS/IC
Correlates Directly

x
D

D/IC

Mo Madani
EB50‑22
CC #
Staff Classication
Commission Action
Mod #
 10706 
Proponent
502.3
Section
5
Chapter
Denied – Consent
Adds requirements to raised foundations for flood requirements
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
EB51‑22
CC #
Staff Classication
Commission Action
12‑Historic Buildings

Page 7 of 10
11/4/2024
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  28
Total Mods for  Special Occupancy in  Denied – Consent
TAC: 
Special Occupancy
 21
Mod #
 10762 
Proponent
1201.2
Section
12
Chapter
Denied – Consent
simplifies and improves the language in Section 1201.2 by providing a direct pointer to Section 115 and eliminating vague and unenforceable language
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
EB104‑22
CC #
Staff Classication
Commission Action
Mod #
 10763 
Proponent
1201.2
Section
12
Chapter
Denied – Consent
Addresses requirement for a report for Level 1 alteration
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
EB105‑22
CC #
Staff Classication
Commission Action
Mod #
 10766 
Proponent
1203.3
Section
12
Chapter
Denied – Consent
Editorial change to address clarity of section
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
EB110‑22
CC #
Staff Classication
Commission Action

Page 8 of 10
11/4/2024
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  28
Total Mods for  Special Occupancy in  Denied – Consent
TAC: 
Special Occupancy
 21
Mod #
 10767 
Proponent
1205.1
Section
12
Chapter
Denied – Consent
refers users to Section 405.2.1 for nearly all repairs, regardless of the level of damage
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
EB113‑22
CC #
Staff Classication
Commission Action
Mod #
 10768 
Proponent
1205.1
Section
12
Chapter
Denied – Consent
Editorial change for clarity
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
EB114‑22
CC #
Staff Classication
Commission Action
Mod #
 11671 
Proponent
1203.2
Section
12
Chapter
Denied – Consent
The intent of this code change proposal is to coordinate terminology between the IBC, IFC and IEBC when referring to “automatic sprinkler system” since this term is used and defined in the International Building Code and International Fire Code
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
EB108‑22
CC #
Staff Classication
Commission Action
SubCode:
Residential
⮊
3‑Building Planning

Page 9 of 10
11/4/2024
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  28
Total Mods for  Special Occupancy in  Denied – Consent
TAC: 
Special Occupancy
 21
Mod #
 11471 
Proponent
322.2.1
Section
3
Chapter
Denied – Consent
The proposal adds provisions to the elevation requirements of Section R322, Flood‑Resistant Construction, specifically to allow wet floodproofed accessory structures and detached garages in flood hazard areas with floors below the required lowest floor elevations
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
RB137‑22
CC #
Staff Classication
Commission Action
Mod #
 11472 
Proponent
322.2.2
Section
3
Chapter
Denied – Consent
FEMA regularly responds to questions about whether utility chases and elevator shafts that extend below elevated buildings are enclosures. Code change to address this topic.
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
RB138‑22
CC #
Staff Classication
Commission Action
Mod #
 11473 
Proponent
322.3.2
Section
3
Chapter
Denied – Consent
Proposal to clarify where the “bottom of the lowest horizontal structural member” is located when applicants elect to use backfilled stem wall foundations so that designers, builders, and building officials can readily determine compliance.
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
RB139‑22
CC #
Staff Classication
Commission Action

Page 10 of 10
11/4/2024
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  28
Total Mods for  Special Occupancy in  Denied – Consent
TAC: 
Special Occupancy
 21
Mod #
 11474 
Proponent
322.3.3
Section
3
Chapter
Denied – Consent
This proposal requires pilings and columns to be designed in accordance ASCE 24 Flood Resistant Design and Construction, which is the standard of practice for design and construction in flood hazard areas.
Summary

AS
AS/IC
Overlap

x
D

D/IC

Mo Madani
RB140‑22
CC #
Staff Classication
Commission Action
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2026
ALL
2026 ICC Code Change Original Modification 02/13/2024 ‑ 05/17/2024
ALL
ALL
SP
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria