Page 1 of 3
8/27/2025
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  7
Code Administration
Denied
TAC Recommendation
TAC:
 7
Total Mods for  
in
Denied
Code Administration
Code Administration
SubCode:
Ü
SubCode:
Building
1‑Scope and Administration
Jack Butler
Comment
Summary
Proponent
107.1
Add ability to provide digital construction documents when approved by the building official, clarify terms, and provide a means for accommodating digital documents in the approval process.
Mod #
 11908
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 1
Chapter

Section
TAC Action
Jack Butler
Comment
Summary
Proponent
107.3.4
Provide flexibility required for residential construction projects as a result of FBC‑Residential pointing to FBC‑Building for code administration.
Mod #
 11911
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 1
Chapter

Section
TAC Action
Rebecca Quinn obo FL Div Emerg Mgnt
Comment
Summary
Proponent
107.3.5
Certain documentation is required for construction in flood hazard areas: elevation to which Lowest Floors are elevated, the elevation to which dry floodproofing will extend, and design of dry floodproofing. Proposal specifies use of FEMA certificates specifically designed for those purposes.
Mod #
 11962
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 1
Chapter

Section
TAC Action

Page 2 of 3
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  7
Code Administration
TAC:
 7
Total Mods for  
in
Denied
Code Administration
Code Administration
James Schock
Comment
Summary
Proponent
105.2
This change removes permitting requirements for accessibility renovations to One and Two Family Dwellings providing an accessible entry and path of travel through the dwelling unless, it involves structural bearing walls.
Mod #
 11993
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 1
Chapter

Section
TAC Action
Shane Gerwig
Comment
Summary
Proponent
107.3.5
During discussion of Declaratory Statement DS 2024‑002, it was evident that the application of this section is confusing and not consistently administered throughout Florida. This adds numbering structure consistent with framework throughout the code.
Mod #
 12098
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 1
Chapter

Section
TAC Action
Shannon Few
Comment
Summary
Proponent
105.3.1.2
Proposing to change the dollar amount in section 4 from $5,000 to $15,000.
Mod #
 12205
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 1
Chapter

Section
TAC Action
Cade Booth
Comment
Summary
Proponent
110.3.14
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12257
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 1
Chapter

Section
TAC Action

Page 3 of 3
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  7
Code Administration
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2026
ALL
2026 Triennial Original Modification 01/03/2025 ‑ 02/18/2025
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria
CA