Page 1 of 10
8/27/2025
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  33
Fire
Approved as Submitted
TAC Recommendation
TAC:
 2
Total Mods for  
in
Approved as Submitted
Fire
Fire
SubCode:
Ü
SubCode:
Building
10‑Means of Egress
Amanda Hickman
Comment
Summary
Proponent
1010
Updates code regarding A2L products.
Mod #
 12153
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 10
Chapter

Section
TAC Action
35‑Referenced Standards
Mo Madani
Comment
Summary
Proponent
35
Standards update for consistency with FFPC.
Mod #
 12337
AM/IC
D/IC
D
AM
AS/IC
AS
Approved as Submitted
W
Chapter 35
Chapter

Section
TAC Action
Denied
TAC Recommendation
TAC:
 31
Total Mods for  
in
Denied
Fire
Fire
SubCode:
Ü
SubCode:
Building
1‑Scope and Administration

Page 2 of 10
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  33
Fire
TAC:
 31
Total Mods for  
in
Denied
Fire
Fire
Cade Booth
Comment
Summary
Proponent
110.3.14
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12257
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 1
Chapter

Section
TAC Action
2‑Definitions
Cade Booth
Comment
Summary
Proponent
202
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12281
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 2
Chapter

Section
TAC Action
Cade Booth
Comment
Summary
Proponent
202
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12282
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 2
Chapter

Section
TAC Action
4‑Special Detailed Requirements Based on Use and Occupancy
Cade Booth
Comment
Summary
Proponent
403.3.2
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12271
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 4
Chapter

Section
TAC Action

Page 3 of 10
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  33
Fire
TAC:
 31
Total Mods for  
in
Denied
Fire
Fire
5‑General Building Heights and Areas
Cade Booth
Comment
Summary
Proponent
504.3
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12283
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 5
Chapter

Section
TAC Action
Cade Booth
Comment
Summary
Proponent
504.4
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12284
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 5
Chapter

Section
TAC Action
Cade Booth
Comment
Summary
Proponent
506.2
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12285
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 5
Chapter

Section
TAC Action
Cade Booth
Comment
Summary
Proponent
508.4.4.1
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12286
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 5
Chapter

Section
TAC Action

Page 4 of 10
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  33
Fire
TAC:
 31
Total Mods for  
in
Denied
Fire
Fire
Cade Booth
Comment
Summary
Proponent
508.4.1.1
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12287
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 5
Chapter

Section
TAC Action
6‑Types of Construction
Cade Booth
Comment
Summary
Proponent
601
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12264
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 6
Chapter

Section
TAC Action
Cade Booth
Comment
Summary
Proponent
602.4
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12265
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 6
Chapter

Section
TAC Action
7‑Fire and Smoke Protection Features
Fernando Pages
Comment
Summary
Proponent
722.6
Adds insulated vinyl siding and backed vinyl siding to table 722.6.2(3).
Mod #
 11930
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 7
Chapter

Section
TAC Action

Page 5 of 10
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  33
Fire
TAC:
 31
Total Mods for  
in
Denied
Fire
Fire
Cade Booth
Comment
Summary
Proponent
703.8
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12266
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 7
Chapter

Section
TAC Action
Cade Booth
Comment
Summary
Proponent
703.9
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12267
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 7
Chapter

Section
TAC Action
Cade Booth
Comment
Summary
Proponent
705.5
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12268
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 7
Chapter

Section
TAC Action
Cade Booth
Comment
Summary
Proponent
722.7
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12270
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 7
Chapter

Section
TAC Action
10‑Means of Egress

Page 6 of 10
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  33
Fire
TAC:
 31
Total Mods for  
in
Denied
Fire
Fire
John Woestman
Comment
Summary
Proponent
1010.2.4
In Item 3, technical revisions are per F10603, and editorial revisions are from E53‑24 tentatively approved as modified by committee for the 2027 IBC. The revisions in Item 5 are from E55‑24 tentatively approved as submitted for the 2027 IBC.
Mod #
 11921
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 10
Chapter

Section
TAC Action
Jennifer Hatfield
Comment
Summary
Proponent
1027.5
On behalf of the Building Officials Association of Florida (BOAF), this modification clarifies how Section 1027.5 is measured and removes contradictions between the minimum distance and fire separation distance.
Mod #
 12186
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 10
Chapter

Section
TAC Action
Jennifer Hatfield
Comment
Summary
Proponent
1010.2.4
On behalf of the Building Officials Association of Florida (BOAF), the intent of this modification is to coordinate different criteria for single exit provisions for single dwelling units or sleeping units in Groups R.
Mod #
 12226
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 10
Chapter

Section
TAC Action
Jennifer Hatfield
Comment
Summary
Proponent
1029.8
On behalf of the Building Officials Association of Florida (BOAF), this proposal eliminates a conflict between two sections and clarifies the intent of the provisions.
Mod #
 12229
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 10
Chapter

Section
TAC Action
14‑Exterior Walls

Page 7 of 10
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  33
Fire
TAC:
 31
Total Mods for  
in
Denied
Fire
Fire
Cade Booth
Comment
Summary
Proponent
1405.5
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12288
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 14
Chapter

Section
TAC Action
Cade Booth
Comment
Summary
Proponent
1406.2.1
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12289
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 14
Chapter

Section
TAC Action
Cade Booth
Comment
Summary
Proponent
1406.3
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12290
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 14
Chapter

Section
TAC Action
31‑Special Construction
Cade Booth
Comment
Summary
Proponent
3102.3
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12291
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 31
Chapter

Section
TAC Action
33‑Safeguards During Construction

Page 8 of 10
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  33
Fire
TAC:
 31
Total Mods for  
in
Denied
Fire
Fire
Cade Booth
Comment
Summary
Proponent
3314.1
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12251
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 33
Chapter

Section
TAC Action
35‑Referenced Standards
Cade Booth
Comment
Summary
Proponent
102.2.5
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12263
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 35
Chapter

Section
TAC Action
2704‑Fire Districts
Cade Booth
Comment
Summary
Proponent
102.2.5
The proposed updates the FBC to include mass timber, aligning it with national standards and advancements in building science, fire safety, and structural integrity. Backed by extensive research and testing, this ensures clear enforcement, cost‑effective compliance, and statewide consistency.
Mod #
 12262
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Appendix D
Chapter

Section
TAC Action
SubCode:
Ü
SubCode:
Existing Building
8‑Alterations ‑ Level 2

Page 9 of 10
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  33
Fire
TAC:
 31
Total Mods for  
in
Denied
Fire
Fire
Jennifer Hatfield
Comment
Summary
Proponent
804.2.4
On behalf of the Building Officials Association of Florida (BOAF), the intent of this modification is to provide consistency in the application of the provisions of automatic sprinkler system.
Mod #
 12236
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 8
Chapter

Section
TAC Action
SubCode:
Ü
SubCode:
Residential
3‑Building Planning
Mo Madani
Comment
Summary
Proponent
315.1.1
This proposal adds requirement for these devices to be listed and labeled, since listed alarms will include a listing mark (label). It also requires CO alarms to be installed in accordance with the listing and the manufacturer’s installation instructions.
Mod #
 11741
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 3
Chapter

Section
TAC Action
Julie Seraphin
Comment
Summary
Proponent
311.7
1.Stairways not within or serving a buildingporch or deck.Needs clarification. 2.Stairways leading to nonhabitable attics.Delete this entirely or clarify that fixed stairways (vs pulldown stairs or ladders) NOT excepted. 3.Stairways leading to crawl spaces.Deleteor specify what type of stairs
Mod #
 11774
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 3
Chapter

Section
TAC Action

Page 10 of 10
8/27/2025
TECHNICAL ADVISORY COMMITTEE
FIRST COMMENT PERIOD
Total Mods for this report:  33
Fire
TAC:
 31
Total Mods for  
in
Denied
Fire
Fire
Jennifer Hatfield
Comment
Summary
Proponent
314.3
On behalf of the Building Officials Association of Florida (BOAF), this modification provides for smoke alarms in attached garages.
Mod #
 12190
AM/IC
D/IC
D
AM
AS/IC
AS
Denied
W
Chapter 3
Chapter

Section
TAC Action
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2026
ALL
2026 Triennial Original Modification 01/03/2025 ‑ 02/18/2025
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria
F